| Site | Priority | Project Description | Status | Estimated Completion Date |
| --- | --- | --- | --- | --- |
| AE | III | Full Day Kinder Portables (2 ea.) | PSFA- will coordinate with District Architect for necessary site work. (Utilities, Piers, etc.) | Units are ready for delivery when piers are built per PSFA. |
| AE |  | Chapter I Bldg- Install Partition | Ordering of material in progress | Aug 2, 2004 |
| AE |  | Principal Office | Door relocation | Work request on hold (not approved). |
| AE | VI | Nurses Office | Doorway to new office | July 30, 2004 |
| AE | II | Nurses Office | Install refrigeration unit | Waiting on doorway installer (contracted service) to schedule work. |
| AE |  | DABCC | Replace double wood doors | On hold per Mr. Chavez |
| AE |  | Mid-Bldg. | Locker removal | On Hold. |
| AE | IV | Water Supply | Back Flow Prevention, Device installation | On Hold |
| BE | II | Double Portable | Mold remediation | 100% Complete |
| BE | II | Kitchen | Wall repairs | 100% Complete |
| BE |  | Office | Cooling Upgrade to Refrigerated type. | Waiting on Approval from CMT. |
| CHE | IV | Barracks Bldg. Repairs | Metal door replaced | Will be replaced on a as need basis-No funds available for complete replacement. |
| CHE | VI | Barracks Bldg. Repairs | Partition for E-Wing office | Materials on order- Est. Completion Date July 20, 2004. |
| Site | Priority | Project Description | Status | Estimated Completion Date |
| CHE |  | Barracks Bldg. Repairs | Window installation | Work request not approved. |
| CHE | IV | Barracks Bldg. Repairs. | Flooring repairs (Rms. 208, 209,210) | In the process of securing price quotes for sub floor repair. |
| CHE | IV | Barracks Bldg. Repairs. | Bathroom floor repair | In the process of securing price quotes for contracted work. |
| CHE | IV | Barracks Bldg. Repairs | Repair porch ceiling | Materials order in progress- Est. Comp. Date Aug.10, 2004. |
| CHE |  | Barracks Bldg. Repairs | New bathroom for P.E. Area Request voided | Request Not Approved (Construction Project) |
| DT |  |  | Various floor covering replacement | Request on hold. |
| DV |  |  | Various floor covering replacement | Request on hold. |
| DV |  | Pigeon Control Measures (Baiting) | Baiting has been incorporated into the Pest Control Program. Problem is being caused by people in the community providing feed, then birds roost on building. | Next phase will involve installing barriers. |
| LU | II | Asbestos Abatement Project | Refinish floor, reinstall furniture. Abatement Complete- Floor Covering installation in progress. | Start Date: May 31, Est. Comp. Date Aug.3, 2004 |
| LU |  | Irrigation Well | Replumbing for irrigation purposes | Request on hold. |
| LU |  | Wastewater System | Connect to Community System | June 2005 |
| LU |  | Temporary Parking on EBID, Right of way | Parking on drain levy will need to be rebuilt due to EBID- maintenance on drain. | Preparing paperwork necessary to obtain special use permit for property EBID- Aug 2004. |
| Site | Priority | Project Description | Status | Estimated Completion Date |
| LM | IV | Barracks | Need sub floor repairs/renovations. Exterior wall repair/stucco. | Awaiting for direction and funding from CMT. |
| RS | VI | Teachers Lounge | Electrical service upgrade | Est. Comp. date July 10, 2004 |
| SM | IV |  | Floor repairs to CR#30-31 | Completion Date July 9, 2004 |
| SM | IV | Wastewater System | Monitoring of system operation- Leach Fields are showing signs of failure. | Will continue monitoring and working with E.I.D to determine repair & schedule. |
| SP |  | Office Area | Counter top & floor covering replacement | Project on hold. |
| SP |  | Pigeon Control Measures (Baiting) | Baiting has been incorporated into the Pest Control Program. Problem is being caused by people in the community providing feed, then birds roost on building. | Next phase will involve installing barriers. |
| CMS |  | Building 25 | Isolation booths for in house suspension room. Request Voided | Awaiting approval and direction from CMT. |
| CMS | IV | Main building | Bathroom wall repair | Comp. Date July 3, 2004 |
| GMS | III | C.O.Classrooms | In Progress | Comp. Date July 16, 2004 |
| GMS | III | Board Room | Carpet replacement | Est. Comp. Date July 30, 2004 |
| GMS | III |  | Carpet &ceramic tile replacement throughout bldg. | Est. Comp. Date Aug 3, 2004 |
| GMS |  | Support Service Portable | Preparing portable for relocation at Alliance Hospital. Demo repaired and textured walls, pending carpet. | Working on renovations required by Building inspector. Estimated Completion Date July 30, 04 |
| Site | Priority | Project Description | Status | Estimated Completion Date |
| STM |  | Choir Room | Ceiling, Mechanical & Electrical | On Hold |
| GHS | II | Counselor’s Office | Repair | In Progress, Est.Comp. Date July 3, 2004 |
| GHS | III | Moreno’s Classroom | Add Doorway | Est. Comp. Date Aug 3, 2004 |
| GHS | VI | North Bldg. | Doorway to attendance office | Comp. July 9, 2004 |
| GHS |  | Student Parking | Install fencing and lights. Lights Completed | Re-scheduled for Summer Break. |
| GHS | II | Asbestos Abatement Project-Main Bldg. | Remove furniture, remove hallway lockers, Demo old journalism office, paint classroom, refinish floors, re-install furniture, and reinstall lockers throughout campus. | Start-May 31, 2004 Comp. Date Aug 3, 2004 |
| GHS |  | Auto Mechanics Classroom Shop | Install lift (vehicle) | On Hold |
| GHS | IV | Wastewater treatment plant. | Need to replace main transfer pump | Pump on order |
| GHS | IV | Swimming pool | Need to replace leaking circulation pump | Replacement unit on order-July 16, 2004 |
| GHS |  | South side perimeter fence repairs | Replacement | On hold for next years funding (SB-9) |
| STHS | IV | Replacement lockers for fire damaged unit | Will relocate units from Anthony Mid Bldg. | Est. Comp. Date Aug 3, 2004 |
| Motor Vehicle Shop |  |  | Complete Shop Expansion | On hold |
| Site | Priority | Project Description | Status | Estimated Completion Date |
| Motor Vehicle Shop |  | Auto Shop Supervisor | Build Office for Supervisor ( Transportation Clerk is in current office) | On hold |
| DP | III | Front office | Recarpet | Comp. July 1, 2004 |
| DP | III | Center barracks | Remodel center barracks into three classrooms | Project in design, Est. Comp. Date Aug 3, 2004 |
| DP | III | Conference room portable | Install partition in conference room portable | Material on order Aug 3, 2004 |
| DP | IV | Portables | Install water fountain in all portables | Work request under review |
| DP | I | Domestic Well | Domestic Well has failed due to lowering of water table. | Complete Date July 2, 2004 |
| GAC | VI | Building Repairs | Miscellaneous mechanical & electrical repairs | In progress |
| GAC | VI | C-wing conference room | (Kitchen Demo) | Demo Complete- Est. Completion Date July 20, 2004 |
| GAC |  | Dining room | New floor covering, installation of temporary wall. | On Hold |