Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	117257	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	ADMINISTRATIVE ROOM 302 AT UPPER PRIMARY

NEEDS TO BE MASTER KEY (K) AND COLLABORATIVE

ROOM 306 UPPER PRIMARY NEEDS TO BE OFF

MASTER FOR ALL TEACHER KEYS TO FIT.

110	ANTHONY 	119013	9 /15/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	ELEMENTARY	LESTER HUMPHREY - NEED PRICE QUOTE

Nurse station  need to be exterminate for bugs

110	ANTHONY 	117511	8 /17/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	ELEMENTARY	Upper primary bathroom next to daycare mrs marques want

to start to used them. they need new toilets  sinks floor tile

celing tile

110	ANTHONY 	117510	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Mild blg room 23 change old lock to k lock

110	ANTHONY 	117402	8 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	Replace all bathroom partitions boys mild blg

110	ANTHONY 	116679	8 /5 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED KEYS FOR ART (K38), PE (K11), COMPUTER

(KA40), SPED 2(H11), RM. 306 VILLAGE FOR MS

MENDOZA,  AND CHANGE LOCKS FOR CARLOS HEAD

CUSTODIAN'S OFFICE ONLY 2 KEYS TO BE MADE

110	ANTHONY 	117401	8 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	need scissor lift for flag pole old main

110	ANTHONY 	117400	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	need a lock for outside contol box for lights old main

Monday, October 11, 2004	Work Order Report 2	Page 1 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	119518	9 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	AS PER MRS. MARQUEZ NEED TO CHANGE LOCKS FOR

UPPER PRIMARY KINDER NEW TEACHER MARCY

AZCARATE RM. 318. 3 KEYS WILL BE NEEDED ASAP

PLEASE! MS. DEBORAH CAMPOS PREVIOUS TEACHER

NEVER TURNED HERS IN.

110	ANTHONY 	119512	9 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	Need celing tiles 12x 12 4  boxs

110	ANTHONY 	119511	9 /28/2004	I	1	SC	VA	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	Academy Fence

Car no 2 vehicle ran into gate and fence bent gate and poles

(Waiting on Vadalism Report)

J. BRYANT CASE # 0409080

110	ANTHONY 	117827	8 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	10 window blinds for old cafeteria size  W 60 L 72

110	ANTHONY 	117270	8 /12/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED LOCK REPAIRED AND A KEY FOR OUR CABINET

TO LOCK UP LAPTOPS.

110	ANTHONY 	117509	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need 5 keys made for fire alarm

110	ANTHONY 	117168	8 /11/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 3 EXTRA KEYS FOR RM. 214 FOR MS. MASON'S

STAFF (H 5)

110	ANTHONY 	116133	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 4 KEYS FOR OT/PT (KA 11) AS SOON AS

POSSIBLE AS PER MRS. MARQUEZ

110	ANTHONY 	119459	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M46	ELEMENTARY	NEED TO PAINT DOORS AT UPPER PRIMARY

ANTHONY ELEM. @ VARNISH DOUBLE DOORS AT

SPECIAL ED. ROOM

Monday, October 11, 2004	Work Order Report 2	Page 2 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	116140	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 2 EXTRA KEYS FOR RM. 206 ANNEX BUILDING

(H 30) AS PER MRS. MARQUEZ

110	ANTHONY 	116260	7 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 7 EXTRA KEYS MADE FOR SOCIAL WORKERS

AND ATTENDANCE OFFICERS FOR RM. 215 (H 41) AS

PER MRS. MARQUEZ.

110	ANTHONY 	116309	8 /2 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	 upper primany Dona ana libary need to change  4 locks from

p-12 to k locks

110	ANTHONY 	116992	8 /10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M46	ELEMENTARY	ANTHONY ELEM. NEED TO PAINT NEW FRAME @

DOOR AT NURSE OFFICE

110	ANTHONY 	119346	9 /23/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	next to storage need a concrete slab with inclose walls and roof

for lawn mower

110	ANTHONY 	119347	9 /23/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	Turn around parking lot need stop barriers to keep cars off

110	ANTHONY 	116918	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	EXTRA KEY FOR RM. 6 (KA10)

110	ANTHONY 	117399	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Pt 221 needs a kwikset door knob for bathroom

110	ANTHONY 	118088	8 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED THE FOLLOWING KEYS FOR FILE CABINET IN

DR. RODRIGUEZ OFFICE AT AE ROOM 205.

110	ANTHONY 	118520	9 /2 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Upper primary room 305 needs receptacle

Monday, October 11, 2004	Work Order Report 2	Page 3 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	118803	9 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	New portable locks need to be changed to best locks.

(All 4 pts)

110	ANTHONY 	118269	8 /31/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PATRICIA WINTER NEW SLP RM.206  ANNEX

BUILDING NEEDS KEY H20

110	ANTHONY 	118239	8 /30/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	NEED TO HAVE UTILITIES MARKED BETWEEN MID &

PRIMARY, AND NURSE & CHAP 1 BUILDING FOR

TRENCHING. (SEE ATTACHED)

110	ANTHONY 	119673	9 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO INSTALL LOCK CYLINDER ON BATHROOM

DOORS AT A.C.D.C.

110	ANTHONY 	119675	9 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO INSTALL DOOR CYLINDER IN A.E. CHAPTER

BUILDING.

110	ANTHONY 	119627	9 /29/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

ANTHONY ELEMENTARY-UPPER PRIMARY

NEED TO INSTALL VCT IN BOYS AND GIRLS REST

ROOMS. THE ONES OUTSIDE.

110	ANTHONY 	117983	8 /24/2004	8 /24/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	mild cafeteria  serving line broken window  size 431/2 by 14

110-	CAFETERIA K-1	117007	8 /10/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	REFRIG. NEEDS RUBBER SEALS ALL THE WAY

AROUND TO BE REPLACED.

110-	CAFETERIA K-1	118699	9 /9 /2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	OVEN OUT AGAIN.

110-	CAFETERIA K-1	117224	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	DIMAR

FIRE SUPPRESSION SYSTEM NOT WORKING.

Monday, October 11, 2004	Work Order Report 2	Page 4 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

115	BERINO 	118593	9 /3 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Server room - need to separate the electrical power from

Parents Room.

115	BERINO 	115745	7 /20/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M32	ELEMENTARY	NEED SIX LOADS OF PLAYGROUND SAND FOR ALL

SWING SETS AND MONKEY BARS

115	BERINO 	118517	9 /2 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED NEW KEY MADE FOR OFFICE SUB MASTER KEY

115	BERINO 	118286	8 /31/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCK ON STAGE DOOR DOES NOT OPEN NEED TO

GET FIXED  AS SOON AS POSSIBLE.

115	BERINO 	117454	8 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED MORE GAS FOR MY MOBILE HOME 7% LEFT

THANKS

115	BERINO 	116998	8 /10/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED TRACTOR TO SPREAD OUT SAND IN SWING

SETS AREA

115	BERINO 	117910	8 /24/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO REPLACE LOCK IN WALK IN GATE OR GET

IT OPEN THANK

115	BERINO 	115902	7 /22/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

PORTABLES 134, 143,144 CARPET SHOULD BE REPLACE

AROUND THE THREE WEEK BREAK SEPT. 20 ON.

115	BERINO 	116001	7 /26/2004	7 /26/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED BETO MANNY TO HELP ME MOVE

PLAYGROUND EQUIPMENT SEE/SAW AND MONKEYS

BARS AND SPREAD OUT SAND INSIDE BORDERS

115	BERINO 	115903	7 /22/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	PORTABLE 147 A/C DOES NOT COOL THE ROOM WE

NEED TO SEE WHAT CAN BE DONE

Monday, October 11, 2004	Work Order Report 2	Page 5 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

115	BERINO 	118009	8 /25/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	PORTABLES 136,141,142,143,144 AT MR. CORDONA

REQUEST TO INSTALL REFRIGERATION UNITS

115	BERINO 	118010	8 /25/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	REPLACE 8500 MASTER COOL IN GYM

115	BERINO 	116411	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TWO CLOSET DOOR LATCHS WITH LOCKS AND

KEYS FOR ROOM 111

115	BERINO 	119064	9 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO PUT LOCKS ON MENS AND WOMENS

RESTROOM DOORS AND KEYS TO ALL STAFF.

115	BERINO 	119520	9 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M08	ELEMENTARY	ON THURSDAY, OCTOBER 7, 2004 - LIBRARY THERE

WILL BE A PLAYGROUND EQUIPMENT TRAINING AT

YOUR SITE.  PLEASE MAKE SURE PLAYGROUND IS

CLEAN AND EQUIPMENT WORKING PROPERLY. -

THANKS

115	BERINO 	115871	7 /22/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED MASTER KEY MADE AGAIN FOR ROBERT THE

ONE YOU MADE  IS WORTH LESS.

115	BERINO 	116999	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED NAME PLATES FOR NEW TEACHERS

MS.HALL,

MS CASAS,

ISELA JACQUEZ

MS.HERNANDEZ,

MIREYA ULIBARRI,

ROBERT MATA,

MR. GUZMAN

115-	CAFETERIA	118656	9 /8 /2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	GARBAGE DISPOSAL - LEAKING/ NOT WORKING

Monday, October 11, 2004	Work Order Report 2	Page 6 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120	CHAPARRAL 	116689	8 /5 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	In room 301 I need 12 inch flex duct to supply two new

120	CHAPARRAL 	119191	9 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Portable Rm 118 - Rake or sweep pigeon droppings and wash

chain link fence

120	CHAPARRAL 	116995	8 /10/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	PT 203 & 205 - RUN ELECTRICAL WIRING FOR

HEATING AND COOLING.

120	CHAPARRAL 	118568	9 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY FOR RM 51  N51

120	CHAPARRAL 	118567	9 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY FOR RM 47

120	CHAPARRAL 	116690	8 /5 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	In the 7 classrooms we need to up grade the duct to 12 inch

120	CHAPARRAL 	118797	9 /10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	RMS54,96,57 - NEED TO REPLACE DOORS TO THESE

ROOMS. ASK RICK WHICH WAY HE WANTS THEM TO

SWING.

120	CHAPARRAL 	119289	9 /22/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	NEED RESTROOM STALLS FOR 300 WING AT

CHAPARRAL ELEM

120	CHAPARRAL 	119192	9 /20/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	Portable Rm 118 - Remove center mulberry tree.

120	CHAPARRAL 	119190	9 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	cut and remove weeds and undergrowth from fenceline (pine

tree windbreak) between bus-drop off and roadway

Monday, October 11, 2004	Work Order Report 2	Page 7 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120	CHAPARRAL 	119189	9 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Portable RM 118 - Replace rotten wood planks on ramp and

stairs and re-apply slip resistand paint

120	CHAPARRAL 	118203	8 /30/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	We need two power post in the COMP. LAB.

120	CHAPARRAL 	118029	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Lift station next to new classroom wing - Pick up and dispose of

debris (cinderblocks) in this area

120	CHAPARRAL 	118028	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Repair soil erosion on east side of building where roof drains

come off building and cut and remove weeds in this area

120	CHAPARRAL 	118027	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Irrigation water Presure tank - Cut and remove weeds in and

around this area

120	CHAPARRAL 	118925	9 /14/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	REPAIR SUB FLOOR AREAS ROOMS 54, 57, 96.

120	CHAPARRAL 	119050	9 /16/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

PLEASE PROVIDE US WITH A QUOTE FOR THE

FOLLOWING ROOMS. #54,96,57.IF WE CAN GO GLUE

DOWN DO SO. IF NOT WITH PAD. ALSO COVE BASE.

120	CHAPARRAL 	119197	9 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	NEED TO INSTALL NEW DOORS IN ROOMS 54,57,96.

120	CHAPARRAL 	115679	7 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	PUMP #4 IS NOT WORKING

120	CHAPARRAL 	116050	7 /26/2004	7 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY N 255 (2)

Monday, October 11, 2004	Work Order Report 2	Page 8 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120	CHAPARRAL 	116041	7 /26/2004	7 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	3 KEYS FOR RM 114- KEY N114

120	CHAPARRAL 	116407	8 /3 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	The exhaust duct on top of the Cafe. needs to be replaced.

120	CHAPARRAL 	115237	7 /6 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	I need 125 TONS of playground sand for C.E.S and D.T.I.S

120	CHAPARRAL 	116042	7 /26/2004	7 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY FOR FIRE PROOF FILING CABINET

120	CHAPARRAL 	115578	7 /14/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	The A.C. in rm. c2 needs to be replaced with a new one.

120	CHAPARRAL 	115205	7 /1 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	 NEED A NEW DRINKING FOUNTION IN THE LOBBY

AREA OF THE SCHOOL A.S.A.P.

120	CHAPARRAL 	115680	7 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	PUMP #4 IS NOT WORKING

120	CHAPARRAL 	116470	8 /4 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	2 N15 KEYS-(MR. SEES OLD OFFICE)

120	CHAPARRAL 	115525	7 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	EVENSTART PROGRAM

NEED 3 KEYS FOR CONCEPCION MONTALVO

R1, R2, R3

120	CHAPARRAL 	115843	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	ANNUAL  TEST AND INSPEC FIRE ALARM SYSTEM

AND FIRE SMOKE DETECTORS.

Monday, October 11, 2004	Work Order Report 2	Page 9 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120-	CAFETERIA	118455	9 /1 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	WATER HEATER IS OUT.

(INFORMED FRED @ 12:00)-MKV

120-	CAFETERIA	118186	8 /30/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	BOTH OVENS BY DISHWASHER ARE NOT WORKING

AT ALL.

120-	CAFETERIA	118941	9 /15/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	CEILING FAN IN STORE ROOM IS MAKING ALOT OF

NOISE.  SOUNDS LIKE IT IS GOING TO FALL APART.

122	DESERT TRAIL 	115557	7 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	FILING CABINET --  LOCK IS BROKEN  --  REQUESTING

LOCKSMITH

122	DESERT TRAIL 	119498	9 /28/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	INTERMEDIATE	WATER LEAK AROUND OUTSIDE OF BLUE BOX

(WATER PUMP LINE) AREA NEXT TO WATER

PRESSURE TANK.

122	DESERT TRAIL 	117232	8 /12/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	NEED A J-53 KEY FOR OFFICE.

122	DESERT TRAIL 	117286	8 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	INTERMEDIATE	PORTABLE #411. NEED TO REPLACE HOLLOW DOOR

GOING INTO THE RESTROOM AREA. SIZE OF DOOR IS:

32" WIDE X 79"1/4 LONG X 1"3/8 THICK.

122	DESERT TRAIL 	119163	9 /17/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	INTERMEDIATE	Portable #27DM disconnect plumbing so unit can be relocated

to San Miguel

122	DESERT TRAIL 	119159	9 /17/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	INTERMEDIATE	Portable #27DM disconnect electrical so unit can be relocated

to San Miguel

122	DESERT TRAIL 	118836	9 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	INSTRUCTIONAL ASSISTANT NEEDS A KEY FOR

CLASSROOM (PORTABLE 408)

Monday, October 11, 2004	Work Order Report 2	Page 10 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

122	DESERT TRAIL 	119125	9 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	NEED TO PAINT DOOR ON PORTABLE AT D.T.

122	DESERT TRAIL 	116061	7 /26/2004	7 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	NEED AN EXTRA KEY MADE FOR CLASSROOMS: #205,

#203, #201, #204, #202, AND #211.

122	DESERT TRAIL 	119535	9 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

INTERMEDIATE	NEED A COPY OF BLUE PRINTS ON THE IRRIGATION

WATER SPRINKLER SYSTEM AT CHAPARRAL

ELEMENTARY INSIDE OF WATER PRESSURE TANK

AREA. (WHERE WATER LINES GO TO, AND SHUT OFF

VALVES: WHAT AREAS THEY SHUT OFF, ETC.) THANK

YOU.

122	DESERT TRAIL 	115612	7 /15/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	INTERMEDIATE	PRINCIPAL IS REQUESTING FOR SLIDES, MONKEY

BARS, AND UNEVEN BARS TO BE REMOVED FROM THE

PLAYGROUND. THE BACKSTOP CLOSEST TO THE LIFT

STATION TO BE MOVED TO (CH. ELEMENTARY). THE

OTHER BACKSTOP TO BE MOVED AND

REPOSITIONED.(DTI)

122	DESERT TRAIL 	115651	7 /16/2004	I	1	VM	GM	0	$0.00	$0.00	$0.00	$0.00

M72	INTERMEDIATE	PLEASE REPLACE A/C FAN BLOWER MOTOR TO

WORKTRUCK. VEHICLE #101.

122	DESERT TRAIL 	115705	7 /19/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	THE FOLLOWING KEYS DO NOT WORK #4

122	DESERT TRAIL 	117456	8 /16/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	INTERMEDIATE	NEED TO RE-LOCATE THE REST OF THE

PLAYGROUND EQUIPMENT, BACKSTOP, AND MOVE

THE OTHER BACKSTOP TO CHAPARRAL

122	DESERT TRAIL 	117147	8 /11/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	INTERMEDIATE	NEED (5) FAN BELTS FOR EXHAUST FANS. (4L-200).

Monday, October 11, 2004	Work Order Report 2	Page 11 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

122	DESERT TRAIL 	118713	9 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	INTERMEDIATE	NEED TO REMOVE SLIDES AND TURN IN TO

WAREHOUSE AS PER POMS AND ASSOCIATES.

122	DESERT TRAIL 	116072	7 /27/2004	7 /27/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	INTERMEDIATE	PRINCIPAL REQUESTING FOR A NEW OUTDOOR

WATERFOUNTAIN TO BE INSTALLED FOR

KINDERGARDEN KIDS. (NEXT TO THE OTHER

OUTDOOR WATERFOUNTAIN).

122	DESERT TRAIL 	116123	7 /28/2004	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	need to have door in portable #413 painted.

122	DESERT TRAIL 	118467	9 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	EMERGENCY: MAIN DOORS GOING TO PORTABLES

AND MAIN DOORS TO FRONT OF MAIN BUILDING

DOES NOT LOCK. NEED THEM SECURED BY THE END

OF THE DAY.

122-	CAFETERIA	119009	9 /15/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	DOOR HANDLE TO WALK-IN IS BROKEN

122-	CAFETERIA	115818	7 /21/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	INSTALL A SWITCH TO EXIT DOOR SO FLY FAN IS NOT

RUNNING ALL THE TIME.

122-	CAFETERIA	115575	7 /14/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	GARBAGE DISPOSAL IS STILL OUT OF ORDER

125	DESERT VIEW 	115914	7 /22/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	GROUNDS

NEED TO HAVE SAND MOVED FROM ROCK WALL

SAND MOVED UP THE HILL-SAND FROM RAIN RUN OFF

125	DESERT VIEW 	117742	8 /19/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

ROOM 14

NEED TO WELD DOOR FRAME

Monday, October 11, 2004	Work Order Report 2	Page 12 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

125	DESERT VIEW 	117308	8 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M73	ELEMENTARY	ROCK WALL METAL GATES NEED TO HAVE GATES

WELDED

125	DESERT VIEW 	117472	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

DRIVE WAY

NEED LOCK & KEY FOR MAIL BOX

125	DESERT VIEW 	116364	8 /2 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

PORT.#1 KEY WILL NOT GO IN TO LOCK

BUILD FROUNT DOOR. DOOR KNOB NEED TO BE

REPAIRED

125	DESERT VIEW 	119484	9 /27/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	ELECTRICIAN

CLASS ROOMS

LIGHTS  10 EACH DULUX          20331

4 BOX  FLUORRSCENT    26668

10 EACH GE LUCALOX     11339

10 EACH BALLAST        FOR 11339

125	DESERT VIEW 	117346	8 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	MRS. MARIA INEZ RODRIGUEZ, I.A. AT DESERT VIEW

IS PAYING FOR LOST KEY PORTABLE#8. PLEASE

REPLACE ASAP!

125	DESERT VIEW 	117087	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

HALLWAY DOORS

NEED DOORS HANDELS REPAIRED RIGHT HALLWAY-

BACK HALLWAY -GYM HALLWAY

125-	CAFETERIA	118220	8 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HAVING TROUBLE UNLOCKING CAFETERIA DOOR.

130	LA MESA 	116387	8 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED A KEY MADE FOR THE NURSES ROOM

Monday, October 11, 2004	Work Order Report 2	Page 13 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

130	LA MESA 	116844	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO INSTALL LOCK CYLINDER IN FILLING

CABINET

130	LA MESA 	117909	8 /24/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	HAVING TROUBLE WITH DOOR KNOB

130	LA MESA 	115414	7 /12/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	NO POWER TO MARQUEE

130	LA MESA 	116459	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO REPLACE CYLINDER ON DOOR KNOB

ASAP OUTSIDE PORTABLE BY BASKETBALL

COURTS

130	LA MESA 	116386	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO HAVE A LOCK PUT IN HER ROOM.

130	LA MESA 	119492	9 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED LOCK FOR NEW GATE

130	LA MESA 	116120	7 /28/2004	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M19	ELEMENTARY	NEED HELP TO PAINT OUTSIDE

130	LA MESA 	117241	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO CHANGE LOCKS FOR OUTSIDE PORTABLE

ASAP

135	LA UNION 	116674	8 /5 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	MIGHT NEED TO CHANGE FILTERS DUE TO WATER

BREAK.

135	LA UNION 	118687	9 /8 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	Six loads of playground sand are requested for play areas.

Monday, October 11, 2004	Work Order Report 2	Page 14 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

135	LA UNION 	116332	8 /2 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	Overflow parking on east side (drain levy)- nees to be re-

135	LA UNION 	119365	9 /23/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ELEMENTARY	A seat and washer kit is requested for wash basin faucets in

rm.206. Also a drain basket strainer is needed for lavatory.

lavatory

135	LA UNION 	115849	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	ANNUAL  TEST AND INSPEC FIRE ALARM SYSTEM

AND FIRE SMOKE DETECTORS.

135	LA UNION 	119344	9 /23/2004	I	1	WA	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY	In re: Fire alarm system, W.O. #118317. Fire alarm went off

again on 9-17-04. System was detecting fire at portables. Spoke

with Calixo and he said this was Mr Boyd's area. Called Mr

Boyd 9-14-04 and o9-23-04.

135-	ALVAREZ FARMS	118922	9 /14/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

The assistance of one person is requested to reinstall cover on

greenhouse at LUJTP.

135-	CAFETERIA	119002	9 /15/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	THE ON BOTTOM TO DISHWASHER IS GIVING OUT.

(SHORT)

136	LOMA LINDA 	119646	9 /30/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	5EA LAMPS OUT IN CAFETERIA

136	LOMA LINDA 	117990	8 /25/2004	8 /25/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED BOBCAT TO MOVE SAND &SWEEP GRASS

136	LOMA LINDA 	118681	9 /8 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	ELEMENTARY	NEED TO ORDER HOT WATER-HEATER/RM208 SPED

SINK WORK ORDER #118589

Monday, October 11, 2004	Work Order Report 2	Page 15 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

136	LOMA LINDA 	117513	8 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED 6EA LENTHS OF 1/2 CHAIN 88 INCHES EA. FOR

PLAYGROUND SWING-SEATS 2ND REQUEST

136	LOMA LINDA 	118589	9 /3 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	ELEMENTARY	NEEDING HOT WATER IN ROOM #208

136	LOMA LINDA 	118650	9 /7 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	NEED COVERS FOR TRANSIENT VOLTAGE SURGE

SUPPRESSOR OUTLETS IN COMPUTER RM#300 12EA

136	LOMA LINDA 	115253	7 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	need safety hasp for new storage bldg asap

136	LOMA LINDA 	118744	9 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M57	ELEMENTARY	NEED TWO LOADS PLAY GROUND SAND

136	LOMA LINDA 	115874	7 /22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED AN ADDITIONAL G56

136	LOMA LINDA 	117227	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	DIMAR

FIRE EXTINGUISHER SERVICING.

136	LOMA LINDA 	119302	9 /22/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEEDING NEW WINDOW BLINDS IN ROOM 209

136	LOMA LINDA 	117593	8 /18/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED VENETIAN BLINDS REPLACED OR REPAIRED,

NORTH SIDE

136	LOMA LINDA 	117664	8 /19/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	RM 108 - KEYS TO DESK AND FILING CABINET WERE

MISPLACED WHILE TRANSPORTING FROM

WAREHOUSE TO LA UNION ELEM. KEYS NEED TO BE

MADE TO OPEN DESK AND FILING CABINET FOR USE.

Monday, October 11, 2004	Work Order Report 2	Page 16 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

136	LOMA LINDA 	116521	8 /4 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	NEED  V-BELTS P47-190(3L190)FOR EHAUST FAN

MOTORS-

4L610 FOR MASTER COOLS

136	LOMA LINDA 	115846	7 /22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEEDING KEYS G33, G56(2), G38, G18  AS SOON AS

POSIBLE

136	LOMA LINDA 	119394	9 /24/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED SCISSOR-LIFT TO REPLACE GYM/CAFETERIA

FILTERS /WHEN MATERIAL IS RECEIVED

136	LOMA LINDA 	116893	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	El Paso Disposal needs 2 ea gate keys

136-	CAFETERIA	118680	9 /8 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	NEED TO CHECK FOR WATER LEAK IN

KITCHEN/BEHIND MANAGERS OFFICE/POSSIBLE

MOLD BEHIND MOP SINK/BASE BOARD-DRY WALL

136-	CAFETERIA	118570	9 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	IF YOU COULD PLEASE RE-KEY HER DESK.  THANK

YOU

140	MESQUITE 	118784	9 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED MASTER KEY TO REPLACE DAMAGED KEY FOR

CUSTODIAN CHACON.THANX.

140	MESQUITE 	118426	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M65	ELEMENTARY	NEED TO WEED EAT ALL AREAS. IE TREE WELLS,

BUILDING COVES SIDE WALKS, TREES IN PLAY

GROUND AREA. PECAN TREE IN BACK, BUS TURN

AROUND. ALS0 TRIM TREES AROUND CAMPUS I.E

CHINESE ELM IN FRONT AND PINE TREES.

140	MESQUITE 	118823	9 /13/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	NESECITO FOCOS PARA LA SECCION VIEJA B AND C

WING, 30 FOCOS. GRACIAS.

Monday, October 11, 2004	Work Order Report 2	Page 17 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

140	MESQUITE 	118822	9 /13/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED DOOR CLOSURE FOR SEDILLO PORTABLE.

SAFETY ISSUE.THANX.

140	MESQUITE 	115387	7 /12/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED PLAY GROUND SAND FOR SWINGS AND

TETHER BALLS.THANX.

140	MESQUITE 	115310	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY	NEED MASTER KEY CM,FOR MR. BALDERRAMA.HIS

KEY IS WORN OUT,HE LIVES ON CAMPUS.THANK

YOU.PER MS. PHILLIPS.

140	MESQUITE 	115374	7 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED THE FOLLOWING SIGNS PER MS. PHILLIPS,4

ENTRANCE.8 THAT READS THE FOLLOWING,

WELCOME PARENTS AND VISITORS.

WE ARE GLAD YOU ARE HERE.WE DO

ASK THAT ALL PARENTS,VISITORS,AND

GUESTS SIGN IN AT THE OFFICE.

THANK YOU FOR VISITING MESQUITE

ELEMENTARY

140	MESQUITE 	119004	9 /15/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED 2 3FT-5FT. BLINDS FOR NEW LOUNGE, PER MS.

PHILLIPS.THANX.

140	MESQUITE 	115421	7 /12/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	WATER FOUNTAIN B. WING WATER COMES OUT HOT

THEN COOLS,ALSO WATER FOUNTAIN IT SELF

HOT.THANX.

140	MESQUITE 	115375	7 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	SIGNS THAT WERE ORDERED TO IN SPANISH AND

ENGLISH. 2ND REQUEST, THANK YOU FOR YOUR

140	MESQUITE 	117476	8 /16/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED 4 LOADS OF CRUSHER FINE FOR PARKING

LOT.THANX.

Monday, October 11, 2004	Work Order Report 2	Page 18 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

140	MESQUITE 	117157	8 /11/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	NEED TO ASSIST W/ ARMSTRONG UNIT IN PORTABLE

608,FAN STARTS BUT COMPRESSOR WONT KICK

ON.THANX.

140	MESQUITE 	115884	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	WINDOW CONTRACTOR

NEED ONE INSULATED UNIT,CLEAR 15 5/8 X 20 1/2.FOR

ALMA DEL VALLE.THANX.

140	MESQUITE 	116109	7 /27/2004	7 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	NEED TO INSTALL WINDOW AT COMMUNITY LIASON

RM. PER MS. PHILLIPS.THANX.

140	MESQUITE 	115569	7 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY	PLEASE OPEN CABINET - KEY WORKS BUT DRAWER

IS STUCK.

140	MESQUITE 	115939	7 /23/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED FOLLOWING NAME PLATES.J KOVAC,T.

PRICE,L. FLORES,W. PRIDGEN,D. PETTEY,D. STOWE,K.

RANKIN,CATHY PHILLIPS PRINCIPAL.THANX.

140	MESQUITE 	115940	7 /23/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED C MASTER KEY TO REPLACE BROKEN FOR

CUSTODIAN.

140	MESQUITE 	115941	7 /23/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED SIX MINI BLINDS 36 INCH WIDE.THANX,METAL

BLINDS.

140	MESQUITE 	116066	7 /26/2004	7 /26/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	NEED 3/4 H.P. A/C MOTOR FOR A.D.V. THANX.

140	MESQUITE 	118242	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 2 MASTER KEYS THAT ALSO OPEN THE

KITCHEN.THANX.ONE TO LA TIENDITA.THANX

Monday, October 11, 2004	Work Order Report 2	Page 19 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

145	RIVERSIDE 	116981	8 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED TO REMOVE METAL SLIDE  AS PER POM &

ASSOCIATES. (SEE MIKE)

145	RIVERSIDE 	116541	8 /4 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	WILL NEED ELECTRICAL BOX FOR ROOM 116 FUSE

HOLDERS VERY WEAK WILL NOT HOLD FUSE TIGHT

KEEPS TURNING OFF THANK YOU SIR

145	RIVERSIDE 	117792	8 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need a additional  key made for Rm. 19.  (Intervention Room-

2 Teachers)

145	RIVERSIDE 	115851	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	ANNUAL  TEST AND INSPEC FIRE ALARM SYSTEM

AND FIRE SMOKE DETECTORS.

145	RIVERSIDE 	117791	8 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need to have a cylinder repaired in Rm.105.

145	RIVERSIDE 	116773	8 /6 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	Light switch upper grade boys restroom broken, students able

to turn off lights in restroom, hazard, work order per request

Mr.Valtierra

145	RIVERSIDE 	116880	8 /9 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	CK'D ALL FIRE EXT. - NEED TO REPLACE 7 AS PER PM

WORK ORDER 115435.

145	RIVERSIDE 	117437	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Pre-K portable needs deadbolts installed on exterior doors (2),

have already received prior approval from Mr.Alfredo

145	RIVERSIDE 	116974	8 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED A NAME TAG  MRS PORTILLO  THANK YOU SIR

145	RIVERSIDE 	117571	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	SOME DOOR LOCK ARE BROKEN WILL NEED TO

REPLACE IN NEW WING THANK YOU SIR

Monday, October 11, 2004	Work Order Report 2	Page 20 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

145	RIVERSIDE 	117049	8 /10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	Need pressure washer to remove water base paint vandalism

inside school supply storage room.

145	RIVERSIDE 	118262	8 /31/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need key made for back door to office(Counselor)Key

cylinder does not have number, per request Ms.Arias office

145	RIVERSIDE 	117570	8 /17/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	WILL NEED BACK HOE TO CLEAN BEHIND PORTABLE

BULILDING DITCH FULL OF SAND WHERE WATER

RUN IN TO DRAIN AND FILL IN WASH INS THANK

145	RIVERSIDE 	116185	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	NEED ELETRICALL OUTLETS ROOM ACROSS MR

VATIERRAS OFFICE US TO BE BOOK ROOM BUT IS

NOW CLASS ROOM WOULD LIKE ASAP THANK YOU SIR

145	RIVERSIDE 	117790	8 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need a new key made  (#365 Cabinet  Rm. 13) see office for

the key.

145	RIVERSIDE 	119343	9 /23/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ELEMENTARY	STAFF BATHROOM SENSOR NOT WORKING WILL NOT

FLUSH SIDE BUTTON DOES NOT WORK ITS A ZURN

SENCOR NEED TO REPLACE ASAP THANK YOU SIR

145	RIVERSIDE 	119962	9 /29/2004	I	1	SC	VA	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	WINDOW CONTRACTOR

BROKEN WINDOWS.

DET. MARTIN JOHNSON

(RUBEN THIS WO MIGHT HAVE ALREADY BEEN DONE)

145-	CAFETERIA	116081	7 /27/2004	7 /27/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	TOP RIGHT OVEN OUT.

150	SAN MIGUEL 	118770	9 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	Please change old Pulse sprinklers for I-25's on

front yard grass area with a ball valve. Thank you!

Monday, October 11, 2004	Work Order Report 2	Page 21 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

150	SAN MIGUEL 	117125	8 /11/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need an additional key for Rm#31.

150	SAN MIGUEL 	119271	9 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Boiler Rm doorknob having problems opening it with the B key.

150	SAN MIGUEL 	119270	9 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need lock installed in filing cabinet and desk, to be able to lock

them.

150	SAN MIGUEL 	118888	9 /14/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Need to move our coke and snack machines and need an

electrician to come and asses our electrical outlets for possible

sites.

150	SAN MIGUEL 	116330	8 /2 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	DP-1088 Monitoring data due before August 31, 2004

150	SAN MIGUEL 	119301	9 /22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Key consistently sticks in lock of door knob, has a real hard

time opening the door.

150	SAN MIGUEL 	115757	7 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need a key made for Room 46, which is a B46.

150	SAN MIGUEL 	119095	9 /17/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	Replace Broken water fountain in room #48.

150	SAN MIGUEL 	116987	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Fix door cylinder for North side entrance right door. Custodians

are having a hard time locking at nigth.

150	SAN MIGUEL 	116988	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	On room #6 Teacher Mrs. Uranga cannot open west side door

with her key she can only open east side

door please check it out.

Monday, October 11, 2004	Work Order Report 2	Page 22 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

150	SAN MIGUEL 	119416	9 /24/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Water blew out one security light outside on

front of school, please order new one. Thanks.

150	SAN MIGUEL 	117945	8 /24/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	Need to install heating coil "Furnace" where old

one was removed. Room #26.

150	SAN MIGUEL 	119415	9 /24/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Run 240 V line to Nurse's Restroom for washer and

dryer to be installed.

150	SAN MIGUEL 	116989	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Custodians say the have a hard time unlocking portable #45

please ask Head Custodian for Details.

150	SAN MIGUEL 	115646	7 /16/2004	I	1	ER	GM	0	$0.00	$0.00	$0.00	$0.00

M72	ELEMENTARY	Please, pick up "International" Lawn Mower to replace Battery

and Mower belt. Thank You!

150	SAN MIGUEL 	118845	9 /13/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Prepare Electrical for hook-up of portable relocated from

Chap Mid

152	SANTA TERESA 	117264	8 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED COVER FOR FIRE PULL IN ROOM 108.  THANKS

152	SANTA TERESA 	119577	9 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	WE NEED ADDITIONAL KEYS FOR PARENT DESK IN

CASA ROJA.  PLEASE SEE RITA FOR KEY, (KEY 104E).

152	SANTA TERESA 	118518	9 /2 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED KEYS MADE FOR DESKS IN RMS. 308, COMPUTER

RM., AND FOR WORK RM. IN B-WING. ALSO NEED

PADLOCKS FOR GAS METER GATE, MOBILE HOME

GATE, AND GATE THAT SEPERATES GRASS AND ROCK

AREAS. ALSO NEED PADLOCKS FOR MORGAN

STORAGE BLDG.

Monday, October 11, 2004	Work Order Report 2	Page 23 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

152	SANTA TERESA 	115749	7 /20/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY	SW TRANE - ATTN: JOE VALENZUELA

NOT ABLE TO COMMUNICATE WITH SITE.

152	SANTA TERESA 	116161	7 /28/2004	7 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED DEADBOLT FOR RESOURCE RM.

ALSO NEED A PADLOCK FOR GATE AT GAS METER.

152	SANTA TERESA 	118261	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PLEASE HAVE MANNY CALL ME REGARDING A KEY

FOR A DESK BEFORE COMING TO OUR SCHOOL.

THANKS.

152	SANTA TERESA 	118748	9 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PLEASE MAKE AN EXTRA KEY FOR MEDICINE

CABINET KEY IN NURSE'S OFFICE  (ES201).  PLEASE

SEE RITA. THANKS

152	SANTA TERESA 	118648	9 /7 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	TEACHER LOST KEY.  PLEASE REPLACE DRUM AT

COST TO TEACHER. KEY #IS25.

152	SANTA TERESA 	119231	9 /21/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	NEED FOR GROUNDS TO COME AND CLEAN OFF THE

PARKING LOTS AND AREAS WHERE THE RAIN

CAUSED WASH OUTS.

155	SUNLAND PARK 	118225	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED AN ADDITIONAL CLASSROOM KEY FOR TA18.

ADDITIONAL STAFF MEMBER ASSIGNED TO

CLASSROOM.

155	SUNLAND PARK 	118466	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	I NEED TO REPLACE THE DOOR WOOD FRAME FOR

CLASSROOM #32.

155	SUNLAND PARK 	118159	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	need to replace door knob in portable 27 D

THANK YOU

Monday, October 11, 2004	Work Order Report 2	Page 24 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

155	SUNLAND PARK 	119642	9 /30/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	need 3 loads of sand in kinder playground thank you

155	SUNLAND PARK 	119139	9 /17/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	ELEMENTARY	LESTER HUMPHREY - NEED PRICE QUOTE

BLACK WIDOWS SPIDERS HAVE BEEN FOUND IN

CLASSROOMS 41, 39, 37, 40, ETC.  BUILDING SHOULD

BE SPRAYED TO RID THE SPIDERS

155	SUNLAND PARK 	119640	9 /30/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ELEMENTARY	need  fix the water fontain in the playground thank you

155	SUNLAND PARK 	119641	9 /30/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ELEMENTARY	need to replace toilets in restrooms office thank you

155	SUNLAND PARK 	117973	8 /24/2004	8 /24/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	MASTER KEY BROKE AND REMAINED INSIDE THE

TUMBLER, PLEASE HELP.  ALSO NEED 2 LOCKS

W/KEYS.

155	SUNLAND PARK 	118548	9 /2 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

NEED 40 FEET OF COVEBASE AND 3 TILES

155	SUNLAND PARK 	116045	7 /26/2004	7 /26/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	PLEASE SEND LARGE TRACTOR TO CLEAR SCHOOL

GROUNDS OF WEEDS, ETC.

155	SUNLAND PARK 	119473	9 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED AN EXTRA  KEY  HON316 FOR SP ED TEACHER

155-	CAFETERIA	116818	8 /6 /2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Serving line (left side) cold area not working

155-	CAFETERIA	118881	9 /14/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	REFRIG. TEMP. IS AT 60 AND GOING UP.

Monday, October 11, 2004	Work Order Report 2	Page 25 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

157	SUNRISE 	116424	8 /3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY 	RM.301,302,304,CONDENSATE WATER DOESNT DRAIN

FROM-P-TRAP CAUSES COMPRESSOR TO SHUT OFF ON

CONDENSAT-E FAULT.

157	SUNRISE 	116425	8 /3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY 	RM.107,STILL BLOWING HOT AIR.

RM.306,212,310 ARE ON CONTINUOUS FAN.

157	SUNRISE 	119306	9 /22/2004	I	1	WA	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY 	RM.105 WATER LEAKING FROM PUMP.

RM.209 CONTINUEOUS FAN,TRANE CONTROL

PROBLEM.

157	SUNRISE 	117994	8 /25/2004	8 /25/2004	I	1	WA	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY 	EMERGENCY LIGHTING AREA,LIGHTING #4 NEAR

GYM

157	SUNRISE 	116090	7 /27/2004	7 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY 	I need four keys made please.

2 for 1C20

2 for 1C43

Thanks

157	SUNRISE 	115546	7 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY 	WE NEED A KEY FOR RM. 308 & 309 ENTRANCE TYPE.

157	SUNRISE 	116226	7 /29/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY 	UNUSUAL ODOR IN WING#2CHECKED P-

TRAPS,OK.PLUMBING-VENTS TOO SHORT FROM THE

ROOF.PLUMBING VENTS ARE NEXT TO THE

VENTILATERS ODER BEING SUCKED IN.

157	SUNRISE 	116225	7 /29/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

ELEMENTARY 	ROOM 301 UNIT STILL BLOWING HOT AIR.UNIT HAD

A CO-NDENSATE FAULT,TRANE CLEANED,AND

DRAINED.UNIT STI-LL NOT WORKING PROPERLY.

Monday, October 11, 2004	Work Order Report 2	Page 26 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

157-	CAFETERIA	116255	7 /30/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	HOT AIR IS STILL COMING OUT FROM AIR

CONDITIONER IN  KITCHEN.  HOT~!!

210	CHAPARRAL 	117010	8 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED KEY A95 TO BE ISSUED TO DELA HOWARD AND

KEY A23 TO BE ISSUED TO PATSY GARCIA

210	CHAPARRAL 	117011	8 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED A-KEY TO KEEP IN VAULT

210	CHAPARRAL 	119165	9 /20/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	MIDDLE	NEED TO TRANSFER DIRT FROM CHE TO CHM FOR

MOBILE HOME THAT WILL BE INSTALLED. MEET

WITH MIKE MCDERMOTT FOR DETAILS AND

LOCATION. ALSO CHECK WITH PLBG FRED FOR

210	CHAPARRAL 	117017	8 /10/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	MIDDLE	WINDOW CONTRACTOR

GLASS NEEDS REPAIR--APPROX 18" X 30" WIRED

SECURITY GLASS.

210	CHAPARRAL 	118841	9 /13/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE	Prepare Electrical Hook-up for mobile home

210	CHAPARRAL 	117001	8 /10/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE	speedy mr diggs wants to know why the bus turn around has

not been taken care yet. also the pond area needs tree taken

210	CHAPARRAL 	117002	8 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	vicki needs a key for the vault. also mr wolfs room opens with

any key.

210	CHAPARRAL 	117003	8 /10/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE	we need to install lights and outlets in new office area on

cafeteria.

Monday, October 11, 2004	Work Order Report 2	Page 27 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

210	CHAPARRAL 	115197	7 /1 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	MIDDLE	DP 781 Monitoring data is due in this office before July 31

210	CHAPARRAL 	119229	9 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	VERY HARD TO UNLOCK  ROOM 204. THANK YOU

ROBERT

210	CHAPARRAL 	118979	9 /15/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE	SERVER ROOM DOOR WILL NOT CLOSE.  SERVER IN

WAY.(Door needs to be placed on the outside.  No way to

move server inside of room-C. Ramirez)

210	CHAPARRAL 	118171	8 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M58	MIDDLE	Repair soil erosion around bldg where roof drains come off

building

210	CHAPARRAL 	119049	9 /16/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE	NEED TO REPLACE A/C UNITS 100 WING AND 200

WING.TOTAL OF 16 UNITS.

210	CHAPARRAL 	117082	8 /10/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE	PLEASE MOVE BASEBALL BACKSTOP FROM GAC  TO

CHM FIND LOCATION WITH MR. DIGGS APPROVAL.

210	CHAPARRAL 	119581	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED COPY OF SECRETARY'S DESK KEY

210	CHAPARRAL 	115347	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NORTHEAST DOUBLE DOORS ENTRANCE TO THE 400

HALLWAY AND SOUTHEAST DOUBLE DOORS NEXT

TO CAFETERIA.BOTH DOORS CAN NOT BE OPENED

WITH THE KEY, FROM THE OUTSIDE. THANK YOU,

210	CHAPARRAL 	115350	7 /9 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE	THE EXHAUST FAN IN THE MENS RESTROOM IN THE

200 HALLWAY IS NOT WORKING.THE EXHAUST FAN

IN THE WOMANS RESTROOM IN THE 200 HALLWAY IS

MAKING A VERY LOUD NOISE. THANK YOU, ROBERT

Monday, October 11, 2004	Work Order Report 2	Page 28 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

210	CHAPARRAL 	115727	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO INSTALL CENTER BARS AT DOUBLE DOOR

EXIT. TYPE THAT HAS KEY LOCK.

210	CHAPARRAL 	119588	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED KEY FOR INTERIOR DOORS IN LOBBY.

210	CHAPARRAL 	119587	9 /29/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO REPAIR COACH OFFICE DOOR.

210	CHAPARRAL 	119583	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED 5 KEYS FOR EQUIPMENT ROOM IN LOCKER

ROOM.

210	CHAPARRAL 	119582	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED KEY FOR INTERIOR DOORS IN 100 HALLWAY

210	CHAPARRAL 	118785	9 /10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	NEED TO HAVE PARKING LOTS CLEANED DURING

BREAK. THE WEEK OF OCT 4-8 THERE IS NO

INTERSESSION OR SCHOOL.

210	CHAPARRAL 	119462	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE	REPAIR WEST FOOTBALL LOCKER ROOM DOOR.

210	CHAPARRAL 	119461	9 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO REPAIR COACH'S OFFICE DOOR-GIRLS

LOCKER ROOM.

210	CHAPARRAL 	116139	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED A MASTER (A) KEY MADE. ONE OF OUR KEYS

BROKE. NEED IT ASAP PLEASE! THANK YOU  ROBERT

210	CHAPARRAL 	119441	9 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	WE CAN'T LOCK THE DOOR TO ROOM 106.IT'S STUCK

OPEN.

Monday, October 11, 2004	Work Order Report 2	Page 29 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

210	CHAPARRAL 	118842	9 /13/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	MIDDLE	Prepare Plumbing Hook-ups for Mobil home (Gas, Water, and

Sewer

210	CHAPARRAL 	119426	9 /27/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	MIDDLE	DO DIRT WORK FOR MOBILE HOME TO BE MOVED ON

SITE.

210	CHAPARRAL 	117793	8 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	CANNOT OPEN DOOR TO GIRLS LOCKER ROOM

OFFICE.

210	CHAPARRAL 	119425	9 /27/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	MIDDLE	NEED BACKHOE TO CLEAN OUT BOTTOM OF POND.

210	CHAPARRAL 	118851	9 /13/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE	NEED A REFRIGERATED UNIT IN COMPUTER LAB RM

208.  MASTER COOL UNIT DOESN'T CUT IT.  SPEAK

WITH JAIME THE TECHNICIAN.

210	CHAPARRAL 	119352	9 /23/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	THE FLOORS IN SOME OF THE CLASS ROOMS IN THE

300 HALL,HAVE SOME KIND OF SPOTS. THAT AT FRIST

WE THOUGHT IT MIGHT BE THE TAR THAT THEY USE

FOR INSTALLING THE TILE.BUT IT LOOKS LIKE ITS

HAPPENING IN MORE ROOMS. I'M CONCERED THAT IT

MIGHT BE FUNGUS.  THANK

210	CHAPARRAL 	118228	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	KEY BROKE INSIDE LOCK HANDLE. IN THE 300 HALL

MENS RESTROOM. THANK YOU  ROBERT

210-	FIELD	116883	8 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	Batting Cage - Have Speedy look into getting a batting cage for

this site

210-GYM	GYM	115277	7 /7 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	THE GYM IS DONE AND READY TO BE OPEN. CAN

YOU PLEASE CHANGE THE LOCKS. THANK YOU.

Monday, October 11, 2004	Work Order Report 2	Page 30 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	119203	9 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	MIDDLE SCHOOL	Still waiting to see the painted arrows for our exits and the

correction for better traffic flow (2nd Request)

220	GADSDEN 	117676	8 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	MIDDLE SCHOOL	Paint a RIGHT and LEFT Lane ARROW for the middle and

only exit from school  Please Help

220	GADSDEN 	119669	9 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	{A-WING}RM#160

Door frame is loose from the bottom door is pretty bad shape

cracking splitting.

220	GADSDEN 	117677	8 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	MIDDLE SCHOOL	We need a sign that states NO PARKING between these hours

or you will be ticketed or towed      Please Help

220	GADSDEN 	117713	8 /19/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE SCHOOL	{Custodial Rm B-WING}

Need new circuit for A/C keeps tripping breakers.

220	GADSDEN 	115236	7 /6 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	Construction on the four classrooms in central office is still at a

standstill. Before the walls can be painted they need to be

patched and sanded. I am moving the classrooms starting the

14 of July.

220	GADSDEN 	116846	8 /6 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Need two - V masters and two W masters, 2 keys for room

#124, Key room C213 and duplicate hon key #4

220	GADSDEN 	117657	8 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	Rm 506 - Window needs to be replaced.

220	GADSDEN 	117199	8 /12/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	MIDDLE SCHOOL	COLD WATER VALVE OF SINK IS LEAKING. LOCATED

IN A-WING ROOM 129.

Monday, October 11, 2004	Work Order Report 2	Page 31 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	119584	9 /29/2004	I	1	WA	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE SCHOOL	{BUS TURN AROUND}

Roll gate fell of the rail and hit one custodian on the head and

shoulder put gate back on the rail but its still not safe.

220	GADSDEN 	119334	9 /22/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	NEED TO PADLOCK FOR GATE AT CHILLER AREA (W)

KEY.

220	GADSDEN 	115880	7 /22/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{A-WING}

Door handle to womens RR keeps falling off need new one.

220	GADSDEN 	119422	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	{A-WING}

Solid metal door needs a window in room #177.

220	GADSDEN 	116944	8 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE SCHOOL	NEED TO UPGRADE SWAMP COOLER FROM A 45CFM

TO A 65CFM. LOCATED IN PORTABLE 502. THE DOWN

DRAFT NEEDS TO BE INSULATED.

220	GADSDEN 	116435	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Change the building name plates on A and B wing

Also make a sign for new "C" Wing

220	GADSDEN 	116433	8 /3 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE SCHOOL	We nned to upgrade or change the vents in portable #502.

Mastercool with new pump and honeycomb is still blowing

warm air., Class temperature above 90 degrees

220	GADSDEN 	117099	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	{B-WING}

Purchasing warehouse was delivering furniture and removed

moulium and stripped screws .

220	GADSDEN 	116233	7 /29/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	MIDDLE SCHOOL	I need a bookshelve built from floor to ceiling in the old central

office. Rudy can do this from pine stock purchased. Do not

need an outside vendor unless it cost less

Monday, October 11, 2004	Work Order Report 2	Page 32 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	116287	7 /30/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE SCHOOL	GOAL POST NEEDS TO BE RE-INSTALLED

220	GADSDEN 	117448	8 /16/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE SCHOOL	Bring electricity to our new Marque, we have been waiting on

this work order since last April

220	GADSDEN 	118425	9 /1 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE SCHOOL	AZTEC FLOORING

PLEASE VCT OR CARPET THE OFFICES. NEED PRICE

QUOTES ASAP. CONTACT RUDY AREOLA.

220	GADSDEN 	118608	9 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Storage room for custodial was jammed and could'nt opened

220	GADSDEN 	117997	8 /25/2004	8 /25/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Replace the locks in the fireproof file, nurses have no key

220	GADSDEN 	118714	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	MIDDLE SCHOOL	NEED TO REPLACE 2 LIGHT FIXTURE COVERS IN

ROOM 308 VOCATIONAL BUILDING ASAP

220	GADSDEN 	118609	9 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{MAIN GYM}

Door handle was broken off door had to secured for the end of

the day.

220	GADSDEN 	118859	9 /13/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	MIDDLE SCHOOL	PLEASE CUT WEEDS AROUND AND INSIDE OF TENNIS

COURTS.

220	GADSDEN 	118516	9 /2 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	fix the cash box lock

220	GADSDEN 	117998	8 /25/2004	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	repair cabinet doors and shelves safety hazard

Monday, October 11, 2004	Work Order Report 2	Page 33 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	118586	9 /3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE SCHOOL	Help, the metal crank down windows have sheared off some

bolts and won't go up or down. Help

220	GADSDEN 	118387	9 /1 /2004	I	WW	0	$0.00	$0.00	$0.00	$0.00

M03	MIDDLE SCHOOL	WASTE WATER INSPECTIONS

220	GADSDEN 	118476	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	{VOC BLDG}

RM#300 Door needs to replaced it is cracked and spliting.

220	GADSDEN 	117996	8 /25/2004	8 /25/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	need an additional A57 Key for Juan

220	GADSDEN 	118792	9 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{A-WING}

Room #161 cylinder is stuck and cant open the door.

220-	CAFETERIA	117149	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	{CAFETERIA}

Door on south side of cafeteria is hard to close door is hanging

and dragging.

220-C-	C-WING	115357	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Change locks in old central, bring the a53 lock from Gloria's

door to her new office and key office next door to an a53. Mrs.

Nieto office a57 key

220-C-	C-WING	119001	9 /15/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	{C-WING}

Ofelia Jaquez old office holes need to be patched up for new

social worker that is going to move in.

220-C-	C-WING	116460	8 /3 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	AZTEC FLOORING

NEED TO REPLACE CARPET IN RM ACROSS FROM MIS

ALSO WHERE PAYROLL USED TO BE CARPET IN RM

AND VCT IN PAYROLL WITH COVEBASE.

Monday, October 11, 2004	Work Order Report 2	Page 34 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220-C-	C-WING	115732	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{C-WING}

Door next to mens restroom panic bar needs to be replaced

with new one.

220-C-	C-WING	116896	8 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	BATHROOM NEXT TO FRONT OFFICE LOBBY NEEDS

TO BE REKEYED.

220-C-	C-WING	115360	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Change bathrooms to a lock that can be opened by any

classroom key. (All five bathrooms)

220-C-	C-WING	116960	8 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	NEED TO PROTECT WOOD WITH SEALER AND SILICA

SAND TO PREVENT SLIPPING.CANTRELL PORTABLE

NEW RAMP AND STAIRS.

220-C-	C-WING	117194	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ACADEMY FENCE

Need to extend gate from edge of C-WING to the end of

bandroom gate door move gate door back.

220-C-	C-WING	118218	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Need two extra keys to front door of C wing

220-C-	C-WING	117098	8 /11/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{MAIN GYM}

Need lock for storage in gym lock was lost and need lock to

secure items.

220-C-	C-WING	115358	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Repair the lock and panic bar on rear entry door east side of

old central

220-C-	C-WING	115359	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Change all new classrooms in old central office and portibles to

a "W" key

Monday, October 11, 2004	Work Order Report 2	Page 35 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220-GYM	GYM	117876	8 /23/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{MAIN GYM}

We need to change handle outside doors leading to gym lobby

and just use key to go in.

220-GYM	GYM	118108	8 /27/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	Construction Specialties - Need Price Quote

{MAIN GYM}

Bleachers Chain came off and wheels are broken off need to

have them checked out ASAP.

220-GYM	GYM	115692	7 /19/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Switch the master lock in gym, floor is complete back to

original "W" key

230	SANTA TERESA 	119454	9 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	ATTN: MANNY LOZOYA:  S.BLDG RM 31. PLEASE

REPLACE LOCK ON DRAWER. IT IS OLD AND BROKEN,

I NEED TO LOCK MY DRAWERS.

230	SANTA TERESA 	116209	7 /29/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	GYM. PLEASE CHANGE CORES ON DOORS, THE GYM IS

READY TO USE. ATTN: MANNY LOSOYA.

230	SANTA TERESA 	116210	7 /29/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	PARKING LOT. WOULD LIKE AN ENTRANCE AND

EXIT FOR  PARENTS TO DROP OFF THEIR KIDS.

SOMETHING LIKE RIVERSIDE ELEMENTARY. ATTN:

230	SANTA TERESA 	118025	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	Playfields Fencline- Cut and remove weeds along fencline

230	SANTA TERESA 	115980	7 /23/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED #1 KEY AND #5 KEY.

230	SANTA TERESA 	117373	8 /13/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	Rm 6. key is getting stock and lock is hard to open. Attn: Manny

L.

Monday, October 11, 2004	Work Order Report 2	Page 36 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	116211	7 /29/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	PARKING LOT HANDI-CAP RAMP. GROUND HAS BEEN

MOVING CAUSING CEMENT TO CRACK FAST. ATTN:

DAVID BOYD.

230	SANTA TERESA 	118024	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	South Bldg. - Remove weeds at south exit next to trash

dumpster and fire hydrant

230	SANTA TERESA 	119600	9 /29/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	MIDDLE	WATER FOUNTAIN IN NORTH BUILDING CAFETERIA

IS NOT WORKING. PLEASE CONTACT MR.RODRIGUEZ.

THANK YOU.

230	SANTA TERESA 	115984	7 /23/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	SW TRANE CONTROLS - ATTN: JOE VALENZUELA

PLEASE SEND COMMUNICATION LINK WIRE FOR 2ND

FLOOR MECH. ROOM HEAT PUMP SO JAIME MIJAREZ

CAN INSTALL. (HAVE BEEN WAITING ON THIS FOR A

WHILE)

230	SANTA TERESA 	117397	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	ATTN: MANNY L. S.BLDG RM 43. IF A LOCK CAN BE

PUT ON A FILING CABINET FOR SPEED FILES.

230	SANTA TERESA 	117396	8 /16/2004	I	1	HV	GM	1	$13.69	$0.00	$0.00	$13.69

M77	MIDDLE	ATTN: JOE AMBRIZ HOME EC RM. HP-B HAS A BAD

CIRCUIT BOARD CAN YOU PLEASE ORDER ONE.

230	SANTA TERESA 	115542	7 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	N. BLDG RM 8 LOWER LEVEL - NEED THE

FOLLOWING:

1- NEED A LOCK & KEY FOR STORAGE CABINET

2-NEED A KEY TO FILE CABINET

Monday, October 11, 2004	Work Order Report 2	Page 37 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	118210	8 /30/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	SW TRANE - ATTN: J. VALENZUELA

N. BLDG MECHANICAL ROOM-HAVING PROBLEMS

WITH UNIT.

S. BLDG HOME EC - NEED ROVER FOR NEW BOARD

INSTALLED.

(Would like to schedule this for tomorrow 8/31/04 please call to

confirm)

230	SANTA TERESA 	119080	9 /16/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	MIDDLE	LESTER HUMPHREY - NEED PRICE QUOTE

MAINTENANCE STORAGE OUTSIDE. THERE ARE BIG

RATS UNDER THE STORAGE. PLEASE SEND PEST

CONTROL AS SOON AS POSSIBLE.

230	SANTA TERESA 	116681	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NURSES OFFICE. PLEASE INSTALL LOCKS ON

STORAGE CABINET.

230	SANTA TERESA 	115289	7 /7 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE	AZTEC FLOORING

NORTH & SOUTH BUILDINGS - NEED CARPET IN THE

FOLLOWING:

NORTH OFFICE - GOLD, HAS DIFFERENT COLORS

CHOIR ROOM - REQUIRE CARPET

SOUTH LOUNGE - REQUIRE CARPET

230	SANTA TERESA 	118661	9 /8 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	SW TRANE - ATTN: JOE VALENZUELA

S. BLDG UPPER LEVEL EAST - COMMUNICATION

ERROR CONSTANTLY THIS IS THE ONE WE HAVE

BEEN HAVING PROBLEMS DUE TO LINK. NEED TO

CHECK THIS OUT A/S/A/P.

230	SANTA TERESA 	118849	9 /13/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	MIDDLE	ATTN: PEST CONTROL (Need Price Quote)

NEED TO FUMIGATE THE LIBRARY AREA AND THE

CHOIR RM. A.S.A.P.

Monday, October 11, 2004	Work Order Report 2	Page 38 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	115292	7 /7 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	MIDDLE	GROUNDS SHOP STORAGE SHED - PLEASE INSTALL

OVERHEAD LIGHT AND OUTLET TO SHED.

(GRONDS SHOP WILL PROVIDE ASSISTANCE IF

NEEDED)

230-	ALLIANCE	115291	7 /7 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEW PORTABLE @ ALLIANCE - NEED 2 KEYS MADE

FOR ADMINISTRATOR AND CLERK.

230-	ALLIANCE	118421	9 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED TO INSTALL DOOR KNOB AT SPED PORTABLE

AT STMS ALLIANCE.

230-	ALLIANCE	115386	7 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	RE-KEY ALL PORTABLES TO MASTER KEY AT GAC.

230-	ALLIANCE	115982	7 /23/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	WINDOW IN PORTALBLE 4 IS SEALED AND NEEDS TO

BE A FIRE EXCAPE EXIT.

230-	ALLIANCE	118176	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Install Keyed door knob on door to Ms Galleghos Office ASAP

230-	ALLIANCE	119509	9 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M64	ON TUESDAY, OCT 5TH  PLEASE SUPPORT MANNY AT

THE ALLIANCE PORTABLES.

THANKS MIKE

230-	ALLIANCE	117482	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	PORTABLE 6 ALLIANCE - INSTALL DOOR KNOBS ON

DOORS INSIDE. AND NEED A SIGN FOR OUTSIDE

DOOR THAT READS: GISD OFFICE

Mrs. Martha Gallegos

230-GYM	GYM	117289	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	BOYS LOCKER ROOM DOOR TO THE BACK PORTICO

AREA DOES NOT LOCK (NOT THE DIRECT OUTSIDE

DOOR, BUT THE ONE JUST BEFORE IT).

Monday, October 11, 2004	Work Order Report 2	Page 39 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230-GYM	GYM	117290	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	P-70 KEYS ARE NOT WORKING ON THE NORTH SIDE

DOORS OF THE GYM, BOTH ON THE INSIDE HANDLES

AND THE OUTSIDE HANDELS.

230-GYM	GYM	117294	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	BLEACHERS NEED WORK, THE BUCKLE AND BEND

WHEN RETRACTED.

230-GYM	GYM	119136	9 /17/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ADDITIONAL WORK IS NEEDED 4 ROLLERS,15 RODS

AND 2 WEIGHTS.

230-GYM	GYM	117297	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	LOBBY DOORS TO THE INSIDE OF THE GYM NEED

DOORSTOPS REPLACED. THEY'VE ALL BROKEN OFF.

230-GYM	GYM	117372	8 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Gym coaches office door lock not opening with the key. Also

coaches key broke. Attn: Manny L.

8/17-Need status on work order Coach Enciso called that he

needs his key a/s/a/p. - mkv

230-GYM	GYM	118703	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ATTN: MANNY L. GYM CONCESSION DOOR HAS A BAD

CORE AND WON'T OPEN. ASAP.

230-GYM	GYM	115210	7 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED TO CHANGE THE KEY LOCKS IN THE GYM.

THANK YOU .ISMAEL RODRIGUEZ  A.S.A.P

410	GADSDEN HIGH 	119443	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	SW TRANE - ATTN: JOE VALENZUELA

NOT COMMUNICATING W/BCU AT SITE.  NEED TO

CHECK BOARD.

410	GADSDEN HIGH 	116727	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm. 229 North Building - remove tables that stick in to

rooms,over head cabinets to back room.

Monday, October 11, 2004	Work Order Report 2	Page 40 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	116731	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M82	SCHOOL	Guard Shack North Side - Interior wall of guard shack needs

new sheet rock.

410	GADSDEN HIGH 	116733	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 148 Old English Building - Dead animal removal.

410	GADSDEN HIGH 	116718	8 /5 /2004	I	1	GM	GM	2	$18.34	$0.00	$0.00	$18.34

M44	SCHOOL	Rm 226, North Building

Two of my electric outlet are missing their metal plates.I

would like all drawers from the student lab tables removed and

their opening covered with a 20" x 14" wood stained board.

There are 28 lab tables so this would required 28

410	GADSDEN HIGH 	119389	9 /24/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 155 GIRLS GYM - KEY BROKE IN THE GYM DOOR

NEEDS NEW KEY HE1 ASAP

410	GADSDEN HIGH 	116734	8 /5 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	Rm 331 Academic Building - Needs sink fixed.

410	GADSDEN HIGH 	116186	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	GHS- GIRLS GYM-STOUT HARDWOOD FLOORS

NEED A PRICE QUOTE ON REPAIR OF DAMAGED

FLOOR.

410	GADSDEN HIGH 	118432	9 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 608 Business Build. - Please replace hasp on elevator (

southside of business Bld.)

410	GADSDEN HIGH 	119400	9 /24/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	NEED TO REPAIR GATE AT SWIMMING POOL WHERE

GATE WAS CUT BY VANDELS.

410	GADSDEN HIGH 	116725	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm. 126 old english building - Guard plate for door lock.

Monday, October 11, 2004	Work Order Report 2	Page 41 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	116569	8 /5 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY, LOCKSMITH TEACHERS NEEDS A HK1

FOR AUTOSHOP AND HK3 FOR AG SHOP

410	GADSDEN HIGH 	116500	8 /4 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	SCHOOL	Rm 580 Auto Shop - I need a larger sump pump.

410	GADSDEN HIGH 	116497	8 /4 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	RM. 611 DOWNSTAIRS BUSINESS BDLG. - REPLACE

BLINDS

410	GADSDEN HIGH 	118233	8 /30/2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	SCHOOL	Swimming Pool -On boys restroom the toilet seat the water is

coming under the seat.

410	GADSDEN HIGH 	116493	8 /4 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	RM. 155 GIRLS GYM OLD ENGLISH - UNDERNEATH

STEPS GOING INTO LOCKEROOM. THERE IS A SINK

HOLE

410	GADSDEN HIGH 	116148	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 651 UPSTAIRS BUSINESS BLDG. - DOOR WILL NOT

LOCK KEY GOES INTO SLOT BUT DOES NOT TURN

WORK ORDER PUT IN AT END OF LAST SCHOOL YEAR

MAY 04

410	GADSDEN HIGH 	116528	8 /4 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	NORTH BLDG  BOYS RESTROOM-NEED TO CLEAN UP

THE OVER SPRAY ON FLUSH VALVES,SINKS URINALS

ETC. AND ALSO OVERSPRAY ON ALL DOORS WHERE

ROOMS WHERE PAINTED. PLEASE MASK

410	GADSDEN HIGH 	118235	8 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 331 Academic Building - My backdoor broke and needs to

be fixed immediatly. We use it all the time. (The large hinges

that attaches the door to the top of the door frame is broken.)

410	GADSDEN HIGH 	118278	8 /31/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN:MANNY LOZOYA, LOCKSMITH - NEED HE1 FOR

PHYSICAL ED ACTIVITIES

Monday, October 11, 2004	Work Order Report 2	Page 42 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	118333	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	Rm 219 North Build. - Remove the store/table/sinkcombination.

Replace with a new cabinet and sink.Place microwave and

mini refrigerator.

410	GADSDEN HIGH 	118279	8 /31/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	BOOKKEEPING FRONT OFFICE MAIN BLDG. - WE

NEED TO CHANGE THE COMBINATIONS ON BOTH

VAULTS ASAP

410	GADSDEN HIGH 	119448	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 563 Vocational Build - Air conditioner is not cooling.

410	GADSDEN HIGH 	118284	8 /31/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY,LOCKSMITH - MEN'S RESTROOM MAIN

BLDG. NEEDS TO BE CHANGED SO THAT ANY MALE

STAFF MEMBER IN THE MAIN/OLD ENGLISH BLDG

WITH A D CAN OPEN RESTROOM

410	GADSDEN HIGH 	116570	8 /5 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 339 ACADEMIC BLDG. - NEED A REPLACEMENT

OC CLASSROOM KEY AS I LOST IT (BILL TO TEACHER)

410	GADSDEN HIGH 	119434	9 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Need an F3 key for the principal

410	GADSDEN HIGH 	116373	8 /2 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	SCHOOL	Wastewater Treatment Plant- I need for Carlos C. and Raul S.

to indentify/schedule the installation of the replacement

transfer pump before the winter break

410	GADSDEN HIGH 	119446	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	Rm 563 Vocational Build - Replacement and repair of air

louvers on greenhouse before cold weather arrives.

Monday, October 11, 2004	Work Order Report 2	Page 43 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	118234	8 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	Rm 610 Bussines Building - Shelves and stands for computers

sergers and embroldery machines are needed. Currently we

have to pull machines in and out of cabinets to we not good for

machines.

410	GADSDEN HIGH 	119447	9 /27/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	Rm 563 Vocational Build - Boys bathrrom urinal will not flush.

Odor builds up in the restroom.

410	GADSDEN HIGH 	118334	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 244 North Build.- US and NM Flag

410	GADSDEN HIGH 	116571	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 128 OLD ENGLISH BLDG. - VERY DIFFICULT TO

UNLOCK DOOR CONCERNED THE KEY WILL

EVENTUALLY BREAK

410	GADSDEN HIGH 	116568	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	TEACHERS LOUNGE NORTH BLDG - THE

TUMBLER/DOOR KNOB NEEDS TO BE ADJUSTED SO

TEACHERS WILL BE ABLE TO HAVE ACCESS TO THE

TEACHERS LOUNGE

410	GADSDEN HIGH 	119660	9 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	Rm 404 Boys gym - Need two wall mirrors for the new vanity

cabinets.

410	GADSDEN HIGH 	115737	7 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	OLD TEACHER'S LOUNGE NORTH BLDG. -  ATTN:

BLDG. MECHANIC WATER LEAKS ARE PRESENT ON

THE CEILING AT TWO LOCATIONS

410	GADSDEN HIGH 	119614	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	NEED TO CHANGE ALL CUSTODIAL CLOSET LOCKS.

410	GADSDEN HIGH 	118598	9 /3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	NEED TO REPLACE DOOR AT THE NURSE OFFICE ON

THE EAST SIDE ROOM 900

Monday, October 11, 2004	Work Order Report 2	Page 44 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	119633	9 /30/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	GROUNDS SHOP - CONNECT GAS TO NEW FURNANCE.

410	GADSDEN HIGH 	115559	7 /14/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTENDANCE OFFICE NORTH BLDG. - REKEY THE 2

OFFICE OUTTER DOORS (H MASTER COMPATIBLE)

WILL NEED 6 KEYS - NEED ASAP

410	GADSDEN HIGH 	118728	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	CATHY'S OFFICE FRONT OFFICE MAIN BLDG. - ATTN:

MANNY,LOCKSMITH NEED TO REKEY THE

FOLLOWING KEYS 395T, 018, NO # NEED TO BE RE-

KEYED TO NEW #'S URGENT CONFIDENTIAL INFO

410	GADSDEN HIGH 	119655	9 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 400 Boys gym - Paint doors to boys all (4) exterior doors.

410	GADSDEN HIGH 	115492	7 /13/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

Room 129 broken window, needs repaired asap

410	GADSDEN HIGH 	119656	9 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M82	SCHOOL	Boys Gym Rm 400 - Light Bulbs replace in boy's lucker room.

410	GADSDEN HIGH 	119657	9 /30/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	Rm 581 Autoshop - Urinal is clogged has not worked since

school started.

410	GADSDEN HIGH 	119526	9 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	NEED NEW MIRRORS AT ROOM 404 GIRLS LOCKROOM

410	GADSDEN HIGH 	119659	9 /30/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	Rm 104 Main Build - Water heater under counter leaking needs

to be replace ASAP.

Monday, October 11, 2004	Work Order Report 2	Page 45 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	115740	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	DOOR TO THE ATTENDANCE OFFICE NORTH BLDG. -

PLEASE CHECK THE DOOR KNOB THE KEY STICKS

WHEN USED TO OPEN THE DOOR

410	GADSDEN HIGH 	115326	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Attn:  Locksmith  Need 1 additional HE252, HE 251, and

HE253 (for key box)

410	GADSDEN HIGH 	115325	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Attn:  locksmith Rifle range, boys gym  Need a working key

for the range, last key did not work, need before August 13th

410	GADSDEN HIGH 	115319	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	attn: locksmith,  Room 760 (old athletic office)  need lock

changed to the hj series will need 12 keys - asap

410	GADSDEN HIGH 	115318	7 /8 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	attn: locksmith, room 504b, need lock changed to x38

410	GADSDEN HIGH 	115317	7 /8 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	Need new blinds in main building lounge, principal's secretary,

front office

410	GADSDEN HIGH 	119667	9 /30/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED TO REPLACE THE OUTSIDE TRANSFORMER AT

BUS BLDG IT LEAKING OIL

410	GADSDEN HIGH 	115286	7 /7 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	SW TRANE COMPUTER

NOT ABLE TO COMMUNICATE WITH SITE.

410	GADSDEN HIGH 	118712	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Academic Build. - Faculty restroom's door does not lock.

410	GADSDEN HIGH 	119668	9 /30/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

BROKEN WINDOW AT ROOM 132 AND 511 W/GLASS

24X48

Monday, October 11, 2004	Work Order Report 2	Page 46 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	118706	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 551 INDUSTRIAL BLDG. - WE NEED A LOCK ON

OUTSIDE STORAGE BUILDING IT IS CURRENTLY

UNLOCKED AND SOMEONE HAS GOTTEN INTO IT AT

LEAST ONCE ITS UNSAFE 2 KEYS NEEDED

410	GADSDEN HIGH 	119658	9 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M82	SCHOOL	Rm 344 academic build - light cover near door fell off on one

side. Looks like it's about to falll completly and could injure

someone.

410	GADSDEN HIGH 	118786	9 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 124 MAIN BLDG. - DOOR NEXT TO MAIN

BUILDING ENTRANCE DIFFICULT TO OPEN

410	GADSDEN HIGH 	116144	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 802 COUNSELING CENTER - I NEED LOCKS PUT ON

5 CABINETS

410	GADSDEN HIGH 	118433	9 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 608 Business Building - Northwest door - bottom business

bld.  Door latch does not close properly when trying to lock

doors at night.

410	GADSDEN HIGH 	116138	7 /28/2004	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	NEED TO REPLACES DOOR AT MAIN BLDG ON THE

SOUTH END GOING OUT TO NURSE OFFICE

410	GADSDEN HIGH 	118435	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 569 Business Build. - Air conditioner is not working the

temperature in me room goes as high as 85 by lunch.

410	GADSDEN HIGH 	116132	7 /28/2004	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED A FLUORESCENT STRIPIGHTAT  ROOM 126A

410	GADSDEN HIGH 	118436	9 /1 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	Rm 608 Business Bld. - Need electrician to install new electral

box to water heater in back store room. ASAP

Monday, October 11, 2004	Work Order Report 2	Page 47 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	118437	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 608 Business Bld. - Need fernie or mario to disassemble

metal shelves so that electrician can come in to work.

410	GADSDEN HIGH 	118829	9 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 331 ACADEMIC BLDG. - NEED AN HE122 KEY

410	GADSDEN HIGH 	115997	7 /26/2004	7 /26/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	SCHOOL	RM. 321 ACADEMIC BLDG. - FIX FAUCET AT REAR OF

ACAD. BLDG. NEXT TO BOILER RM. CLOSET SO THAT

A HOSE CAN BE HOOKED UP & USED TO WATER

BACK PLANTERS

410	GADSDEN HIGH 	116737	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 128 Old English Building - Rekey file lock # 234, cabinet

inventory # 98-1600. Key is unable to be located.

410	GADSDEN HIGH 	115738	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 118 MAING BLDG. - NEEDS TO RE-KEYED RM. 118

(BOOKEEPING) & CONCESSION STAND-NEED 4 NEW

KEYS KEY WAS LOST BY THE BAND FUNDING

CODE:70000.08.0000.01.6060.410

410	GADSDEN HIGH 	119401	9 /24/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	NEED TO INSTALL METAL DOOR AND FRAME FOR

PIPE CHASE.

410	GADSDEN HIGH 	115739	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	TEACHER'S LOUNGE NEXT TO ATTENDANCE OFFICE

NORTH BLDG. -  ATTN: MANNY, LOCKSMITH PLEASE

CHECK THE DOOR KNOB

410	GADSDEN HIGH 	118565	9 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 754 BARRACKS BLDG. - NEED HJ5 RM. KEY FOR MS.

VERMILLION RM.

410	GADSDEN HIGH 	118566	9 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 201 NORTH BLDG. - HE27 BROKE WHILE OPENING

DOOR TO RM.

Monday, October 11, 2004	Work Order Report 2	Page 48 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	118781	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Visitor parking lot - Paint the light pole yellow or orange so it is

visible also put some barriors around it so visitors don't crash

into it.

410	GADSDEN HIGH 	119586	9 /29/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	SCHOOL	NEED TO REMOVE ALL EVERGREENS BETWEEN

LIBRARY AND NORTH BLDG.

410	GADSDEN HIGH 	118780	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Security Office - Need to change celling tile (3)

410	GADSDEN HIGH 	118779	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Parking Lot - Paint the chains orange or yellow (florecent if

possible) in the parking lot so they are visible to anyone.

410	GADSDEN HIGH 	115771	7 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	NORTH GATE GUARD SHACK - NEED TO REPAIR.

(FLOOR, PANELING, WINDOWS, PAINT, ETC.)

410	GADSDEN HIGH 	115752	7 /20/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	SW TRANE - ATTN: JOE VALENZUELA

NOT ABLE TO COMMUNICATE WITH SITE.

410	GADSDEN HIGH 	115743	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ASSISTANT PRINCIPAL'S OFFICE NORTH BLDG. -

PLEASE REPLACE THE DOOR KNOB TO THE

ASSISTANT PRINCIPAL'S OFFICE DOOR THE DOOR

410	GADSDEN HIGH 	115742	7 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	G-HALL FROM THE PARKING DOORS NORTH BLDG. -

THE DOORS FROM PARKING LOT TO ENTRANCE OF

THE BLDG. DO NOT CLOSE PROPERLY.

410	GADSDEN HIGH 	116145	7 /28/2004	7 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 802 COUNSELING CENTER - NAME CHANGE

PLATE TO MARIE ACOSTA

Monday, October 11, 2004	Work Order Report 2	Page 49 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	119534	9 /28/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	SCHOOL	Bus Turn Around - Pick up ashes from the bus turn around

from the bonfire.

410	GADSDEN HIGH 	117186	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	RM. 563 VOCATIONAL BUILD - RAIN GUTTER ON

BACK OF SHOP IS ROTTING AND DROPPING WATER

OVER THE DOOR.

410	GADSDEN HIGH 	118710	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M82	SCHOOL	Boys bathroom (main) - Paint needs and touch up.

410	GADSDEN HIGH 	117326	8 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 554 Business Building - Install a miror near paper

dispensor/ bathroom.

410	GADSDEN HIGH 	117325	8 /12/2004	I	1	GM	SA	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Varsity Gym - Safety Hazard! Need to fabricated ladder to

get to roof top.

410	GADSDEN HIGH 	117324	8 /12/2004	I	1	GM	SA	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Old English - Safety Hazard! roof access ladder needed to be

rebuild.

410	GADSDEN HIGH 	118901	9 /14/2004	I	1	GR	SA	0	$0.00	$0.00	$0.00	$0.00

M45	SCHOOL	Child Care Play Ground - Fix playground equiptment on

remove. Need new sand. Edging needs to be removed.

410	GADSDEN HIGH 	117225	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	SCHOOL	DIMAR

FIRE EXTINGUISHER SERVICING.

410	GADSDEN HIGH 	119258	9 /21/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY,LOCKSMITH - NEED A KEY FOR RM. 149

OLD ENGLISH BLDG. I CONDUCT CONFIDENTIAL

THERAPY SESSIONS THIS RM. HAS BE DESIGNATED

FOR PSYCHOLOGY SERVICES

Monday, October 11, 2004	Work Order Report 2	Page 50 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	117351	8 /13/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	AZTEC

FIOOR TILE AT ACADEMIC BLDG IS COMING OFF ON

SAME DOOR WAY GOING IN TO SAME ROOMS & THE

BASE BOARD AT PORTABLE ROOM 822 & 823 IS

COMING OFF THE WALL & AT MAIN BLDG ON THE

NORTH SIDE DOOR ENTER WAY THE TILE IS

COMEING OFF ALL IS WARRANTY WORK ORDER

410	GADSDEN HIGH 	116738	8 /5 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	Install 110 volt power strip on east wall of classroom for 9 new

computer and a printer.

410	GADSDEN HIGH 	119186	9 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 823 Portable - Air Conditioner is out.

410	GADSDEN HIGH 	117185	8 /11/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	FRONT OFFICE - NEED MY FILLING CABINETS TO BE

RE-KEYED.

410	GADSDEN HIGH 	117145	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	RANGE HOOD AT ROOM 233 HOME EC NEED TO BE

CLEAN

410	GADSDEN HIGH 	119272	9 /21/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY,LOCKSMITH- THE FOLLOWING KEYS

NEED TO BE CUT CORRECTLY

HE1,D50,HG1,HE157,(1)F3,(1)F3 FOR MR. MADRID,

ASSISTANT PRINCIPAL

410	GADSDEN HIGH 	119283	9 /21/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED TO REMOVE ALL FLOOR OUTLET AT ROOM 660

MS THORNLEY

410	GADSDEN HIGH 	117020	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	COUNCELING CENTER - DOOR WILL NOT CLOSE. IT

GETS STUCK ON THE WOOD DECK.

Monday, October 11, 2004	Work Order Report 2	Page 51 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	117019	8 /10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	RM. 128 MAIN BUILDING - HEATER HAVE PAPERS

INSIDE THEM FROM LAST YEAR. ITS A FIRE HAZARD.

410	GADSDEN HIGH 	117018	8 /10/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	RM 233 NORTH BUILDING - LARGE REFRIGERATOR

(TRUE BRAND) NOT WORKING.WHEN IT WAS

INITIALLY PLUGGED IN IT BECAME COOL YET

STOPPED COOLING ALL TOGETHER.

410	GADSDEN HIGH 	117188	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	RM 106 MAIN BUILDING - REPLACE WITH FROM MY

CEILING TO HANG CHILDRENS ART WORK.

410	GADSDEN HIGH 	118964	9 /15/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED TO REROUTE ALL CONDUIT ON THE OUTSIDE

OF BLDG - ROOM 233

410	GADSDEN HIGH 	117746	8 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	RM 653 BUSINESS BUILD - CEILING TILES ARE

CRACKED FROM MOISTURE/WET FROM RAIN. (TILES

APPEAR SATURATED)

410	GADSDEN HIGH 	117674	8 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	NORTH BLDG-ROTC STORAGE RM

NEED TO SCRAPE OFF OLD PAINT AND PREP FOR NEW

ONE.GET COLORS NEEDED FROM INSTRUCTOR AND

SITE ADMINISTRATOR.THIS NEEDS TO BE DONE

ASAP.THANKS

410	GADSDEN HIGH 	117544	8 /17/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	NEED CABINET EITHER REKEYED OR KEYS FOR THE

CABINET.

410	GADSDEN HIGH 	117543	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM 128 MAIN BUILD. - REQUEST FILE CABINET BE

REKEYED

410	GADSDEN HIGH 	117542	8 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	RM 344 ACADEMIC BUILDING - NEED A FAN IN THE

CLASSROOM.

Monday, October 11, 2004	Work Order Report 2	Page 52 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	117540	8 /17/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	RM 563A VOCATIONAL BUILD. - INSTALL HOT WATER

HEATER FOR THE AG. BUILDING

410	GADSDEN HIGH 	117539	8 /17/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	INSTALL FLOOR SINK IN HORTICULTURE/FLORAL

SHOP. THIS SHOULD BE DONE IN CONJUCTION WITH

THE WORK ORDER TO INSTALL NEW CABINETS AND

THE WORK ORDER ALREADY IN PLACE TO INSTALL A

WATER FOUNTAIN.

410	GADSDEN HIGH 	117328	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 554 Business Building - Adjust / repair entry door so as to

eliminate binding as it is opened or closed.

410	GADSDEN HIGH 	117517	8 /17/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	AZTEC FLOORING

N. BLDG ATTENDANCE OFFICE - NEED TO TILE

WHERE DOOR WAS INSTALLED.

410	GADSDEN HIGH 	117187	8 /11/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED 110 VOLT POWER STRIP FOR 9 COMPUTERS AND

ONE PRINTER IN THE CLASSROOM.

410	GADSDEN HIGH 	119113	9 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Computer Lab - One section of light turned off AC is not

working please check.

410	GADSDEN HIGH 	119116	9 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Library - Please adjust the pressure to flow higher. It barely

flows right now Water fountain.

410	GADSDEN HIGH 	117506	8 /17/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED 7 OUT DOOR SAFETY SWITCH BOX 3 POLE FOR

A/C UNIT AT N-BLDG

410	GADSDEN HIGH 	117487	8 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 611 Business Building - Repair or replace chalkboard on

East wall. If it cannot be repaired.Replace with chalkboard on

west wall.

Monday, October 11, 2004	Work Order Report 2	Page 53 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	119118	9 /17/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	Guard Shack - Need to fence around north and west walls of

shack to protect A/C unit and electrical panel from vandals.

410	GADSDEN HIGH 	119166	9 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY,LOCKSMITH  - HK IS ALMOST BROKEN

THE NEW CUSTODIAN JUAN IBANEZ STARTS ON

9/20/04 HE WILL NEED A NEW ONE

410	GADSDEN HIGH 	119185	9 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY,LOCKSMITH - MINITURE LOCKS ON

CRAFT ROLL PAPER CART WERE BROKEN OFF

SOMEONE DID THIS TO TAKE A WHOLE ROLL OF

CRAFT PAPER PLEASE REPLACE ASAP BEFORE

ANOTHER CRAFT ROLL IS TAKEN

410	GADSDEN HIGH 	117537	8 /17/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	RM 109 MAIN - NEED ELECTRICAL PLUGS AND

WIRING FOR HOOKING UP COMPUTERS TO INTERNET

AND POWER FOR IEP WRITING.

410	GADSDEN HIGH 	116800	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm. 312 Academic Building - door handle on door is broken.

410	GADSDEN HIGH 	119359	9 /23/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M82	SCHOOL	Rm 611 Business Build - Dry erase board.

410	GADSDEN HIGH 	116873	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	The doorknob on my front door and my back door need to be

fixed.

410	GADSDEN HIGH 	116872	8 /6 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 333 Academic Building - Need a key to 332 and drama

storage key # HE 122.

410	GADSDEN HIGH 	118181	8 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 303 ACADEMIC BLDG. - NEED KEYS SA16, D88,

HE1, HE43, HX2, HE60, HE157

Monday, October 11, 2004	Work Order Report 2	Page 54 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	116927	8 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	MAIN BLDG. MAIL ROOM - ATTN: MANNY,

LOCKSMITH PLEASE CHANGE CYNLINDER &

TEACHER'S LOUNGE MAIN/NORTH SO THAT ANY

CLASSROOM KEY & ACADEMIC WILL OPEN LOUNGE

410	GADSDEN HIGH 	118162	8 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	North Bldg. Round benches/stools - Repair ceramic tile and

carpet

410	GADSDEN HIGH 	119363	9 /23/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY,LOCKSMITH NEED A KEY FOR NURSES

OFFICE

410	GADSDEN HIGH 	116928	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY, LOCKSMITH KEY FOR FOOTBALL HE69

HE 200 A53

410	GADSDEN HIGH 	116793	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Weight Rm.-  South outside doors key lock is broken.

410	GADSDEN HIGH 	116745	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm. 823 Portable - A lot of our space board in un-glued from

the wall.

410	GADSDEN HIGH 	116930	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	attn:  Locksmith

Need 2 keys for elevator ASAP for disabled student.

410	GADSDEN HIGH 	118169	8 /27/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Busines Bldg Elevator - As per Mario elevator got stuck on top

floor with student. Call service company for repairs

410	GADSDEN HIGH 	116743	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 228 North Building - Have office painted.

410	GADSDEN HIGH 	116742	8 /5 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Attendance Office 228 North Building - Have iron grids

installed to the outside windows with pad lacks.

Monday, October 11, 2004	Work Order Report 2	Page 55 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	116739	8 /5 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Rm. 754 Barracks - Missing tile in classroom.

410	GADSDEN HIGH 	119349	9 /23/2004	9 /23/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SCHOOL	CUT & REMOVE WEEDS FROM AREA AROUND (

SOUTH) OF TREATMENT PLANT.

410	GADSDEN HIGH 	118179	8 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	COUNSELING CENTER - NEED A KEY FOR VAULT HE133

410-	CAFETERIA	117425	8 /16/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	STEAMER IS OUT COMPLETELY (LYDIA USES IT ON A

DAILY BASIS)

410-	FIELD	119216	9 /20/2004	I	1	GM	SA	0	$0.00	$0.00	$0.00	$0.00

M60	Football bleachers ramp to band and handicap area-need to

secure loose plank ASAP (safety issue)

410-	LIBRARY	119361	9 /23/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	Library - Please Restroom the push button that controls water

flow. It seems to be broken, and students cannot drink from the

fountain.

410-	LIBRARY	117484	8 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	Library - Water fountain still leaks and the water is not cold.

410-	LIBRARY	117268	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	LIBRARY - BROKEN LOCK ON STOREROOM DOOR IN

LIBRARY NEEDS A LOCKSMITH

410-	LIBRARY	119362	9 /23/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	Thank you for fixing the leak in the first stall of the girls

bathroom. Now, however, there is not enough water pressure

when flushing. The toilet will not even flush toilet paper. Please

Restroom at tour earliest convenience. Thank you

410-	LIBRARY	118857	9 /13/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	Library - Need a new drinking fountain for library ADA

compliant.

Monday, October 11, 2004	Work Order Report 2	Page 56 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410-	VARSITY GYM	118180	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	RM. 238 VARSITY GYM - THE LOCK ON THE MEN'S

BATHROOM DOOR DOES NOT ALLOW THE KEY IN TO

LOCK THE DOOR

410-	VARSITY GYM	117006	8 /10/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	VARSITY GYM - REROUTE GAS LINE

410-	VARSITY GYM	116874	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Rm. 331 Academic Building - Closet across from 232 and

closet above it on the varsity gym stage need to be rekeyed to

an HE 122.

420	DESERT PRIDE 	115787	7 /21/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ACADEMY	PLEASE PROVIDE WATER FOUNTAINS AS PER

ATTACHED PLAN. THANKS

420	DESERT PRIDE 	119674	9 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	NEED TO INSTALL DOOR CYLINDER AT DESERT

PRIDE, BARRACK.

420	DESERT PRIDE 	116560	8 /5 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	I need a key for my desk and a key for my file cabinet.  Main

office  Thanks Mary

420	DESERT PRIDE 	117205	8 /12/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ACADEMY	2ND BLDG- PLEASE ORDER LAY IN LAMPS FPR NEW

ROOMS.

420	DESERT PRIDE 	118724	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	PSYCHOLOGIST OFFICE - NEED KEY FOR DESK IN

OFFICE SO I CAN LOCK CONFIDENTAL MATERIALS.

420	DESERT PRIDE 	117514	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	need one lock to use with chain to secure picnic table

420	DESERT PRIDE 	119466	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ACADEMY	Tables tops for science room #4 need to be replace or

Monday, October 11, 2004	Work Order Report 2	Page 57 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

420	DESERT PRIDE 	119398	9 /24/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ACADEMY	NEED TO INSTALL STAIRS WHERE DOOR WAS

INSTALLED IN 2ND BLDG.

420	DESERT PRIDE 	116898	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	Need key to door for outside storage (pump house)for

Principal.

420	DESERT PRIDE 	116897	8 /9 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ACADEMY	Need larger sink for Biology classroom #4

420	DESERT PRIDE 	119176	9 /20/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ACADEMY	need to install an electrical outlet on the out side of shed

building for a coke machine.

420	DESERT PRIDE 	118754	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	need new door closer for office building front entrance and

room #5

420	DESERT PRIDE 	117524	8 /17/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ACADEMY	NEED EXTEND WALL OUTLETS FOR NEW DRYWALL.

420	DESERT PRIDE 	116390	8 /3 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ACADEMY	Provide the fallowing information on the new well-1-Well

Depth 2-Casing size and type 3-Well screen (point) type 3-

Pump info (type, model #, Hp, size, and Voltage) and 4-puump

420	DESERT PRIDE 	116116	7 /28/2004	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ACADEMY	need a door for the room were server unit is at (front office)

420	DESERT PRIDE 	116115	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	 need one key for lady restroom door for social worker in

(front office)

420	DESERT PRIDE 	116343	8 /2 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ACADEMY	1st BUILDING HALLWAY.

NEED A PRICE QUOTE FOR CARPET. PLEASE COLOR

COORDINATE WITH MR.Y

Monday, October 11, 2004	Work Order Report 2	Page 58 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

420	DESERT PRIDE 	119465	9 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	need keys(3) for teachers for new classrooms.

420	DESERT PRIDE 	118068	8 /26/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ACADEMY	AZTEC FLOORING

2ND BLDG-PLEASE CARPET ALL 3 ROOMS AND

ENTRANCE HALLWAY.

430	SANTA TERESA 	118830	9 /13/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED DOOR KNOB IN NEW TEACHERS LOUNGE

CHANGED TO KEY ENTRY ONLY, AND CYLINDER

CHANGED.

430	SANTA TERESA 	118046	8 /26/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	HIGH	NEED A 480 TO 120 V TRANSFORMER, AND A 3PHASE

MTR. CONTROL 480V. TO REPLACE AT VOC. WOOD

SHOP. THANK YOU.....

430	SANTA TERESA 	118914	9 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WE NEED REPLACE DOOR LOCK ON STEEL CABINET

AT CLASS ROOM # 310  THANK YOU . MANNY

430	SANTA TERESA 	119626	9 /29/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	HIGH	AZTEC FLOORING

PRESSBOX

PLEASE INSTALL TILE. SEE MIKE FOR COLOR SCHEME

430	SANTA TERESA 	119194	9 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED A PAD LOCK WITH MC 26 CYLINDER ON IT TO

LOCK UP PATIO TO ROOM #312.

430	SANTA TERESA 	118831	9 /13/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	HIGH	NEED TO CONNECT OUTLETS IN ROOM #16 WHERE

NEW SCIENCE TABLES WERE INSTALLED. SO THAT

STUDENTS CAN DO THEIR LABS.

430	SANTA TERESA 	117042	8 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED COPY OF MD2-SHOP 2.  JOE ANGELO STORES

INK CARTRIDGES IN HIS REFRIGERATOR AND I NEED

TO HAVE ACCESS JUST IN CASE HE'S ABSENT.

Monday, October 11, 2004	Work Order Report 2	Page 59 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	118961	9 /15/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	HAVE A FILING CABINET THAT NEEDS A LOCK AS

WELL AT CLASS ROOM 301 THANK YOU MANNY...

430	SANTA TERESA 	115650	7 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	ROOM 41-42-ROOF LEAKING IN VARIOUS PLACES.

POTENTIAL DAMAGE TO COMPUTERS AND

UNIFORMS.  HELP!  SOONEST.

430	SANTA TERESA 	116466	8 /4 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	 MASTER KEY BROKE FROM ONE OF THE CUSTODIANS

A KEY NEEDS TO BE MADE FOR NESTOR RAMIREZ

THANK YOU.

430	SANTA TERESA 	116983	8 /10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	HIGH	 NEED TWO METEAL LEAF RAKES -N- TWO

ASADONES  THANK YOU.

430	SANTA TERESA 	117228	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	HIGH	DIMAR

FIRE EXTINGUISHER SERVICING.

430	SANTA TERESA 	119193	9 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED A DUPLICATE MAIL BOX # 125 MADE FOR MS.A.

IBARRA, TO HAVE ACESS TO MAIL BOX

430	SANTA TERESA 	118311	8 /31/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	HIGH	NEED SIX (6) MAGNETEK #11210-239-C-TC  120/227V

METAL HALIDE LAMP BALAST FOR RECESSED

CONOPY LIGHTS FOR DRESSING EXITS TO CON.

STAND.    AS SOON AS POSSILBLE..  THANK

YOUUUUU.

430	SANTA TERESA 	119315	9 /22/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WINDOW GUARD HINDGE AT ROOM #40 IS BROKEN

NEEDS TO BE SPOT WELDED, FOR SECURITY

PURPOSES THANK  YOU...

430	SANTA TERESA 	118047	8 /26/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	HIGH	NEED APROX. 120 FT. OF ROPE TO REPLACE THE OLD

ONE ON THE FLAG POLES.  THANK YOU..

Monday, October 11, 2004	Work Order Report 2	Page 60 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	116258	7 /30/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	HIGH	Baseball Field- Install a Land and Water Conservation Fund

acknowledgement sign.

430	SANTA TERESA 	119196	9 /20/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	HIGH	NEED A BARRIER WALL BETWEEN ELEC.ROOM AND

ANNEX NEW WALL FOR CHILLER . TO RETAIN

GRAVEL BY PATIO.

430	SANTA TERESA 	118103	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED CYLINDERS AT NEW MECH. ROOM .REPLACED

FROM CONTRACTORS CORE TO OUR CORES, SO THAT

WE CAN HAVE ACESS TO CONTROLS.  THANK YOU ....

430	SANTA TERESA 	116415	8 /3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED THREE WOOD DOORS REPAIRED , FOR

SECURIETY PURPOSES, (BREAK IN )  EMERGENCY..

THANK YOU.

430	SANTA TERESA 	118023	8 /25/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	URGENTE WE HAVE PROBLEMS WITH WOMANS

DOOR LOCK IT DOESNT LOCK AND WE NEED

REPLACE LOCKERS AT THE NEW GATE AND

CONFESSION STAND. THANK YOU MANNY.

430	SANTA TERESA 	119479	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	HIGH	NEED 112 EA.  2 INCH LOCH HASPS FOR FOOTBALL

LOCKERS, NEED THEM AS SOON AS POSSIBLE FOR

SECUITY PURPOSES.   THANK YOU..

Monday, October 11, 2004	Work Order Report 2	Page 61 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	119506	9 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	HIGH	PRESSBOX - NEED TO RE-LOCATE ELECTRICAL

OUTLETS ON THE NORTH WALL SO DANNY CAN

BUILD PARTITIONS. PLEASE SEE DANNY MIRANDA.

430	SANTA TERESA 	117698	8 /19/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	HIGH	NEED TO HAVE PWR INSTALLED ON A BREAKER

,AND REMOVED FROM THE BUSLINE, FOR SAFETY

PURPOSES.

430	SANTA TERESA 	119527	9 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	DOOR LOCK FOR TEACHERS REST ROOM IT DOESN'T

OPEN WE NEED REPLACE OR FIX IT . THANK YOU

MANNY...

430	SANTA TERESA 	119634	9 /30/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	HIGH	NEED APROX. 5 LOADS OF FILL DIRT TO FILL UP

WASH OUT AT BUS TURN AROUND BEHIND VOC.

BLDG. DUE TO RAIN.

430	SANTA TERESA 	118743	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WE HAVE PROBLEM WITH DOOR LOCK AT THE NEW

TEACHERS LOUNGE IT DOESNT LOCK WELL.

430	SANTA TERESA 	118832	9 /13/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	HIGH	NEED ANTI SIPHON BONNETS FOR COMMODES  IN

GIRLS NEW DRESSING ROOM COMMODES.

430	SANTA TERESA 	118833	9 /13/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	HIGH	NEED THREE OR FOUR INCH WIDE ALUMINUN FOIL

TAPE TO RE TAPE CIELING INSULATION IN ROOM #30

, WILL ALSO NEED SOME TYPE OF INSULATION TO

COVER EXISTING.

430-	CAFETERIA	117626	8 /18/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	SANITIZER IS NOT WORKING. TO DISHWASHER

430-	CAFETERIA	117156	8 /11/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	OVEN IS NOT WORKING.

Monday, October 11, 2004	Work Order Report 2	Page 62 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430-	CAFETERIA	116878	8 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	PLEASE DEMO WALL SO PLGBS CAN REMOVE WATER

HEATER.

430-	CAFETERIA	119267	9 /21/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	WATER FAUCETS AT CAF. POT WASH SINKS NEED TO

BE REPLACED LEAKING TO MUCH WATER THROUGH

SPIKET.

430-	CAFETERIA	117016	8 /10/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	REPLACE WATER HEATER.

430-	FIELD	118021	8 /25/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M160	Football field End Zones- Cut and remove weeds

430-	FIELD	118022	8 /25/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M160	Fence line and Windbreak on south side of Playfields- Cut and

remove weeds

430-	FIELD	119456	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	NEED TO PUT IN TWO WALLS AT STHS PRESS BOX

430-	FIELD	118966	9 /15/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	Pick up bleachers from Purchasing Warehouse and deliver and

assemble at STHS soccer field. Lowenburg will indentify the

location (Carlos Lowenburg will indentify location on the

soccer field to place this Bleacher Unit)

430-GYM	GYM	119135	9 /17/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ADDITIONAL WORK AND MATERIAL IS NEEDED ON

THE BLEACHERS. 4 ROLLERS

430-GYM	GYM	115596	7 /15/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	  LOCKS FROM GYM DOORS NEED TO CHANGE BACK

TO MASTER KEY ON FRIDAY 7-16-04 THANK YOU.

430-	LIBRARY	117608	8 /18/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED TO INSTALL CORES ON FIRE EXITING DOORS AT

NEW LIBRARY.

Monday, October 11, 2004	Work Order Report 2	Page 63 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430-	LIBRARY	117532	8 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M64	Drill 3" hole in each student computer workstation on the main

reading floor of the new library. EMERGRENCY!! Joel

Herreda can do it if given the correct size circular drill bit.

600	GAC (Gadsden 	118059	8 /26/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	JESUS & MICHAEL'S OFFICE DOOR IS HARD TO PUSH

OPEN AND KNOB HARD TO TURN.

600	GAC (Gadsden 	116220	7 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED TO HAVE (2)-FILE ROOMS @ FINANCE RE-

KEYED TO MATCH LOCK ON THE DOOR TO THE

VAULT ROOM. (SO THEY CAN ALL BE OPENED WITH

600	GAC (Gadsden 	116802	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED HUMAN RESOURCES FILE ROOM OPENED.

600	GAC (Gadsden 	116824	8 /6 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	NEED ELECTRICITY INSTALLED AND HOOKED UP TO

NEW OFFICE IN A WING FOR JULIE H. (ELECTRICAL

WIRES ARE HERE W/JULIE TO BE INSTALLED.)

600	GAC (Gadsden 	119390	9 /24/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	Complete re-wireing the lights where the conference room

was expanded to, do not work

600	GAC (Gadsden 	116270	7 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A KEY MADE FOR CAROL SIMERMAN, KEY

#L200 & L201

600	GAC (Gadsden 	118113	8 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	REPLACE FRONT ENTRANCE DOORS.

600	GAC (Gadsden 	119071	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A KEY MADE ELISA'S OFFICE. (KEY #: A2)

Monday, October 11, 2004	Work Order Report 2	Page 64 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	117937	8 /24/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED THE FOLLOWING NAME PLATES (SEE

ATTACHED SHEET)

600	GAC (Gadsden 	115293	7 /7 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	PLEASE INSTALL 120 VAC OUTLET TO OUTSIDE OF

BLDG.

CALI KNOWS LOCATION.

(GRONDS SHOP WILL PROVIDE ASSISTANCE IF

NEEDED)

600	GAC (Gadsden 	119070	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A KEY MADE FOR THE COMPUTER LAB. (KEY #:

A30)

600	GAC (Gadsden 	117844	8 /20/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	NEED ONE MORE ELECTRICAL OUTLET IN ELVA

MUNOZ'S OFFICE.

600	GAC (Gadsden 	119069	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED VERENICE OFFICE KEY CORE CHANGED AND

HAVE A KEY MAKED FOR THAT OFFICE (KEY #: A40)

600	GAC (Gadsden 	115243	7 /6 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	GOING INTO B-WING DOUBLE  DOORS NEED TO

HAVE A PUSH BUTTON INSTALLED ON BOTH SIDES

SO IT CAN AUTOMATICALLY OPEN. (DUE TO SAFETY

& TO BE INCOMPLIANCE TO ADA)

600	GAC (Gadsden 	119068	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A SUB MASTER KEY FOR C WING (KEY #: A)

600	GAC (Gadsden 	119067	9 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A NAME PLATE MADE TO TEST A BRACKET AT

GAC

600	GAC (Gadsden 	118114	8 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	NEED TO INSTALL HANDICAP PUSH BUTTON.

Monday, October 11, 2004	Work Order Report 2	Page 65 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	119607	9 /29/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	Admin. Complex)	OUTSIDE OF B-WING, SOUTH SIDE, THERE IS A

FACUET THAT IS LEAKING WATER AND NEEDS TO BE

FIXED. (AS PER MANNY P., DAVID V. IS ALREADY

AWARE OF IT.)

600	GAC (Gadsden 	117081	8 /10/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	Admin. Complex)	NEED TO CLEAN UP WEEDS ON THE BOTTOM OF

LAND FOR MOBILE HOME OCCUPANT

600	GAC (Gadsden 	115782	7 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	OFFICE DOOR LOCK DOES NOT WORK AGAIN.

600	GAC (Gadsden 	119242	9 /21/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	Admin. Complex)	NEEDS SPED PORTABLE TO BE MOVED FROM

PHYSICAL PLANT AREA TO GAC AREA. (IF POSSIBLE)

600	GAC (Gadsden 	119605	9 /29/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	IN THE COMPUTER LAB A LIGHT FIXTURE NEEDS TO

BE MOVED INCHES AWAY FROM THE OTHER

FIXTURE. (AS PER MANNY CALI NEEDS TO TAKE

600	GAC (Gadsden 	117226	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Admin. Complex)	DIMAR

FIRE EXTINGUISHER SERVICING.

600	GAC (Gadsden 	119540	9 /28/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	Admin. Complex)	NEED TO LINE LOCATE TOMORROW MORNING AT

NEW ADDITION AREA.

600	GAC (Gadsden 	119529	9 /28/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	Admin. Complex)	BATHROOM SINKS IN MENS BATHROOM NEED TO BE

REPLACED (BOTH-A  WING-1ST HALLWAY

BATHROOM.)

600	GAC (Gadsden 	117435	8 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED 4 MORE AB23-OFFICE KEYS MADE

Monday, October 11, 2004	Work Order Report 2	Page 66 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	115602	7 /15/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED 2 KEYS MADE TO OPEN ROOM A31-C WING.

(NOTE: THIS IS THE OFFICE THAT KEYS WERE LOST

BY GLORIA GONZALEZ)

600	GAC (Gadsden 	115601	7 /15/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	GLORIA GONZALEZ W/FEDERAL PROGRAMS LOST

(1)A-31 OFFICE KEY.  NEEDS TO KNOW COST FOR

REPLACEMENT.(COPY MARY GARCIA)

600	GAC (Gadsden 	115580	7 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEEDS A DOOR PLATE WITH NAME/TITLE (WALTER

SITTERS, TRANSPORTATION)

600	GAC (Gadsden 	116190	7 /28/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Admin. Complex)	SELMA NEVAREZ OFFICE-NEED TO REPLACE

DAMAGED SMOKE DETECTOR. #8

600	GAC (Gadsden 	115981	7 /23/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	FIRE PROOF CABINET LOCKED AND NO ONE HAS A

KEY.

IF A KEY CAN BE MADE AND NEEDS TO BE OPEN.

600	GAC (Gadsden 	119507	9 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	C-WING LOUNGES THAT WHERE CONVERTED TO

MEETING ROOMS. NEED TO REPAIR LIGHTS OR

INSTALL. PLEASE SEE MIKE

630	FOOD SERVICE	115556	7 /14/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	REFRIGERATED AIR CONDITIONER IS LEAKING

INSIDE THE OFFICE.

640	PHYSICAL 	115341	7 /8 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	PLANT DEPT	AV SHOP - NEED TO INSTALL A LOCK ON STORAGE

ROOM.

ISSUE KEYS ONLY TO MARY, MARGRET, JULIE AND

ROSIE.

Monday, October 11, 2004	Work Order Report 2	Page 67 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

640	PHYSICAL 	119523	9 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	PLANT DEPT	NEED A NAME PLATE:

JULIET TRISTE

PPD BOOKKEEPER

640	PHYSICAL 	118553	9 /3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	PLANT DEPT	CONST. OFFICE - REF. UNIT LEAKS INSIDE THE OFFICE

WHEN IT IS TURNED OFF.

640	PHYSICAL 	116122	7 /28/2004	7 /28/2004	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M63	PLANT DEPT	Need to varnish new door in Lowenburg's office.

640	PHYSICAL 	117555	8 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	PLANT DEPT	Round up behind Maint. Barrack and Warehouse Barracks

640	PHYSICAL 	119676	9 /30/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	PLANT DEPT	LESTER HUMPHREY NEED PRICE QUOTE

NEED EXTERMINATOR AT MAINTENANCE BARRACK

BEES!!.

640	PHYSICAL 	115751	7 /20/2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	PLANT DEPT	WW PLANT- NEED TO CHECK IT OUT AIR RELEASING

FROM A PIPE.

640	PHYSICAL 	119287	9 /21/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	PLANT DEPT	NEED TO REPLACE DOORS ON PORTABLE TO WEST

SIDE

640	PHYSICAL 	119117	9 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	PLANT DEPT	NEED TO PAINT DOORS AT PHYSICAL PLANT

BARRACKS

710	ALMA DEL 	118592	9 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	VALLE 	LAURA QUIROZ LOST KEY C69 - NEED COST.

Monday, October 11, 2004	Work Order Report 2	Page 68 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

710	ALMA DEL 	119490	9 /28/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	VALLE 	NEED TO TAKE PLAY GROUND SAND TO ALMA DEL

VALLE.THANX. SAND IS ALREADY AT MESQUITE

ELEM. THANX.

710	ALMA DEL 	117948	8 /24/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	VALLE 	WINDOW CONTRACTOR

NEED SUN CITY GLASS ,BROKEN INSULATED UNIT AT

ADV THANX.

720	ANTHONY 	117089	8 /10/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	CHILD DEV. 	LESTER HUMPHREY - NEED PRICE QUOTE

CENTER	DAYCARE NEED PEST CONTROL TO SPRAY FOR

BLACK ANTS A/S/A/P.

720	ANTHONY 	115371	7 /9 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	CHILD DEV. 	TOO HOT IN CLASSROOM - NEED FANS.

CENTER

G	GISD	116195	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M12	NEED T0 REPAIR OR REPLACE EXIT SIGNS.

G	GISD	116338	8 /2 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M59	FEDERAL PORTABLE-PLEASE ORDER METAL BLINDS

AND COAT HOOKS FOR CLASS RM.

G	GISD	116193	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M71	BOARD ROOM-ONE UP-RIGHT SPRINKLER IS

PAINTED. PLEASE REPLACE AS PER CODE. # 9

G	GISD	116124	7 /28/2004	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	NEED TO DEMO EXISTING ELECTRICAL AND INSTALL

NEW NEW ELECTRICAL AS PER CONSTRUCTION SET

UP.

G	GISD	116188	7 /28/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M71	MECHANICAL ROOM-NEED TO RELOCATE SPRINKLER

HEAD THAT IS NEXT TO HOT WATER PIPE. # 3

Monday, October 11, 2004	Work Order Report 2	Page 69 of 70

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	9 /30/2004

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

G	GISD	116189	7 /28/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M71	FILE ROOM-ONE SPRINKLER HEAD IS TO CLOSE TO

THE OTHER. REPLACE AS OER CODE. # 7

G	GISD	116187	7 /28/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M71	98 SPRINKLER COVERS ARE PAINTED OVER. NEED TO

REPLACE THEM. AREAS ARE AS IS.SMALL CLOSET

AREAS AND OFFICE AND WHERE EVER NEEDED. # 5&11

G	GISD	116125	7 /28/2004	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	NEED TO INSTALL NEW SUPPY AIR TO AREAS AS PER

NEW CONSTRUCTION.

# of Work Orders:	627	$32.03	$0.00

Grand Totals:	3.00	$0.00	$32.03

Monday, October 11, 2004	Work Order Report 2	Page 70 of 70