Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	121604	11/10/2004	11/11/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	New Sidewalk to Fullday Kinder Portables-Provide backfill on

both sides of sidewalk to reduce drop to less than 4 inches and

slop

110	ANTHONY 	124872	2 /11/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	Mild blg parking lot request for 3 speed bumps to slow down

traffic

110	ANTHONY 	117400	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	need a lock for outside contol box for lights old main

110	ANTHONY 	116918	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	EXTRA KEY FOR RM. 6 (KA10)

110	ANTHONY 	124812	2 /9 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Mild blg bathrooms replace 4 fluorescent lamps

110	ANTHONY 	125825	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M46	ELEMENTARY	FIRE EXTINGUISHER INSPECTION

110	ANTHONY 	125824	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M46	ELEMENTARY	EXIT SIGN INSPECTION

110	ANTHONY 	125823	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M46	ELEMENTARY	EMERGENCY LIGHTING INSPECTON

110	ANTHONY 	124811	2 /9 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	need 4ft samll fluorescent lamp 4 boxs

110	ANTHONY 	118088	8 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED THE FOLLOWING KEYS FOR FILE CABINET IN

DR. RODRIGUEZ OFFICE AT AE ROOM 205. (2ND

REQUEST 10/14/04)-MKV

Monday, May 02, 2005	Work Order Report 2	Page 1 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	121598	11/10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M46	ELEMENTARY	Need a fence by new sidewalk  from stopping cars going over

it and a gate chapter blg

110	ANTHONY 	122796	12/13/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

MAIN BLDG -PLEASE REPLACE THE VCT IN THE MENS

AND WOMENS REST ROOM.

110	ANTHONY 	119347	9 /23/2004	I	1	GM	GM	2	$26.58	$1,000.00	$0.00	$1,026.58

M25	ELEMENTARY	Turn around parking lot need stop 45 barriers to keep cars off

grass

110	ANTHONY 	117510	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Mild blg room 23 change old lock to k lock

110	ANTHONY 	117509	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need 5 keys made for fire alarm

110	ANTHONY 	125136	2 /18/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	upper primary bathrooms needs exhust fan boy and girl

110	ANTHONY 	117983	8 /24/2004	8 /24/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	mild cafeteria  serving line broken window  size 431/2 by 14

110	ANTHONY 	124721	2 /7 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	parking lot  north and south entrance needs crusher find to fill

holes

110	ANTHONY 	116679	8 /5 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED KEYS FOR ART (K38), PE (K11), COMPUTER

(KA40), SPED 2(H11), RM. 306 VILLAGE FOR MS

MENDOZA,  AND CHANGE LOCKS FOR CARLOS HEAD

CUSTODIAN'S OFFICE ONLY 2 KEYS TO BE MADE

Monday, May 02, 2005	Work Order Report 2	Page 2 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	117399	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Pt 221 needs a kwikset door knob for bathroom

110	ANTHONY 	124810	2 /9 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	need u fluorescent lamp 5 boxs

110	ANTHONY 	116140	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 2 EXTRA KEYS FOR RM. 206 ANNEX BUILDING

(H 30) AS PER MRS. MARQUEZ

110	ANTHONY 	118520	9 /2 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	Upper primary room 305 needs receptacle

110	ANTHONY 	117257	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	ADMINISTRATIVE ROOM 302 AT UPPER PRIMARY

NEEDS TO BE MASTER KEY (K) AND COLLABORATIVE

ROOM 306 UPPER PRIMARY NEEDS TO BE OFF

MASTER FOR ALL TEACHER KEYS TO FIT.

110	ANTHONY 	118269	8 /31/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PATRICIA WINTER NEW SLP RM.206  ANNEX

BUILDING NEEDS KEY H20

110	ANTHONY 	119673	9 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO INSTALL LOCK CYLINDER ON BATHROOM

DOORS AT A.C.D.C.

110	ANTHONY 	119675	9 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO INSTALL DOOR CYLINDER IN A.E. CHAPTER

BUILDING.

110	ANTHONY 	117270	8 /12/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED LOCK REPAIRED AND A KEY FOR OUR CABINET

TO LOCK UP LAPTOPS.

Monday, May 02, 2005	Work Order Report 2	Page 3 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	118239	8 /30/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	NEED TO HAVE UTILITIES MARKED BETWEEN MID &

PRIMARY, AND NURSE & CHAP 1 BUILDING FOR

TRENCHING. (SEE ATTACHED)

110	ANTHONY 	117168	8 /11/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 3 EXTRA KEYS FOR RM. 214 FOR MS. MASON'S

STAFF (H 5)

110	ANTHONY 	119518	9 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	AS PER MRS. MARQUEZ NEED TO CHANGE LOCKS FOR

UPPER PRIMARY KINDER NEW TEACHER MARCY

AZCARATE RM. 318. 3 KEYS WILL BE NEEDED ASAP

PLEASE! MS. DEBORAH CAMPOS PREVIOUS TEACHER

NEVER TURNED HERS IN.

110	ANTHONY 	124586	2 /3 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	Upper primary playground equipment needs 4 trucks of sand

110	ANTHONY 	120450	10/20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Project assist  change office keys to k master

110	ANTHONY 	116309	8 /2 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	 upper primany Dona ana libary need to change  4 locks from

p-12 to k locks

110	ANTHONY 	124184	1 /26/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	Mild blg cafeteria heater not workig

110	ANTHONY 	117827	8 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	10 window blinds for old cafeteria size  W 60 L 72

110	ANTHONY 	124231	1 /27/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	Mrs marquez wants counter tops replace girls bathrooms mild

Monday, May 02, 2005	Work Order Report 2	Page 4 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

110	ANTHONY 	116260	7 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 7 EXTRA KEYS MADE FOR SOCIAL WORKERS

AND ATTENDANCE OFFICERS FOR RM. 215 (H 41) AS

PER MRS. MARQUEZ.

110	ANTHONY 	116133	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 4 KEYS FOR OT/PT (KA 11) AS SOON AS

POSSIBLE AS PER MRS. MARQUEZ

110CA1	CAFETERIA 2-3	124720	2 /7 /2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	Mild blg cafeteria heaters not working

110-	CAFETERIA K-1	117224	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	DIMAR

FIRE SUPPRESSION SYSTEM NOT WORKING.

110-	CAFETERIA K-1	117007	8 /10/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	REFRIG. NEEDS RUBBER SEALS ALL THE WAY

AROUND TO BE REPLACED.

115	BERINO 	117454	8 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED MORE GAS FOR MY MOBILE HOME 7% LEFT

THANKS

115	BERINO 	116411	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TWO CLOSET DOOR LATCHS WITH LOCKS AND

KEYS FOR ROOM 111

115	BERINO 	119064	9 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO PUT LOCKS ON MENS AND WOMENS

RESTROOM DOORS AND KEYS TO ALL STAFF.

115	BERINO 	122735	12/10/2004	I	1	GR	GM	6.5	$76.70	$0.00	$0.00	$76.70

M17	ELEMENTARY	NEED LOADS OF CRUSHER FINES AROUND DRIVEWAY

WESTSIDE PARKING AREA

115	BERINO 	122780	12/13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	need  2 new master key  as soon as possible

Monday, May 02, 2005	Work Order Report 2	Page 5 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

115	BERINO 	122934	12/16/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

NEW CARPET IS NEEDED FOR OFFICE AND ON STAGE

115	BERINO 	117910	8 /24/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO REPLACE LOCK IN WALK IN GATE OR GET

IT OPEN THANK

115	BERINO 	118286	8 /31/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCK ON STAGE DOOR DOES NOT OPEN NEED TO

GET FIXED  AS SOON AS POSSIBLE.

115	BERINO 	124564	2 /3 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO REPALCE DOOR CLOSURE P. 140

115	BERINO 	116998	8 /10/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED TRACTOR TO SPREAD OUT SAND IN SWING

SETS AREA

115	BERINO 	115871	7 /22/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED MASTER KEY MADE AGAIN FOR ROBERT THE

ONE YOU MADE  IS WORTH LESS.

115	BERINO 	115903	7 /22/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	PORTABLE 147 A/C DOES NOT COOL THE ROOM WE

NEED TO SEE WHAT CAN BE DONE

115	BERINO 	125831	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M08	ELEMENTARY	FIRE EXTINGUISHER INSPECTION

115	BERINO 	125830	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M08	ELEMENTARY	EXIT SIGN INSPECTION

115	BERINO 	121930	11/18/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	ROOM 139 PLEASE REPAIR FLOOR SEE MIKE

Monday, May 02, 2005	Work Order Report 2	Page 6 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

115	BERINO 	125829	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M08	ELEMENTARY	EMERGENCY LIGHTING INSPECTON

115	BERINO 	121934	11/18/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

RM 142 - PLEASE INSTALL CARPET AFTER FLOOR HAS

BEEN REPAIRED.

115	BERINO 	122634	12/8 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	ROOM 111 EASTSIDE DOOR KNOB DOES NOT LOCK OR

UNLOCK

115	BERINO 	125393	2 /25/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED TO RELOCATE SEE-SAW FROM SOUTHWEST

CORNER TO NORTHEAST CORNER THIS IS SECOND

NOTICE

115	BERINO 	116001	7 /26/2004	7 /26/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED BETO MANNY TO HELP ME MOVE

PLAYGROUND EQUIPMENT SEE/SAW AND MONKEYS

BARS AND SPREAD OUT SAND INSIDE BORDERS

115	BERINO 	118517	9 /2 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED NEW KEY MADE FOR OFFICE SUB MASTER KEY

120	CHAPARRAL 	123648	1 /12/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	playgrounds need soccer goldings

120	CHAPARRAL 	124494	2 /1 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	cafeteria lites need 20 covers

120	CHAPARRAL 	115843	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	ANNUAL  TEST AND INSPEC FIRE ALARM SYSTEM

AND FIRE SMOKE DETECTORS.

Monday, May 02, 2005	Work Order Report 2	Page 7 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120	CHAPARRAL 	124750	2 /8 /2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	e.wing restrooms need exhaust fan

120	CHAPARRAL 	116042	7 /26/2004	7 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY FOR FIRE PROOF FILING CABINET

120	CHAPARRAL 	115578	7 /14/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	The A.C. in rm. c2 needs to be replaced with a new one.

120	CHAPARRAL 	123647	1 /12/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	cafeteria doors need penny bars

120	CHAPARRAL 	116050	7 /26/2004	7 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY N 255 (2)

120	CHAPARRAL 	115680	7 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	PUMP #4 IS NOT WORKING

120	CHAPARRAL 	115679	7 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	PUMP #4 IS NOT WORKING

120	CHAPARRAL 	123811	1 /18/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	NEED DOOR FOR RM. #83

120	CHAPARRAL 	124067	1 /24/2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M82	ELEMENTARY	PLEASE CUT SIDE WALKS AND INSTALL GUTTERS

UNDER CONCRETE. ROUTE WATER FROM BLDG.

120	CHAPARRAL 	124120	1 /25/2005	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

ROOM 96 NEED TO INSTALL NEW CARPET AFTER NEW

FLOOR IS INSTALLED.

Monday, May 02, 2005	Work Order Report 2	Page 8 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120	CHAPARRAL 	119192	9 /20/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	Portable Rm 118 - Remove center mulberry tree.

120	CHAPARRAL 	115205	7 /1 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	 NEED A NEW DRINKING FOUNTION IN THE LOBBY

AREA OF THE SCHOOL A.S.A.P.

120	CHAPARRAL 	125851	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M82	ELEMENTARY	FIRE EXTINGUISHER INSPECTION

120	CHAPARRAL 	125850	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M82	ELEMENTARY	EXIT SIGN INSPECTION

120	CHAPARRAL 	125849	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M82	ELEMENTARY	EMERGENCY LIGHTING INSPECTON

120	CHAPARRAL 	120096	10/13/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	NEED VENTILATION FOR BARRACKS.

120	CHAPARRAL 	118027	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Irrigation water Presure tank - Cut and remove weeds in and

around this area

120	CHAPARRAL 	118028	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Repair soil erosion on east side of building where roof drains

come off building and cut and remove weeds in this area

120	CHAPARRAL 	120918	10/27/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	ROOM BEHIND OFFICE WHERE PARTITIONS WHERE

BUILT. PLEASE CENTER LIGHTING WHERE WALLS

WERE BUILT.

120	CHAPARRAL 	118029	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Lift station next to new classroom wing - Pick up and dispose of

debris (cinderblocks) in this area

Monday, May 02, 2005	Work Order Report 2	Page 9 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120	CHAPARRAL 	115237	7 /6 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	I need 125 TONS of playground sand for C.E.S and D.T.I.S

120	CHAPARRAL 	121044	10/29/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	I need soom grab bars.

3 - 24 inchs

3 - 36 inchs

when you eat she eats tooooooo.

120	CHAPARRAL 	121212	11/1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M10	ELEMENTARY	Main Bldg. Rm. 114 - Finnish painting the partitions, trim the

paint and the top against the ceiling

120	CHAPARRAL 	116690	8 /5 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	In the 7 classrooms we need to up grade the duct to 12 inch

120	CHAPARRAL 	125241	2 /23/2005	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY FOR PE OFFICE N69

120	CHAPARRAL 	118568	9 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY FOR RM 51  N51

120	CHAPARRAL 	123270	1 /5 /2005	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

GIRLS AND BOYS BATHROOMS NEED REPAIR FLOOR

E-WING.

120	CHAPARRAL 	116407	8 /3 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	The exhaust duct on top of the Cafe. needs to be replaced.

120	CHAPARRAL 	123468	1 /7 /2005	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

E-WING GIRLS AND BOYS RESTROOM - REPAIR FLOOR

AND INSTALL TILE.

Monday, May 02, 2005	Work Order Report 2	Page 10 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

120	CHAPARRAL 	115525	7 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	EVENSTART PROGRAM

NEED 3 KEYS FOR CONCEPCION MONTALVO

R1, R2, R3

120	CHAPARRAL 	124495	2 /1 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	e, wing need 2 seciurity lites

120	CHAPARRAL 	118567	9 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	KEY FOR RM 47

120	CHAPARRAL 	118203	8 /30/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	We need two power post in the COMP. LAB.

120	CHAPARRAL 	116470	8 /4 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	2 N15 KEYS-(MR. SEES OLD OFFICE)

120	CHAPARRAL 	119197	9 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	NEED TO INSTALL NEW DOORS IN ROOMS 54,57,96.

122	DESERT TRAIL 	117232	8 /12/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	NEED A J-53 KEY FOR OFFICE.

122	DESERT TRAIL 	124346	1 /31/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	INTERMEDIATE	NEED TO LEVEL WHERE PLAYGROUND EQUIPMENT

WAS AT.

122	DESERT TRAIL 	122839	12/14/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	INTERMEDIATE	NEED (4) 3L-190 EXHAUST FAN BELTS.

122	DESERT TRAIL 	124319	1 /31/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	NEED TO PAINT THE NEW DOOR THAT WAS

INSTALLED ON PORTABLE.

Monday, May 02, 2005	Work Order Report 2	Page 11 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

122	DESERT TRAIL 	117147	8 /11/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	INTERMEDIATE	NEED (5) FAN BELTS FOR EXHAUST FANS. (4L-200).

122	DESERT TRAIL 	123735	1 /13/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	INTERMEDIATE	PLEASE REMOVE GRASS AND DIRT BUILD UP WITH

BACKHOE AND FILL IN WITH PLAYGROUND SAND

AROUND SWING SETS IN THE PLAYGROUND AREA.

122	DESERT TRAIL 	120754	10/26/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	INTERMEDIATE	NEED (4) (MANUAL) CONTROL KNOBS FOR WINDOW

REFRIGERATED UNITS. MAKE: GOODMAN, MODEL#

RE18090C2D

122	DESERT TRAIL 	118836	9 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	INSTRUCTIONAL ASSISTANT NEEDS A KEY FOR

CLASSROOM (PORTABLE 408)

122	DESERT TRAIL 	116123	7 /28/2004	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	need to have door in portable #413 painted.

122	DESERT TRAIL 	123841	1 /18/2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	INTERMEDIATE	J & J PAVING

NEED TO RE-DO OUTDOOR CONCRETE SLABS

LOCATED OUTSIDE CAFETERIA FOOD RECEIVING

AREA, AND SIDEWALK  BETWEEN PORTABLE #410

AND #411.

122	DESERT TRAIL 	118713	9 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	INTERMEDIATE	NEED TO REMOVE SLIDES AND TURN IN TO

WAREHOUSE AS PER POMS AND ASSOCIATES.

122	DESERT TRAIL 	118467	9 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	EMERGENCY: MAIN DOORS GOING TO PORTABLES

AND MAIN DOORS TO FRONT OF MAIN BUILDING

DOES NOT LOCK. NEED THEM SECURED BY THE END

OF THE DAY.

Monday, May 02, 2005	Work Order Report 2	Page 12 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

122	DESERT TRAIL 	123942	1 /20/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	INTERMEDIATE	SECURITY LIGHT AT MAIN GATE IS OUT.

122	DESERT TRAIL 	116061	7 /26/2004	7 /26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	NEED AN EXTRA KEY MADE FOR CLASSROOMS: #205,

#203, #201, #204, #202, AND #211.

122	DESERT TRAIL 	119125	9 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	NEED TO PAINT DOOR ON PORTABLE AT D.T.

122	DESERT TRAIL 	120739	10/26/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	INTERMEDIATE	NEED TO BORROW SCISSOR LIFT TO SERVICE

HEATING UNITS INSIDE THE CAFETERIA.

122	DESERT TRAIL 	115557	7 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	FILING CABINET --  LOCK IS BROKEN  --  REQUESTING

LOCKSMITH

122	DESERT TRAIL 	125003	2 /15/2005	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M84	INTERMEDIATE	RSF HOLDING CONTAINER NEED TO REBUILD RSF

STAND

122	DESERT TRAIL 	124590	2 /3 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	INTERMEDIATE	PLEASE INSTALL SHUT OFF VALVE TO IRRIGATION

LINE NEAR LIFT STATION TO BE ABLE TO SHUT

DOWN WATER WHEN WORKING ON THE NEW GRASS

SECTION. (DIAPHRAMS, AND SOLENOID VALVES).

122	DESERT TRAIL 	124873	2 /11/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	INTERMEDIATE	NEED PLAYGROUND SAND FOR PLAYGROUND AREA

SWINGS.

122	DESERT TRAIL 	125356	2 /24/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M57	INTERMEDIATE	PLEASE REMOVE DIRT AND SAND BUILD UP ON WEST

FENCELINE. THANK YOU

122	DESERT TRAIL 	115705	7 /19/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	INTERMEDIATE	THE FOLLOWING KEYS DO NOT WORK #4

Monday, May 02, 2005	Work Order Report 2	Page 13 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

122	DESERT TRAIL 	125858	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	EMERGENCY LIGHTING INSPECTON

122	DESERT TRAIL 	125859	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	EXIT SIGN INSPECTION

122	DESERT TRAIL 	125860	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M53	INTERMEDIATE	FIRE EXTINGUISHER INSPECTION

122-	CAFETERIA	124803	2 /9 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED TO REPLACE DOORKNOB TO KITHCHEN DOOR

GOING OUTDOORS.

122-	CAFETERIA	121481	11/8 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	NEED A REPLACEMENT HEATING COIL FOR

CAFETERIA HEATING UNIT.  MAKE:MCQUAY AIR

CONDITIONING.(SNYDER GENERAL CORP.)  MODEL#

LHD103CH

122-	CAFETERIA	115818	7 /21/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	INSTALL A SWITCH TO EXIT DOOR SO FLY FAN IS NOT

RUNNING ALL THE TIME.

125	DESERT VIEW 	121772	11/15/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	CLASSROOMS

NEED TO WELD OUT SIDE DOOR FRAMES #41 #36 #24

#10 #21 #23

(Route to Adan as per M. Munoz) 11/17/04

Route to Manny as per Adan 4/12/05 - mkv

125	DESERT VIEW 	117472	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

DRIVE WAY

NEED LOCK & KEY FOR MAIL BOX

Monday, May 02, 2005	Work Order Report 2	Page 14 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

125	DESERT VIEW 	123783	1 /14/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	ROAD-GROUNDS

FOR PLAY GROUNDS

NEED 10 TRUCKS LOADS OF PLAY GROUND SAND

NEED ABOUT 4 TRUCKS OF PRESSURE CRUSH

125	DESERT VIEW 	117346	8 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	MRS. MARIA INEZ RODRIGUEZ, I.A. AT DESERT VIEW

IS PAYING FOR LOST KEY PORTABLE#8. PLEASE

REPLACE ASAP!

125	DESERT VIEW 	116364	8 /2 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

PORT.#1 KEY WILL NOT GO IN TO LOCK

BUILD FROUNT DOOR. DOOR KNOB NEED TO BE

REPAIRED

125	DESERT VIEW 	121322	11/3 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	ELEMENTARY	HAVC-R

PORT #3

HEATER POPS BREAKER

125	DESERT VIEW 	117087	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

HALLWAY DOORS

NEED DOORS HANDELS REPAIRED RIGHT HALLWAY-

BACK HALLWAY -GYM HALLWAY

125	DESERT VIEW 	122175	11/29/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	WINDOW CONTRACTOR

PORT #5 PRE-K - DOUBLE GLASS WINDOW WITH ONE

GLASS BROKEN  26 3/4" X 26 1/2"

WINDOW SCREEN  29" X 28 3/4"

Monday, May 02, 2005	Work Order Report 2	Page 15 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

125	DESERT VIEW 	123782	1 /14/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	ELECTRICIAN

OUT SIDE LIGHTS BULBS

THIN U BULBS-10

WALL LIGHT FRAMS-2

SIDE WALK POLE BULB-1

PORCH LIGHT BULB-1

125	DESERT VIEW 	119484	9 /27/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	ELECTRICIAN

CLASS ROOMS

LIGHTS  10 EACH DULUX          20331

4 BOX  FLUORRSCENT    26668

10 EACH GE LUCALOX     11339

10 EACH BALLAST        FOR 11339

125	DESERT VIEW 	117742	8 /19/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

ROOM 14

NEED TO WELD DOOR FRAME

125	DESERT VIEW 	124488	2 /1 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	ELECTRICIAN

DINNING ROOM

NEED TO REPLACE LIGHT BULBS

GYM

NEED ON/OFF SWITCH

125	DESERT VIEW 	124489	2 /1 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

ROOM 32

NEED LOCK FOR FILE CABINET-ALSO NEED LOCK FOR

CABINET

125	DESERT VIEW 	123964	1 /20/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCKSMITH

NEED 5 OPEN DOOR LIMETS UPPER PART OF OUT

SIDE DOOR CLASS ROOMS

Monday, May 02, 2005	Work Order Report 2	Page 16 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

125-	CAFETERIA	118220	8 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HAVING TROUBLE UNLOCKING CAFETERIA DOOR.

130	LA MESA 	117909	8 /24/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	HAVING TROUBLE WITH DOOR KNOB

130	LA MESA 	116844	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO INSTALL LOCK CYLINDER IN FILLING

CABINET

130	LA MESA 	125843	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M19	ELEMENTARY	EMERGENCY LIGHTING INSPECTON

130	LA MESA 	117241	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO CHANGE LOCKS FOR OUTSIDE PORTABLE

ASAP

130	LA MESA 	119492	9 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED LOCK FOR NEW GATE

130	LA MESA 	124939	2 /14/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	NEED TO REPLACE OLD OUTSIDE LAMP BY CAFT

NOT WORKING

130	LA MESA 	125845	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M19	ELEMENTARY	FIRE EXTINGUISHER INSPECTION

130	LA MESA 	116387	8 /3 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED A KEY MADE FOR THE NURSES ROOM

130	LA MESA 	125844	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M19	ELEMENTARY	EXIT SIGN INSPECTION

Monday, May 02, 2005	Work Order Report 2	Page 17 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

130	LA MESA 	116459	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO REPLACE CYLINDER ON DOOR KNOB

ASAP OUTSIDE PORTABLE BY BASKETBALL

COURTS

130	LA MESA 	116386	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TO HAVE A LOCK PUT IN HER ROOM.

130	LA MESA 	121075	11/1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED TO ORDER RACK AND TOOL BOX

FOR TRUCK

130	LA MESA 	116120	7 /28/2004	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M19	ELEMENTARY	NEED HELP TO PAINT OUTSIDE

130	LA MESA 	120384	10/19/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED TWO LOCKS ASAP FOR GATES

135	LA UNION 	122547	12/6 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	DP 544 La Union Elem. - The discharge plan calls for annual

pumping of the seltic tank and statement to prove it. I show July

2003 as the last pump date. Provide a current statement on

pumping ASAP.

135	LA UNION 	123814	1 /18/2005	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	Wastwater System Lift Pump - Repair

135	LA UNION 	123813	1 /18/2005	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	ELEMENTARY	Wastewater Flow Meter - Need to repair or recalibrate. It is

giving incorrect data.

135	LA UNION 	120175	10/14/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	(2) 5" X 26" Windows are requested for doors at portable for

security reasons. First request submitted 12-12-02 WO# 94337.

Monday, May 02, 2005	Work Order Report 2	Page 18 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

135	LA UNION 	121432	11/5 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ELEMENTARY	Backflow preventer needs to be replaced on boiler new

135	LA UNION 	124532	2 /2 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	The following elect. supplies are requested,(6) 120 volt 2 lamp

ballast, (6) 120v 4 lamp ballast, (4) 277v 2 lamp ballast, (6)

277v 4 lamp ballast, (6) Small base 175 watt Metalarc bulbs,

orange wirenuts, tan wirenuts, yellow wirenuts.

135	LA UNION 	115849	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	ANNUAL  TEST AND INSPEC FIRE ALARM SYSTEM

AND FIRE SMOKE DETECTORS.

135	LA UNION 	120410	10/19/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	A locksmith is requested to check doors for the amount of force

needed to open and close entance doors as per County codes,

and ADA specifications.This needs to be done by Nov. 2,04 for

elections.

135	LA UNION 	121956	11/18/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	A load of crusher fine is requested for greenhouse at LUJTP,

to complete WO# 121678.

135	LA UNION 	125365	2 /24/2005	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ELEMENTARY	(4) 3/4" urinal flush valves, and (2) toilet flush valves are

requested for boys restroom at the main bldg.

135-	ALVAREZ FARMS	121508	11/8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED 1 L200 KEY FOR D. CASAVANTES.

135-	ALVAREZ FARMS	124761	2 /8 /2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	WOULD LIKE A SIGN TO BE INSTALLED ON THE SIDE

OF THE ROAD POINTING TO THE BUILDING FOR JTP.

SIGN TO SAY J T P AND UNDER IT SPELL IT OUT JOB

TRAINING PROGRAM.

Monday, May 02, 2005	Work Order Report 2	Page 19 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

136	LOMA LINDA 	117664	8 /19/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	RM 108 - KEYS TO DESK AND FILING CABINET WERE

MISPLACED WHILE TRANSPORTING FROM

WAREHOUSE TO LA UNION ELEM. KEYS NEED TO BE

MADE TO OPEN DESK AND FILING CABINET FOR USE.

136	LOMA LINDA 	123528	1 /10/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	WINDOW BLINDS 62width X 72length /aluminum /color

alabaster/beige (asap)

136	LOMA LINDA 	116521	8 /4 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	NEED  V-BELTS P47-190(3L190)FOR EHAUST FAN

MOTORS-

4L610 FOR MASTER COOLS

136	LOMA LINDA 	119302	9 /22/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEEDING NEW WINDOW BLINDS IN ROOM 209

136	LOMA LINDA 	125807	3 /31/2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M52	ELEMENTARY	ROOFS (All Buildings)

136	LOMA LINDA 	116893	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	El Paso Disposal needs 2 ea gate keys

136	LOMA LINDA 	125836	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M52	ELEMENTARY	EMERGENCY LIGHTING INSPECTON

136	LOMA LINDA 	125837	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M52	ELEMENTARY	EXIT SIGN INSPECTION

136	LOMA LINDA 	125838	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M52	ELEMENTARY	FIRE EXTINGUISHER INSPECTION

Monday, May 02, 2005	Work Order Report 2	Page 20 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

136	LOMA LINDA 	118650	9 /7 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY	NEED COVERS FOR TRANSIENT VOLTAGE SURGE

SUPPRESSOR OUTLETS IN COMPUTER RM#300 12EA

136	LOMA LINDA 	117513	8 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED 6EA LENTHS OF 1/2 CHAIN 88 INCHES EA. FOR

PLAYGROUND SWING-SEATS 2ND REQUEST

136	LOMA LINDA 	117593	8 /18/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED VENETIAN BLINDS REPLACED OR REPAIRED,

NORTH SIDE

136	LOMA LINDA 	115253	7 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	need safety hasp for new storage bldg asap

136	LOMA LINDA 	124748	2 /8 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	LOCK IN ROOM 105/106 NEEDS REPAIR.

136	LOMA LINDA 	124127	1 /25/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	need two loads primary screenings along east fence line

poles/exposed cement /asap

136	LOMA LINDA 	115846	7 /22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEEDING KEYS G33, G56(2), G38, G18  AS SOON AS

POSIBLE

136	LOMA LINDA 	115874	7 /22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED AN ADDITIONAL G56

136-	CAFETERIA	118570	9 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	IF YOU COULD PLEASE RE-KEY HER DESK.  THANK

YOU

136-	CAFETERIA	122651	12/8 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	AZTEC FLOORING

TILE TO THE BACK ENTRANCE IS LIFTING UP - VERY

DANGEROUS

Monday, May 02, 2005	Work Order Report 2	Page 21 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

140	MESQUITE 	115939	7 /23/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED FOLLOWING NAME PLATES.J KOVAC,T.

PRICE,L. FLORES,W. PRIDGEN,D. PETTEY,D. STOWE,K.

RANKIN,CATHY PHILLIPS PRINCIPAL.THANX.

140	MESQUITE 	125011	2 /16/2005	I	1	SC	VA	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	WINDOW CONTRACTOR

2 BROKEN WINDOWS ON WEST MAIN BLDG

140	MESQUITE 	117157	8 /11/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	NEED TO ASSIST W/ ARMSTRONG UNIT IN PORTABLE

608,FAN STARTS BUT COMPRESSOR WONT KICK

ON.THANX.

140	MESQUITE 	116109	7 /27/2004	7 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ELEMENTARY	NEED TO INSTALL WINDOW AT COMMUNITY LIASON

RM. PER MS. PHILLIPS.THANX.

140	MESQUITE 	122351	12/1 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	ELEMENTARY	NEED WATER HEATER REPLACED.THANX

140	MESQUITE 	118242	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED 2 MASTER KEYS THAT ALSO OPEN THE

KITCHEN.THANX.ONE TO LA TIENDITA.THANX

140	MESQUITE 	124146	1 /25/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	INSTALL A/C,S ON C AND B WING.THANX

140	MESQUITE 	123855	1 /19/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED  50  TONS CRUSHER FINE FOR NORTH PARKING.

140	MESQUITE 	116066	7 /26/2004	7 /26/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	NEED 3/4 H.P. A/C MOTOR FOR A.D.V. THANX.

Monday, May 02, 2005	Work Order Report 2	Page 22 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

140	MESQUITE 	115421	7 /12/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	WATER FOUNTAIN B. WING WATER COMES OUT HOT

THEN COOLS,ALSO WATER FOUNTAIN IT SELF

HOT.THANX.

140	MESQUITE 	124175	1 /25/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	NEED TO REPLACE 2 PEAR TREES.

140	MESQUITE 	118784	9 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED MASTER KEY TO REPLACE DAMAGED KEY FOR

CUSTODIAN CHACON.THANX.

140	MESQUITE 	115375	7 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	SIGNS THAT WERE ORDERED TO IN SPANISH AND

ENGLISH. 2ND REQUEST, THANK YOU FOR YOUR

140	MESQUITE 	115940	7 /23/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED C MASTER KEY TO REPLACE BROKEN FOR

CUSTODIAN.

140	MESQUITE 	115884	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	WINDOW CONTRACTOR

NEED ONE INSULATED UNIT,CLEAR 15 5/8 X 20 1/2.FOR

ALMA DEL VALLE.THANX.

140	MESQUITE 	115569	7 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PLEASE OPEN CABINET - KEY WORKS BUT DRAWER

IS STUCK.

140	MESQUITE 	115310	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED MASTER KEY CM,FOR MR. BALDERRAMA.HIS

KEY IS WORN OUT,HE LIVES ON CAMPUS.THANK

YOU.PER MS. PHILLIPS.

145	RIVERSIDE 	118262	8 /31/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need key made for back door to office(Counselor)Key

cylinder does not have number, per request Ms.Arias office

Monday, May 02, 2005	Work Order Report 2	Page 23 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

145	RIVERSIDE 	117792	8 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need a additional  key made for Rm. 19.  (Intervention Room-

2 Teachers)

145	RIVERSIDE 	116974	8 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED A NAME TAG  MRS PORTILLO  THANK YOU SIR

145	RIVERSIDE 	117571	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	SOME DOOR LOCK ARE BROKEN WILL NEED TO

REPLACE IN NEW WING THANK YOU SIR

145	RIVERSIDE 	117437	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Pre-K portable needs deadbolts installed on exterior doors (2),

have already received prior approval from Mr.Alfredo

145	RIVERSIDE 	116880	8 /9 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	CK'D ALL FIRE EXT. - NEED TO REPLACE 7 AS PER PM

WORK ORDER 115435.

145	RIVERSIDE 	123629	1 /11/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	ELEMENTARY	NEED TO UP GRADE EXHAUST FANS IN MAIN OFFICE

NOT ENOUGH POWER TO PULL FUMES OUT STINK

AARROO THANK YOU SIR

145	RIVERSIDE 	117790	8 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need a new key made  (#365 Cabinet  Rm. 13) see office for

the key.

145	RIVERSIDE 	115851	7 /22/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	ELEMENTARY	ANNUAL  TEST AND INSPEC FIRE ALARM SYSTEM

AND FIRE SMOKE DETECTORS.

145	RIVERSIDE 	117791	8 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need to have a cylinder repaired in Rm.105.

145	RIVERSIDE 	123066	12/29/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	MR SPEEDY WOULD LIKE TO ORDER 5 MODESTO ASH

TREES FOR PLAYGROUND TO REPLACE 5 DRIED ONES

AND ONE PINE TREE ALSO DRIED THANK YOU SIR

Monday, May 02, 2005	Work Order Report 2	Page 24 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

145	RIVERSIDE 	124926	2 /14/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	BOILERS ARE DOWN - INFORMED JAIME.

145	RIVERSIDE 	116185	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	NEED ELETRICALL OUTLETS ROOM ACROSS MR

VATIERRAS OFFICE US TO BE BOOK ROOM BUT IS

NOW CLASS ROOM WOULD LIKE ASAP THANK YOU SIR

150	SAN MIGUEL 	124095	1 /24/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Door knobs both doors on cafeteria entrance

had come loose and cannot open door from outside

please check it out. Thank You!

150	SAN MIGUEL 	121368	11/4 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Has two file cabinets that need locks.

150	SAN MIGUEL 	121303	11/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	Need Racks for working truck, tool box, and a 2" ball for

hauling trailer.

150	SAN MIGUEL 	118770	9 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	Please change old Pulse sprinklers for I-25's on

front yard grass area with a ball valve. Thank you!

150	SAN MIGUEL 	116989	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Custodians say the have a hard time unlocking portable #45

please ask Head Custodian for Details.

150	SAN MIGUEL 	120455	10/20/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	Please order new Master Cool unit for Cafeteria to replace old

one.

150	SAN MIGUEL 	121691	11/12/2004	11/15/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	New portable Ms. Jackson needs a key to be able to lock the

door that joins both rooms.

Monday, May 02, 2005	Work Order Report 2	Page 25 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

150	SAN MIGUEL 	116988	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	On room #6 Teacher Mrs. Uranga cannot open west side door

with her key she can only open east side

door please check it out.

150	SAN MIGUEL 	122426	12/3 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	Please check if is necessary a side walk on one side of building

#31 and #40. It might prevent water going in and destroy floor.

Thank You!

150	SAN MIGUEL 	123502	1 /10/2005	1 /10/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	Principal wants 3 more threes trim. Please ask which ones,

thank you!

150	SAN MIGUEL 	123695	1 /12/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	Furnaces on portable #37,#38,#32 are to old please check them

out see if they could be replaced, and since cooling is

unsuficient see if a package or split system would work. Thank

150	SAN MIGUEL 	121439	11/5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Needs a name plate:  Mr. J. Field

Room number 30--47

150	SAN MIGUEL 	122427	12/3 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	Carpet on main offices need changed. See what you

can do. Thank You!

150	SAN MIGUEL 	119271	9 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Boiler Rm doorknob having problems opening it with the B key.

150	SAN MIGUEL 	119301	9 /22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Key consistently sticks in lock of door knob, has a real hard

time opening the door.

150	SAN MIGUEL 	124276	1 /28/2005	1 /28/2005	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need two keys made for a filing cabinet.

Monday, May 02, 2005	Work Order Report 2	Page 26 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

150	SAN MIGUEL 	119270	9 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need lock installed in filing cabinet and desk, to be able to lock

them.

150	SAN MIGUEL 	123462	1 /7 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	There are still three trees that principal wants

trim. When possible.

150	SAN MIGUEL 	121376	11/4 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Needs a room number: 40

150	SAN MIGUEL 	122907	12/15/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	Replace old window unit for class room #46, and bring line

Voltage T-stat for room #20, to replace old one. Thank You!

150	SAN MIGUEL 	115757	7 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need a key made for Room 46, which is a B46.

150	SAN MIGUEL 	121461	11/5 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	Send Beto or Manny with back hoe to assist me with seting up

connopy for tractor. Thank You.

150	SAN MIGUEL 	120737	10/26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need 5 keys of B37 and 1 key of each of the following:

B7, B8, B9, B33, B43, B46, B50, B53, B60

So that I may have an extra key for all our rooms.

150	SAN MIGUEL 	116987	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Fix door cylinder for North side entrance right door. Custodians

are having a hard time locking at nigth.

150	SAN MIGUEL 	117125	8 /11/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Need an additional key for Rm#31.

150	SAN MIGUEL 	124662	2 /4 /2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY	Please replaced or provide repair parts for commercial Master

Cool Unit for cafeteria.

Thank You!

Monday, May 02, 2005	Work Order Report 2	Page 27 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

150	SAN MIGUEL 	119793	10/1 /2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	ELEMENTARY	Lester Humphrey - Need Price Quote

There are alot of centipides and roaches in the Library area

and Mrs. Duncan's office can you please have someone spray

over the fall break if possible.

150	SAN MIGUEL 	121367	11/4 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	My desk and file cabinet need to be fitted with locks.

150	SAN MIGUEL 	121369	11/4 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	Needs a lock placed in one of her cabinets and a name plate is

needed:  Ms. D. Gurrola

152	SANTA TERESA 	118748	9 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PLEASE MAKE AN EXTRA KEY FOR MEDICINE

CABINET KEY IN NURSE'S OFFICE  (ES201).  PLEASE

SEE RITA. THANKS

152	SANTA TERESA 	118518	9 /2 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED KEYS MADE FOR DESKS IN RMS. 308, COMPUTER

RM., AND FOR WORK RM. IN B-WING. ALSO NEED

PADLOCKS FOR GAS METER GATE, MOBILE HOME

GATE, AND GATE THAT SEPERATES GRASS AND ROCK

AREAS. ALSO NEED PADLOCKS FOR MORGAN

STORAGE BLDG.

152	SANTA TERESA 	125857	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M81	ELEMENTARY	FIRE EXTINGUISHER INSPECTION

152	SANTA TERESA 	122393	12/2 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	NEED REPLACEMENT BULBS FOR HALLWAYS.

ECOLUX F32T8-SP30 32 WATT.

CAN LIGHTS-CR-26WF26BX/830/4P

HALLWAY LIGHTS-GE F38/2D/835

2 ft. flourescent fixtures-f31t8/spx30/U/1 5/8

Monday, May 02, 2005	Work Order Report 2	Page 28 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

152	SANTA TERESA 	121734	11/15/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	ELEMENTARY	NEED TWO LOADS OF 12" RIVER ROCK FOR PONDING

AREAS.

152	SANTA TERESA 	119577	9 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	WE NEED ADDITIONAL KEYS FOR PARENT DESK IN

CASA ROJA.  PLEASE SEE RITA FOR KEY, (KEY 104E).

152	SANTA TERESA 	125855	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M81	ELEMENTARY	EMERGENCY LIGHTING INSPECTON

152	SANTA TERESA 	125027	2 /16/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M81	ELEMENTARY	MS. SILVA (RM 101) NEEDS A SHELF OVER HER

WASHER/DRYER.  THANKS

152	SANTA TERESA 	118648	9 /7 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	TEACHER LOST KEY.  PLEASE REPLACE DRUM AT

COST TO TEACHER. KEY #IS25.

152	SANTA TERESA 	118261	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PLEASE HAVE MANNY CALL ME REGARDING A KEY

FOR A DESK BEFORE COMING TO OUR SCHOOL.

THANKS.

152	SANTA TERESA 	120439	10/19/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	PLEASE MAKE A KEY FOR HER ROOM.  KEY IS LOST.

THANKS. (NEED COST)

152	SANTA TERESA 	116161	7 /28/2004	7 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED DEADBOLT FOR RESOURCE RM.

ALSO NEED A PADLOCK FOR GATE AT GAS METER.

152	SANTA TERESA 	125856	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M81	ELEMENTARY	EXIT SIGN INSPECTION

152	SANTA TERESA 	120459	10/20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	WE NEED A KEY MADE FOR OUR NEW SPEECH

THERAPIST INTERN.  KEY #1S43.  THANKS.

Monday, May 02, 2005	Work Order Report 2	Page 29 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

152	SANTA TERESA 	120466	10/20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	STAFF MEMBER HAS LOST KEY TO CLASSROOM.  WE

NEED A KEY MADE FOR MS. CHIP, ROOM 304, KEY#

1S10.  THANKS. (NEED COST)

152	SANTA TERESA 	124516	2 /2 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	CALI, NEED FOR YOU TO CHANGE BALLAST IN

LIBRARY. ALSO NEED A BATTERY FOR EMERGENCY

LIGHT AT CAFETERIA ENTRANCE. ALSO WE TALKED

ABOUT PUTTING A POWER STRIP IN MECH. STORAGE

RM. AND A COUPLE OF SHOP LIGHTS.

152	SANTA TERESA 	122532	12/3 /2004	12/6 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M81	ELEMENTARY	WE NEED TO PICK UP RISERS FROM STMS ON 12/10/04

IN THE AM AND ALSO RISERS FROM STHS ON 12/14/04

AM.  BOTH SET OF RISERS WILL BE RETURNED TO

THEIR SCHOOLS ON 12/16/04.

152	SANTA TERESA 	117264	8 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ELEMENTARY	NEED COVER FOR FIRE PULL IN ROOM 108.  THANKS

152	SANTA TERESA 	124323	1 /31/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	NEED FOR YOU TO COME CHECK A COUPLE OF LIGHT

FIXTURES THAT I AM HAVING TROUBLE WITH.

155	SUNLAND PARK 	121451	11/5 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	need to replace 2 emergency lights by the hall room 39 and 32

thank you

155	SUNLAND PARK 	117973	8 /24/2004	8 /24/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	MASTER KEY BROKE AND REMAINED INSIDE THE

TUMBLER, PLEASE HELP.  ALSO NEED 2 LOCKS

W/KEYS.

155	SUNLAND PARK 	124233	1 /27/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ELEMENTARY	need to check or replace three lights in the gym thank you

Monday, May 02, 2005	Work Order Report 2	Page 30 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

155	SUNLAND PARK 	118159	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	need to replace door knob in portable 27 D

THANK YOU

155	SUNLAND PARK 	118225	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED AN ADDITIONAL CLASSROOM KEY FOR TA18.

ADDITIONAL STAFF MEMBER ASSIGNED TO

CLASSROOM.

155	SUNLAND PARK 	124841	2 /10/2005	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY	AZTEC FLOORING

CLASSROOMS 26, 28, 29 - CARPET NEEDS TO BE

REPLACED WITH FLOOR TILE.

155	SUNLAND PARK 	122650	12/8 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	ELEMENTARY	need to replace water fontain in front the office thank you

155	SUNLAND PARK 	122638	12/8 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	One of the goal posts is broken.  Need repair or replacement.

155	SUNLAND PARK 	124583	2 /3 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY	Need the heavy tractor to remove sand by the fence in front of

school.  Also, to cover a large hole under the fence behind the

school.

155	SUNLAND PARK 	123740	1 /13/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M05	ELEMENTARY	NEED TO REPLACE R.R. PARTITIONS AT GIRLS

RESTROOM

155	SUNLAND PARK 	123550	1 /10/2005	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ELEMENTARY	need to replce floor sinks in the custodian rooms thank you

155	SUNLAND PARK 	119473	9 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY	NEED AN EXTRA  KEY  HON316 FOR SP ED TEACHER

155-	CAFETERIA	116818	8 /6 /2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Serving line (left side) cold area not working

Monday, May 02, 2005	Work Order Report 2	Page 31 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

155-	CAFETERIA	123614	1 /11/2005	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	PART UNWELDED TO DISHWASHER

157	SUNRISE 	123443	1 /7 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	ELEMENTARY 	PLEASE REOMOVE ALL TUMBLE WEEDS THAT ARE

ON LIFT STATION AND ALONG FENCE. PLEASE SEE

RICK ON THIS W.O WASTE WATER TECH

157	SUNRISE 	121936	11/18/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY 	ACADEMY FENCE

PLEASE PROVIDE CHAIN LINK FENCE ON BOTH SIDES

OF TRASH BINS AFTER THEY HAVE BEEN RELOCATED.

157	SUNRISE 	125846	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M80	ELEMENTARY 	EMERGENCY LIGHTING INSPECTON

157	SUNRISE 	123493	1 /10/2005	1 /10/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY 	4 BELTS 4L-620

ENERGY MANAGMENT EQUIPMENT

2-POSITION SWITCH MODEL# RIBU1SC

157	SUNRISE 	124252	1 /27/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ELEMENTARY 	ENTRANCE LIGHTING ON WALL,LIGHT FIXTURE

WILL NOT

TURN ON.BALLAST SHORTED OUT.

157	SUNRISE 	125848	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M80	ELEMENTARY 	FIRE EXTINGUISHER INSPECTION

157	SUNRISE 	124923	2 /14/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY 	I NEED AIR FILTERS

16X25X2 FOR VENTILATERS 150 EA.

18X20X1 FOR UNITS 150 EA.

157	SUNRISE 	125847	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M80	ELEMENTARY 	EXIT SIGN INSPECTION

Monday, May 02, 2005	Work Order Report 2	Page 32 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

157	SUNRISE 	115546	7 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY 	WE NEED A KEY FOR RM. 308 & 309 ENTRANCE TYPE.

157	SUNRISE 	124625	2 /4 /2005	I	1	SC	GM	0	$0.00	$2,103.35	$0.00	$2,103.35

M25	ELEMENTARY 	ACADEMY FENCE

NEED TO INSTALL WIND SLATS ON FENCE IN STAFF

PARKING LOT. CONTACT PAUL, SELECT COLOR.

157	SUNRISE 	116090	7 /27/2004	7 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ELEMENTARY 	I need four keys made please.

2 for 1C20

2 for 1C43

Thanks

157	SUNRISE 	121264	11/2 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ELEMENTARY 	DUMPSTER TRUCK IS BEGINNING TO GET TO CLOSE

TO THE NATURAL GAS MAIN PIPE,AND VALVE

BEHIND THE

DUMPSTERS.A PHYSICAL BARRIER IS NEEDED TO

PREVENT

THE DUMPSTER TRUCK FROM DROPPING ADUMPSTER

ON TOP

OF NATURAL GAS PIPE.THIS IS AN EMERGENCY

PRIORITY

ITEM,OT

157	SUNRISE 	122785	12/13/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	ELEMENTARY 	I NEED 4 MASTER COOL WINTER COVERS FOR

ACTIVITY RM.SIZE 45"X 47".THANK YOU

157-	CAFETERIA	116255	7 /30/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	HOT AIR IS STILL COMING OUT FROM AIR

CONDITIONER IN  KITCHEN.  HOT~!!

210	CHAPARRAL 	117011	8 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED A-KEY TO KEEP IN VAULT

Monday, May 02, 2005	Work Order Report 2	Page 33 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

210	CHAPARRAL 	119461	9 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO REPAIR COACH'S OFFICE DOOR-GIRLS

LOCKER ROOM.

210	CHAPARRAL 	119583	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED 5 KEYS FOR EQUIPMENT ROOM IN LOCKER

ROOM.

210	CHAPARRAL 	119587	9 /29/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO REPAIR COACH OFFICE DOOR.

210	CHAPARRAL 	117002	8 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	vicki needs a key for the vault. also mr wolfs room opens with

any key.

210	CHAPARRAL 	119588	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED KEY FOR INTERIOR DOORS IN LOBBY.

210	CHAPARRAL 	118228	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	KEY BROKE INSIDE LOCK HANDLE. IN THE 300 HALL

MENS RESTROOM. THANK YOU  ROBERT

210	CHAPARRAL 	115197	7 /1 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	MIDDLE	DP 781 Monitoring data is due in this office before July 31

210	CHAPARRAL 	119581	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED COPY OF SECRETARY'S DESK KEY

210	CHAPARRAL 	119441	9 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	WE CAN'T LOCK THE DOOR TO ROOM 106.IT'S STUCK

OPEN.

210	CHAPARRAL 	117082	8 /10/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE	PLEASE MOVE BASEBALL BACKSTOP FROM GAC  TO

CHM FIND LOCATION WITH MR. DIGGS APPROVAL.

Monday, May 02, 2005	Work Order Report 2	Page 34 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

210	CHAPARRAL 	117017	8 /10/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	MIDDLE	WINDOW CONTRACTOR

GLASS NEEDS REPAIR--APPROX 18" X 30" WIRED

SECURITY GLASS.

210	CHAPARRAL 	119352	9 /23/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE	THE FLOORS IN SOME OF THE CLASS ROOMS IN THE

300 HALL,HAVE SOME KIND OF SPOTS. THAT AT FRIST

WE THOUGHT IT MIGHT BE THE TAR THAT THEY USE

FOR INSTALLING THE TILE.BUT IT LOOKS LIKE ITS

HAPPENING IN MORE ROOMS. I'M CONCERED THAT IT

MIGHT BE FUNGUS.  THANK

210	CHAPARRAL 	117010	8 /10/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED KEY A95 TO BE ISSUED TO DELA HOWARD AND

KEY A23 TO BE ISSUED TO PATSY GARCIA

210	CHAPARRAL 	124936	2 /14/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE	NEED CRUSHER FINES AROUND SOUTH END OF

SCHOOL.

210	CHAPARRAL 	124520	2 /2 /2005	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO CHANGE KEY TO OPEN DOOR FOR RM 312.

210	CHAPARRAL 	122567	12/6 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	MIDDLE	NEED TO ORDER TIMER FOR WASHING MACHINE IN

ROOM 107.

REROUTE TO RUBEN , NEED NEW TIMER 2/22/05 -MKV

210	CHAPARRAL 	125071	2 /17/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED FILE CABNET LOCK REPAIRED FOR ROBERT

GONSALEZ.

210	CHAPARRAL 	118851	9 /13/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE	NEED A REFRIGERATED UNIT IN COMPUTER LAB RM

208.  MASTER COOL UNIT DOESN'T CUT IT.  SPEAK

WITH JAIME THE TECHNICIAN.

Monday, May 02, 2005	Work Order Report 2	Page 35 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

210	CHAPARRAL 	119049	9 /16/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE	NEED TO REPLACE A/C UNITS 100 WING AND 200

WING.TOTAL OF 16 UNITS.

210	CHAPARRAL 	125256	2 /23/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE	NEED A LOAD OF SAND FOR THE LONG JUMP PIT.

210	CHAPARRAL 	118841	9 /13/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE	Prepare Electrical Hook-up for mobile home

210	CHAPARRAL 	119582	9 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED KEY FOR INTERIOR DOORS IN 100 HALLWAY

210	CHAPARRAL 	115347	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NORTHEAST DOUBLE DOORS ENTRANCE TO THE 400

HALLWAY AND SOUTHEAST DOUBLE DOORS NEXT

TO CAFETERIA.BOTH DOORS CAN NOT BE OPENED

WITH THE KEY, FROM THE OUTSIDE. THANK YOU,

210	CHAPARRAL 	116139	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED A MASTER (A) KEY MADE. ONE OF OUR KEYS

BROKE. NEED IT ASAP PLEASE! THANK YOU  ROBERT

210	CHAPARRAL 	115727	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO INSTALL CENTER BARS AT DOUBLE DOOR

EXIT. TYPE THAT HAS KEY LOCK.

210	CHAPARRAL 	123625	1 /11/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE	NEED TO INSTALL A SHOTPUT AND DISKIS SLABS.

210	CHAPARRAL 	119229	9 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	VERY HARD TO UNLOCK  ROOM 204. THANK YOU

ROBERT

210	CHAPARRAL 	125068	2 /17/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED SOME KIND OF LOCK INSTALLED ON MY

FILING CABINET.HAVE CONFIDENTIAL FILES AND

Monday, May 02, 2005	Work Order Report 2	Page 36 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

210	CHAPARRAL 	123585	1 /11/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED TO REPAIR CLASSROOM DOOR LOCK RM 407.

210	CHAPARRAL 	123600	1 /11/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED PADLOCK TO OPEN WITH A-34 FOR BASEBALL

FIELD.

210	CHAPARRAL 	117793	8 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	CANNOT OPEN DOOR TO GIRLS LOCKER ROOM

OFFICE.

210	CHAPARRAL 	123601	1 /11/2005	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	MIDDLE	REPLACE TIMER SWITCH WASHING MACHINE ROOM

107.

210	CHAPARRAL 	125070	2 /17/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED LOCK REPAIRED ROOM312.

210	CHAPARRAL 	122383	12/2 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED A-34 KEY FOR VAULT KEY BOX.

210-	CAFETERIA	124849	2 /10/2005	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	MILK COOLER IS AT 46 DEGREES

210-	CAFETERIA	124712	2 /7 /2005	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	PASS THRU WARMER IS NOT WORKING AT ALL

210-	FIELD	116883	8 /9 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	Batting Cage - Have Speedy look into getting a batting cage for

this site

210-GYM	GYM	121238	11/2 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	NEED LIFT FOR GYM WHEN POSSIBLE. THANK YOU.

210-GYM	GYM	115277	7 /7 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	THE GYM IS DONE AND READY TO BE OPEN. CAN

YOU PLEASE CHANGE THE LOCKS. THANK YOU.

Monday, May 02, 2005	Work Order Report 2	Page 37 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	118609	9 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{MAIN GYM}

Door handle was broken off door had to secured for the end of

the day.

220	GADSDEN 	118608	9 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Storage room for custodial was jammed and could'nt opened

220	GADSDEN 	117099	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	{B-WING}

Purchasing warehouse was delivering furniture and removed

moulium and stripped screws .

220	GADSDEN 	117199	8 /12/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	MIDDLE SCHOOL	COLD WATER VALVE OF SINK IS LEAKING. LOCATED

IN A-WING ROOM 129.

220	GADSDEN 	124815	2 /9 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{A-WING} Need to reinstall the moulin it came off need to

secure down. South side entrance.

220	GADSDEN 	120582	10/22/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE SCHOOL	NEED TO SEPARATE WIRES AT MORGAN BLDG

POWER FEED IS ON TOP OF OUR COMM. WIRE. (SEE

ATTACHED)

220	GADSDEN 	124816	2 /9 /2005	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{A-WING MAIN ENTRANCE}

Need to have key changed over to allen type locks and all

220	GADSDEN 	124540	2 /2 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	NURSE'S OFFICE DOOR GOING OUTSIDE TO THE BACK

THE MIDDLE POST IS BROKEN, DOORS ARE BEING

SECURED THROUGH THE OUTSIDE WITH A CHAIN.

220	GADSDEN 	120327	10/18/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{VOC BLDG}

Door handle keeps coming off to RM#305

Monday, May 02, 2005	Work Order Report 2	Page 38 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	116435	8 /3 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Change the building name plates on A and B wing

Also make a sign for new "C" Wing

220	GADSDEN 	116433	8 /3 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE SCHOOL	We nned to upgrade or change the vents in portable #502.

Mastercool with new pump and honeycomb is still blowing

warm air., Class temperature above 90 degrees

220	GADSDEN 	123081	1 /3 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE SCHOOL	repair the breaker in room 163, keeps shutting off computers

220	GADSDEN 	117713	8 /19/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	MIDDLE SCHOOL	{Custodial Rm B-WING}

Need new circuit for A/C keeps tripping breakers.

220	GADSDEN 	123085	1 /3 /2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	MIDDLE SCHOOL	repaint the exit lanes both right and left turn from pur central

220	GADSDEN 	116287	7 /30/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	MIDDLE SCHOOL	GOAL POST NEEDS TO BE RE-INSTALLED

220	GADSDEN 	124950	2 /14/2005	I	1	SC	VA	0	$0.00	$0.00	$0.00	$0.00

M49	MIDDLE SCHOOL	WINDOW CONTRACTOR

Broken window in lobby need to replace glass asap.

220	GADSDEN 	123547	1 /10/2005	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE SCHOOL	AZTEC FLOORING

GMS-THRU OUT SCHOOL SITE - NEED TO REMOVE

AND REPLACE VCT THRU OUT CAMPUS.

220	GADSDEN 	123084	1 /3 /2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	MIDDLE SCHOOL	Install the window between the money counting room and the

front office

Monday, May 02, 2005	Work Order Report 2	Page 39 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	120755	10/26/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE SCHOOL	Install grab bars in the two faculty restrooms in A-wing. This is

a Section 504 request so it needs to be taken care of ASAP and

Notify Alfredo H. when it is complete

220	GADSDEN 	117997	8 /25/2004	8 /25/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Replace the locks in the fireproof file, nurses have no key

220	GADSDEN 	120987	10/28/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE SCHOOL	{COURTYARD}

Need to extend sidewalk on eastside of courtyard for dirt

220	GADSDEN 	118714	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	MIDDLE SCHOOL	NEED TO REPLACE 2 LIGHT FIXTURE COVERS IN

ROOM 308 VOCATIONAL BUILDING ASAP

220	GADSDEN 	115236	7 /6 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	Construction on the four classrooms in central office is still at a

standstill. Before the walls can be painted they need to be

patched and sanded. I am moving the classrooms starting the

14 of July.

220	GADSDEN 	120828	10/27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{PORTABLE 501}

Key is stuck in door handle and cant open the door.

220	GADSDEN 	120986	10/28/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE SCHOOL	{ANNEX BLDG}

Main entrance on eastside of bldg need cement extened with

ramp going up at least 5 to 10 FEET.

220	GADSDEN 	124225	1 /26/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	FILE CABINET IS LOCK AND KEYS NEED TO BE MADE.

LOCATED IN ROOM 107.

220	GADSDEN 	120985	10/28/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE SCHOOL	{MAIN GYM}

Cement needs to be raised or redone so water wont get stuck

and cover entire walkway.

Monday, May 02, 2005	Work Order Report 2	Page 40 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220	GADSDEN 	117996	8 /25/2004	8 /25/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	need an additional A57 Key for Juan

220	GADSDEN 	117657	8 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	MIDDLE SCHOOL	Rm 506 - Window needs to be replaced.

220	GADSDEN 	115880	7 /22/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{A-WING}

Door handle to womens RR keeps falling off need new one.

220	GADSDEN 	116944	8 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE SCHOOL	NEED TO UPGRADE SWAMP COOLER FROM A 45CFM

TO A 65CFM. LOCATED IN PORTABLE 502. THE DOWN

DRAFT NEEDS TO BE INSULATED.

220	GADSDEN 	118792	9 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	{A-WING}

Room #161 cylinder is stuck and cant open the door.

220	GADSDEN 	116846	8 /6 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	Need two - V masters and two W masters, 2 keys for room

#124, Key room C213 and duplicate hon key #4

220	GADSDEN 	124648	2 /4 /2005	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	I need  the following keys

1. two A3, one O1 and two M4 keys

220	GADSDEN 	120800	10/26/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	NEED WOODEN CABINET OPENED AND NEED NEW

KEYS FOR CABINET IN ROOM 301 LOCATED IN

VOCATIONAL BUILDING.

220	GADSDEN 	118516	9 /2 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE SCHOOL	fix the cash box lock

220	GADSDEN 	125371	2 /24/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	MIDDLE SCHOOL	{B-WING boiler RM}

Boiler is down need fan motor for burner.

Monday, May 02, 2005	Work Order Report 2	Page 41 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220-	CAFETERIA	123086	1 /3 /2005	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	AZTEC FLOORING

replace the original tile on the walls by serving doors of the

cafeteria

220-	CAFETERIA	120086	10/12/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	NEED TWO ELECTRICAL OUTLETS FOR THE TWO NEW

REACH-IN REFRIG. WHICH WERE INSTALLED.

CURRENT OUTLETS DO NOT HOLD ENOUGH POWER.

220-	CAFETERIA	124539	2 /2 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	CAFETERIA DOORS LEADING UP TO FRONT PARKING

LOT ARE NOT LOCKING PROPERLY.

220-C-	C-WING	115358	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Repair the lock and panic bar on rear entry door east side of

old central

220-C-	C-WING	115732	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{C-WING}

Door next to mens restroom panic bar needs to be replaced

with new one.

220-C-	C-WING	115357	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Change locks in old central, bring the a53 lock from Gloria's

door to her new office and key office next door to an a53. Mrs.

Nieto office a57 key

220-C-	C-WING	116896	8 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	BATHROOM NEXT TO FRONT OFFICE LOBBY NEEDS

TO BE REKEYED.

220-C-	C-WING	122844	12/14/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	{C-WING}

Compressor burned out Lowenbergs secretary's office.

220-C-	C-WING	115359	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Change all new classrooms in old central office and portibles to

a "W" key

Monday, May 02, 2005	Work Order Report 2	Page 42 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220-C-	C-WING	118218	8 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Need two extra keys to front door of C wing

220-C-	C-WING	122845	12/14/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	{C-WING}

Attendance office heater not working at all.

220-C-	C-WING	115360	7 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Change bathrooms to a lock that can be opened by any

classroom key. (All five bathrooms)

220-C-	C-WING	117098	8 /11/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{MAIN GYM}

Need lock for storage in gym lock was lost and need lock to

secure items.

220-GYM	GYM	118108	8 /27/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	Construction Specialties - Need Price Quote

{MAIN GYM}

Bleachers Chain came off and wheels are broken off need to

have them checked out ASAP.

220-GYM	GYM	125066	2 /17/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{MAIN GYM} Door closure was pulled of need new one

istalled.

220-GYM	GYM	125067	2 /17/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{MAIN GYM}Boys lockerroom door is hard to lock and unlock

allready tried silicone spray.

220-GYM	GYM	117876	8 /23/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{MAIN GYM}

We need to change handle outside doors leading to gym lobby

and just use key to go in.

220-GYM	GYM	123834	1 /18/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	{MAIN GYM}Need to remove door handles and just leave

key for doors in back of gym.

Monday, May 02, 2005	Work Order Report 2	Page 43 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

220-GYM	GYM	115692	7 /19/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Switch the master lock in gym, floor is complete back to

original "W" key

230	SANTA TERESA 	117373	8 /13/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	Rm 6. key is getting stock and lock is hard to open. Attn: Manny

L.

230	SANTA TERESA 	118025	8 /25/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	Playfields Fencline- Cut and remove weeds along fencline

230	SANTA TERESA 	122512	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	S. BLDG

BONNEY'S OFFICE - REPAIR CABINETS.

230	SANTA TERESA 	117397	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	ATTN: MANNY L. S.BLDG RM 43. IF A LOCK CAN BE

PUT ON A FILING CABINET FOR SPEED FILES.

230	SANTA TERESA 	119454	9 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	ATTN: MANNY LOZOYA:  S.BLDG RM 31. PLEASE

REPLACE LOCK ON DRAWER. IT IS OLD AND BROKEN,

I NEED TO LOCK MY DRAWERS.

230	SANTA TERESA 	117396	8 /16/2004	I	1	HV	GM	1	$13.69	$0.00	$0.00	$13.69

M77	MIDDLE	ATTN: JOE AMBRIZ HOME EC RM. HP-B HAS A BAD

CIRCUIT BOARD CAN YOU PLEASE ORDER ONE.

230	SANTA TERESA 	122490	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

STAFF WOMENS RR - REPLACE LIGHT BULBS

230	SANTA TERESA 	122504	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ATTENDANCE OFFICE - CHANGE DAMAGED CEILING

TILES

230	SANTA TERESA 	122503	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

COPY ROOM - REPLACE LIGHT BULBS.

Monday, May 02, 2005	Work Order Report 2	Page 44 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	122510	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	S. BLDG

BONNEY'S OFFICE - REPLACE LIGHT BULBS.

230	SANTA TERESA 	122499	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

DATA ENTRY OFFICE - REPLACE DAMAGED CEILING

TILE.

230	SANTA TERESA 	122497	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

DATA ENTRY OFFICE - REPLACE LIGHT BULBS.

230	SANTA TERESA 	122494	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

TINA'S OFFICE - REPAIR WALL WHERE T-STAT WAS

MOVED FROM.

230	SANTA TERESA 	122482	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ROUND ROOM KITCHEN AREA - REPAIR CABINETS.

230	SANTA TERESA 	122491	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

STAFF WOMENS RR - COVER HOLES ON TILES.

230	SANTA TERESA 	122511	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	S. BLDG

BONNEY'S OFFICE - REPAIR WALLS AND TOUCH UP

WITH PAINT.

230	SANTA TERESA 	122489	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

STAFF MENS RR - REPLACE GFCI

230	SANTA TERESA 	122487	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ASST. PRINCIPALS OFFICE - REPLACE DAMAGED

CEILING TILES.

Monday, May 02, 2005	Work Order Report 2	Page 45 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	122486	12/3 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	MIDDLE	AZTEC FLOORING

N. BLDG

ASST. PRINCIPALS OFFICE - TORN CARPET, STAINED

AND LOOKS OLD.

230	SANTA TERESA 	122485	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ASST. PRINCIPALS OFFICE - REPLACE LIGHT BULBS.

230	SANTA TERESA 	122484	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ROUND ROOM KITCHEN AREA -PATCH UP WALLS

AND PAINT.

230	SANTA TERESA 	122483	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ROUND ROOM KITCHEN AREA - CHANGE LIGHT

230	SANTA TERESA 	122492	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

TINA'S OFFICE - REPLACE LIGHT BULBS.

230	SANTA TERESA 	124121	1 /25/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M54	MIDDLE	NEED TOO REMOVE DIRT FROM THE MAIN ENTRANCE

COMING TO THE SCHOOL.AS PER MS.

WILLIAMS.THANK YOU.

230	SANTA TERESA 	125841	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	FIRE EXTINGUISHER INSPECTION

230	SANTA TERESA 	125840	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	EXIT SIGN INSPECTION

230	SANTA TERESA 	125839	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	EMERGENCY LIGHTING INSPECTON

Monday, May 02, 2005	Work Order Report 2	Page 46 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	125167	2 /18/2005	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	MIDDLE	ATTN: DAVID V. CHECK OUT ALL RESTROOMS IN N&S

BLDGS AND VARIFY WHICH RESTROOMS NEED

FAUCETS AND SINKS REPLACED.

230	SANTA TERESA 	115542	7 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	N. BLDG RM 8 LOWER LEVEL - NEED THE

FOLLOWING:

1- NEED A LOCK & KEY FOR STORAGE CABINET

2-NEED A KEY TO FILE CABINET

230	SANTA TERESA 	125014	2 /16/2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	SW TRANE - ATTN: JOE VALENZUELA

I am starting to lose complete communication with the

administration area . Can you include this with the other work

order. As the days go on we are losing more areas.

230	SANTA TERESA 	122506	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ATTENDANCE OFFICE - CHANGE LIGHT BULBS.

230	SANTA TERESA 	124305	1 /29/2005	1 /29/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	NORTH BUILDING GIRLS RESTROOM TOILET SEAT

BROKEN SANITARY NAPKIN DESPENSOR NOT

AVAIABLE

230	SANTA TERESA 	122507	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

OFFICE CORRIDOR - CHANGE LIGHT BULBS

230	SANTA TERESA 	115980	7 /23/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NEED #1 KEY AND #5 KEY.

230	SANTA TERESA 	123483	1 /10/2005	1 /10/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	PLEASE FINISH TRIM.

230	SANTA TERESA 	116209	7 /29/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	GYM. PLEASE CHANGE CORES ON DOORS, THE GYM IS

READY TO USE. ATTN: MANNY LOSOYA.

Monday, May 02, 2005	Work Order Report 2	Page 47 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	122831	12/14/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	MIDDLE	NEED A TRAILER TOO TRANSPORT SACK LUNCHES TO

SOUTH BUILDING.ON 12/16/04 TO 12/17/04. THANK

230	SANTA TERESA 	122519	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	S. BLDG

COPY ROOM - REPLACE LIGHT BULBS.

230	SANTA TERESA 	122515	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	S. BLDG

REPAIR GRAFFITI ON DOOR.

230	SANTA TERESA 	122498	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

DATA ENTRY OFFICE - FIRE PROOF FILE CABINET

HEAVY DRAWERS GET STUCK AND ARE VERY HARD

TO OPEN AND CLOSE.

230	SANTA TERESA 	124964	2 /15/2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

MIDDLE	SW TRANE CONTROLS - ATTN: JOE VALENZUELA

Can you send a work order to trane saying communication link

for N.Bldg lower level classrooms might have gone out. Needs

to be repaired A.S.A.P.

230	SANTA TERESA 	122472	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ROUND ROOM - REPLACE BURNED LIGHT BULBS.

230	SANTA TERESA 	122502	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

DATA ENTRY OFFICE - INSTALL WEATHER STRIPPING

ON DOOR.

230	SANTA TERESA 	122471	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ROUND ROOM - REPLACE DAMAGED PARTS OF

COVEBASE AND WOOD ON ROUND SITTING AREA.

230	SANTA TERESA 	122469	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

PA SYSTEM STORAGE - PAINT DOOR

Monday, May 02, 2005	Work Order Report 2	Page 48 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230	SANTA TERESA 	122475	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG

ROUND ROOM SINK EXIT AREA - REPAIR CABINETS

AND COVEBASE.

230	SANTA TERESA 	122465	12/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M50	MIDDLE	N. BLDG - ELECTRICAL CONDUIT NEED TO COVER OR

CAULK HOLE PENETRATIONS ON CEILING TILE.

230	SANTA TERESA 	116681	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	MIDDLE	NURSES OFFICE. PLEASE INSTALL LOCKS ON

STORAGE CABINET.

230-	ALLIANCE	115386	7 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	RE-KEY ALL PORTABLES TO MASTER KEY AT GAC.

230-	ALLIANCE	118421	9 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED TO INSTALL DOOR KNOB AT SPED PORTABLE

AT STMS ALLIANCE.

230-	ALLIANCE	118176	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Install Keyed door knob on door to Ms Galleghos Office ASAP

230-	ALLIANCE	115291	7 /7 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEW PORTABLE @ ALLIANCE - NEED 2 KEYS MADE

FOR ADMINISTRATOR AND CLERK.

230-	ALLIANCE	117482	8 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	PORTABLE 6 ALLIANCE - INSTALL DOOR KNOBS ON

DOORS INSIDE. AND NEED A SIGN FOR OUTSIDE

DOOR THAT READS: GISD OFFICE

Mrs. Martha Gallegos

230-GYM	GYM	117297	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	LOBBY DOORS TO THE INSIDE OF THE GYM NEED

DOORSTOPS REPLACED. THEY'VE ALL BROKEN OFF.

Monday, May 02, 2005	Work Order Report 2	Page 49 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

230-GYM	GYM	117372	8 /13/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Gym coaches office door lock not opening with the key. Also

coaches key broke. Attn: Manny L.

8/17-Need status on work order Coach Enciso called that he

needs his key a/s/a/p. - mkv

230-GYM	GYM	120012	10/11/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	ATTN: JOE AMBRIZ CAN WE INSTALL A NEW A/C FOR

GYM LOBBY. A/C WAS NEVER INSTALLED AND ICE

MACHINE GETS TO HOT.

230-GYM	GYM	118703	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ATTN: MANNY L. GYM CONCESSION DOOR HAS A BAD

CORE AND WON'T OPEN. ASAP.

230-GYM	GYM	120011	10/11/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	ATTN: JOE AMBRIZ NEED TO CHANGE GYM ROOF

HEATING UNITS TO SPARK IGNITION. THAT WAY I

DON'T HAVE TO USE THE SCISSOR LIFT JUST TO TURN

ON THE PILOT.

230-GYM	GYM	117289	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	BOYS LOCKER ROOM DOOR TO THE BACK PORTICO

AREA DOES NOT LOCK (NOT THE DIRECT OUTSIDE

DOOR, BUT THE ONE JUST BEFORE IT).

230-GYM	GYM	115210	7 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED TO CHANGE THE KEY LOCKS IN THE GYM.

THANK YOU .ISMAEL RODRIGUEZ  A.S.A.P

230-GYM	GYM	117290	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	P-70 KEYS ARE NOT WORKING ON THE NORTH SIDE

DOORS OF THE GYM, BOTH ON THE INSIDE HANDLES

AND THE OUTSIDE HANDELS.

410	GADSDEN HIGH 	117185	8 /11/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	FRONT OFFICE - NEED MY FILLING CABINETS TO BE

RE-KEYED.

Monday, May 02, 2005	Work Order Report 2	Page 50 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	117020	8 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	COUNCELING CENTER - DOOR WILL NOT CLOSE. IT

GETS STUCK ON THE WOOD DECK.

410	GADSDEN HIGH 	116930	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	attn:  Locksmith

Need 2 keys for elevator ASAP for disabled student.

410	GADSDEN HIGH 	117186	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	RM. 563 VOCATIONAL BUILD - RAIN GUTTER ON

BACK OF SHOP IS ROTTING AND DROPPING WATER

OVER THE DOOR.

410	GADSDEN HIGH 	115997	7 /26/2004	7 /26/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	SCHOOL	RM. 321 ACADEMIC BLDG. - FIX FAUCET AT REAR OF

ACAD. BLDG. NEXT TO BOILER RM. CLOSET SO THAT

A HOSE CAN BE HOOKED UP & USED TO WATER

BACK PLANTERS

410	GADSDEN HIGH 	115771	7 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	NORTH GATE GUARD SHACK - NEED TO REPAIR.

(FLOOR, PANELING, WINDOWS, PAINT, ETC.)

410	GADSDEN HIGH 	115743	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ASSISTANT PRINCIPAL'S OFFICE NORTH BLDG. -

PLEASE REPLACE THE DOOR KNOB TO THE

ASSISTANT PRINCIPAL'S OFFICE DOOR THE DOOR

410	GADSDEN HIGH 	115740	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	DOOR TO THE ATTENDANCE OFFICE NORTH BLDG. -

PLEASE CHECK THE DOOR KNOB THE KEY STICKS

WHEN USED TO OPEN THE DOOR

410	GADSDEN HIGH 	115739	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	TEACHER'S LOUNGE NEXT TO ATTENDANCE OFFICE

NORTH BLDG. -  ATTN: MANNY, LOCKSMITH PLEASE

CHECK THE DOOR KNOB

410	GADSDEN HIGH 	115492	7 /13/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

Room 129 broken window, needs repaired asap

Monday, May 02, 2005	Work Order Report 2	Page 51 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	115737	7 /20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	OLD TEACHER'S LOUNGE NORTH BLDG. -  ATTN:

BLDG. MECHANIC WATER LEAKS ARE PRESENT ON

THE CEILING AT TWO LOCATIONS

410	GADSDEN HIGH 	115559	7 /14/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTENDANCE OFFICE NORTH BLDG. - REKEY THE 2

OFFICE OUTTER DOORS (H MASTER COMPATIBLE)

WILL NEED 6 KEYS - NEED ASAP

410	GADSDEN HIGH 	117145	8 /11/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	RANGE HOOD AT ROOM 233 HOME EC NEED TO BE

CLEAN

410	GADSDEN HIGH 	116132	7 /28/2004	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED A FLUORESCENT STRIPIGHTAT  ROOM 126A

410	GADSDEN HIGH 	116873	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	The doorknob on my front door and my back door need to be

fixed.

410	GADSDEN HIGH 	115326	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Attn:  Locksmith  Need 1 additional HE252, HE 251, and

HE253 (for key box)

410	GADSDEN HIGH 	115325	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Attn:  locksmith Rifle range, boys gym  Need a working key

for the range, last key did not work, need before August 13th

410	GADSDEN HIGH 	115319	7 /8 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	attn: locksmith,  Room 760 (old athletic office)  need lock

changed to the hj series will need 12 keys - asap

410	GADSDEN HIGH 	115318	7 /8 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	attn: locksmith, room 504b, need lock changed to x38

Monday, May 02, 2005	Work Order Report 2	Page 52 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	115317	7 /8 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	Need new blinds in main building lounge, principal's secretary,

front office

410	GADSDEN HIGH 	115738	7 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 118 MAING BLDG. - NEEDS TO RE-KEYED RM. 118

(BOOKEEPING) & CONCESSION STAND-NEED 4 NEW

KEYS KEY WAS LOST BY THE BAND FUNDING

CODE:70000.08.0000.01.6060.410

410	GADSDEN HIGH 	116571	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 128 OLD ENGLISH BLDG. - VERY DIFFICULT TO

UNLOCK DOOR CONCERNED THE KEY WILL

EVENTUALLY BREAK

410	GADSDEN HIGH 	116186	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	GHS- GIRLS GYM-STOUT HARDWOOD FLOORS

NEED A PRICE QUOTE ON REPAIR OF DAMAGED

FLOOR.

410	GADSDEN HIGH 	116739	8 /5 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Rm. 754 Barracks - Missing tile in classroom.

410	GADSDEN HIGH 	116737	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 128 Old English Building - Rekey file lock # 234, cabinet

inventory # 98-1600. Key is unable to be located.

410	GADSDEN HIGH 	117225	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	SCHOOL	DIMAR

FIRE EXTINGUISHER SERVICING.

410	GADSDEN HIGH 	117351	8 /13/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	AZTEC

FIOOR TILE AT ACADEMIC BLDG IS COMING OFF ON

SAME DOOR WAY GOING IN TO SAME ROOMS & THE

BASE BOARD AT PORTABLE ROOM 822 & 823 IS

COMING OFF THE WALL & AT MAIN BLDG ON THE

NORTH SIDE DOOR ENTER WAY THE TILE IS

COMEING OFF ALL IS WARRANTY WORK ORDER

Monday, May 02, 2005	Work Order Report 2	Page 53 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	116743	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 228 North Building - Have office painted.

410	GADSDEN HIGH 	117544	8 /17/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	NEED CABINET EITHER REKEYED OR KEYS FOR THE

CABINET.

410	GADSDEN HIGH 	116793	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Weight Rm.-  South outside doors key lock is broken.

410	GADSDEN HIGH 	117543	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM 128 MAIN BUILD. - REQUEST FILE CABINET BE

REKEYED

410	GADSDEN HIGH 	116731	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Guard Shack North Side - Interior wall of guard shack needs

new sheet rock.

410	GADSDEN HIGH 	116727	8 /5 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm. 229 North Building - remove tables that stick in to

rooms,over head cabinets to back room.

410	GADSDEN HIGH 	116725	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm. 126 old english building - Guard plate for door lock.

410	GADSDEN HIGH 	117506	8 /17/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED 7 OUT DOOR SAFETY SWITCH BOX 3 POLE FOR

A/C UNIT AT N-BLDG

410	GADSDEN HIGH 	117487	8 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 611 Business Building - Repair or replace chalkboard on

East wall. If it cannot be repaired.Replace with chalkboard on

west wall.

410	GADSDEN HIGH 	116734	8 /5 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	Rm 331 Academic Building - Needs sink fixed.

Monday, May 02, 2005	Work Order Report 2	Page 54 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	116568	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	TEACHERS LOUNGE NORTH BLDG - THE

TUMBLER/DOOR KNOB NEEDS TO BE ADJUSTED SO

TEACHERS WILL BE ABLE TO HAVE ACCESS TO THE

TEACHERS LOUNGE

410	GADSDEN HIGH 	116144	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 802 COUNSELING CENTER - I NEED LOCKS PUT ON

5 CABINETS

410	GADSDEN HIGH 	116145	7 /28/2004	7 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 802 COUNSELING CENTER - NAME CHANGE

PLATE TO MARIE ACOSTA

410	GADSDEN HIGH 	116148	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 651 UPSTAIRS BUSINESS BLDG. - DOOR WILL NOT

LOCK KEY GOES INTO SLOT BUT DOES NOT TURN

WORK ORDER PUT IN AT END OF LAST SCHOOL YEAR

MAY 04

410	GADSDEN HIGH 	116927	8 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	MAIN BLDG. MAIL ROOM - ATTN: MANNY,

LOCKSMITH PLEASE CHANGE CYNLINDER &

TEACHER'S LOUNGE MAIN/NORTH SO THAT ANY

CLASSROOM KEY & ACADEMIC WILL OPEN LOUNGE

410	GADSDEN HIGH 	116497	8 /4 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	RM. 611 DOWNSTAIRS BUSINESS BDLG. - REPLACE

BLINDS

410	GADSDEN HIGH 	116742	8 /5 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Attendance Office 228 North Building - Have iron grids

installed to the outside windows with pad lacks.

410	GADSDEN HIGH 	116528	8 /4 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	NORTH BLDG  BOYS RESTROOM-NEED TO CLEAN UP

THE OVER SPRAY ON FLUSH VALVES,SINKS URINALS

ETC. AND ALSO OVERSPRAY ON ALL DOORS WHERE

ROOMS WHERE PAINTED. PLEASE MASK

Monday, May 02, 2005	Work Order Report 2	Page 55 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	117325	8 /12/2004	I	1	GM	SA	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Varsity Gym - Safety Hazard! Need to fabricated ladder to

get to roof top.

410	GADSDEN HIGH 	116570	8 /5 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 339 ACADEMIC BLDG. - NEED A REPLACEMENT

OC CLASSROOM KEY AS I LOST IT (BILL TO TEACHER)

410	GADSDEN HIGH 	117326	8 /12/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 554 Business Building - Install a miror near paper

dispensor/ bathroom.

410	GADSDEN HIGH 	116872	8 /6 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 333 Academic Building - Need a key to 332 and drama

storage key # HE 122.

410	GADSDEN HIGH 	116800	8 /5 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm. 312 Academic Building - door handle on door is broken.

410	GADSDEN HIGH 	117674	8 /19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	NORTH BLDG-ROTC STORAGE RM

NEED TO SCRAPE OFF OLD PAINT AND PREP FOR NEW

ONE.GET COLORS NEEDED FROM INSTRUCTOR AND

SITE ADMINISTRATOR.THIS NEEDS TO BE DONE

ASAP.THANKS

410	GADSDEN HIGH 	117328	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 554 Business Building - Adjust / repair entry door so as to

eliminate binding as it is opened or closed.

410	GADSDEN HIGH 	116500	8 /4 /2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	SCHOOL	Rm 580 Auto Shop - I need a larger sump pump.

410	GADSDEN HIGH 	124626	2 /4 /2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	ACADEMY FENCE

STUDENT AND DPOR OFF PARKING LOT - NEED TO

INSTALL FENCING PLEASE CALL MIKE.

Monday, May 02, 2005	Work Order Report 2	Page 56 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	120588	10/22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	NEED A GATE KEY HE157 FOR MR. FRED GARZA.

410	GADSDEN HIGH 	125077	2 /17/2005	I	1	HV	GM	5	$71.60	$0.00	$0.00	$71.60

M70	SCHOOL	CONCESSION STAND-BY NURSES AREA JOSE PLEASE

REPAIR ICE MACHINE AND INSTALL NEW EXHAUST

FAN TO THE EXTERIOR OF WALL.JOSE PLEASE SEE

MIKE

410	GADSDEN HIGH 	120574	10/22/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	PLEASE REMOVE POWER TO KILN AND MAKE

ARRANGEMENTS TO PROVIDE POWER TO NEW ONE.

410	GADSDEN HIGH 	120557	10/22/2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	SCHOOL	Need to install water fountain at softball field.

410	GADSDEN HIGH 	125826	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	EMERGENCY LIGHTING INSPECTON

410	GADSDEN HIGH 	120502	10/20/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	NEED NEW DRAIN PIPE AND P-TRAP AT WOOD SHOP

ROOM 554

410	GADSDEN HIGH 	120473	10/20/2004	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	SCHOOL	Novenber 13, 2004 will be the date to do the

Wastwater Plant Pump replacement. Proceed with scheduling

Ledesmas for pumping and submit you overtime request for

prior approval.

410	GADSDEN HIGH 	120391	10/19/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

SWIMMING POOL - THERE IS A WINDOW BROKEN

NEEDS TO BE REPLACED

410	GADSDEN HIGH 	125827	4 /1 /2005	I	3	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	EXIT SIGN INSPECTION

Monday, May 02, 2005	Work Order Report 2	Page 57 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	123147	1 /5 /2005	I	1	WW	GM	0	$0.00	$0.00	$0.00	$0.00

M31	SCHOOL	Room 581 - Auto Shop Repair/replace sump Drain pump.  It is

shutting down when it gets hot.

410	GADSDEN HIGH 	124501	2 /1 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED NEW OUTLET AT AG BLDG ROOM 562A

410	GADSDEN HIGH 	123148	1 /5 /2005	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	 Room 581 - Auto shopWash Basin Faucet running

410	GADSDEN HIGH 	124698	2 /7 /2005	I	1	GM	SA	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 823-ATTENTION: Special Ed. classroom the roof is

leaking and the cieling tiles are drooping. Please replace cieling

tiles and repair leak.

410	GADSDEN HIGH 	119778	10/1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

Rm 132 Old English - The south window in Room 132 is broken

and dangerous. It does not have any slugs that key it from

crashing down.

410	GADSDEN HIGH 	119777	10/1 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	Rm 403 Boys gym - Install electrical outlet for new

Ac/Heater.

410	GADSDEN HIGH 	124526	2 /2 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 511-piece of metal inside door knob, door does not open.

410	GADSDEN HIGH 	119668	9 /30/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

BROKEN WINDOW AT ROOM 132 AND 511 W/GLASS

24X48

410	GADSDEN HIGH 	125078	2 /17/2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	CONCESSION STAND BY NURSES AREA - PLEASE GET

A PRICE QUOTE FOR NEW COUNTER TOP WITH

CABINETS AND DRAWERS, DOORS LOCKS. PLEASE SEE

MIKE

Monday, May 02, 2005	Work Order Report 2	Page 58 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	119660	9 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	Rm 404 Boys gym - Need two wall mirrors for the new vanity

cabinets.

410	GADSDEN HIGH 	120989	10/28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY, LOCKSMITH - URGENT TROPHY CASE

IN VARSITY GYM NEED TO BE OPENED AS PER MR

FOSTER HE IS REQUESTING MANNY BE SENT TO OPEN

TROPHY CASE NO KEY

410	GADSDEN HIGH 	123404	1 /7 /2005	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	SCHOOL	LESTER HUMPHREY

Mice in the pantry (foods lab)

410	GADSDEN HIGH 	123466	1 /7 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SCHOOL	Attn: Grounds  Extend visitors bull pen by 20 feet, due to

storage room.

410	GADSDEN HIGH 	123467	1 /7 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SCHOOL	Attn: Grounds  Replace broken 20 foot fence post at practice

field.

410	GADSDEN HIGH 	120204	10/14/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

RM. 102 MAIN BLDG. - BROKEN WINDOW NEEDS TO

BE REPLACED ASAP

410	GADSDEN HIGH 	125398	2 /25/2005	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	NEED A NEW FLUSH VALVE FOR WATER TANK AT

WOOD SHOP ROOM 554

410	GADSDEN HIGH 	122570	12/6 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	NEED AT V-GYM NEW HEATING GRILLE CAVER AND

EXHAUST FANS TO MOVE AIR

410	GADSDEN HIGH 	121937	11/18/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	GHS- KILM RM NEXT TO SPED CLASS RM - PLEASE

REMOVE ELECTRICAL TO OLD KILM AND PROVIDE

NEW ELECTRICAL TO NEW KILM

Monday, May 02, 2005	Work Order Report 2	Page 59 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	122454	12/3 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	SCHOOL	Connect gas water and sewer to mobile home to be placed at

site on December 13, 2004

410	GADSDEN HIGH 	124845	2 /10/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 551 Wood Shop Building-Heater is out agian. Urgent

Special Ed. classroom "D" level.

410	GADSDEN HIGH 	121816	11/16/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	AZTEC FLOORING

NEED TO REPLACES VINYL STAIR TREADS BETWEEN

MAIN AND OLD BLDG

410	GADSDEN HIGH 	121677	11/12/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	SCHOOL	LESTER HUMPHREY - NEED PRICE QUOTE

Need to spray  for Sap Beetles around the soccer fields and the

trees/flowers around the campus.  NMSU says that Malliathion

will kill the bugs.

410	GADSDEN HIGH 	121582	11/10/2004	11/4 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	4-0LD ENGLISH heating system,bleed air from coils

4-Rm 236 troubleshooted heating unit;Replaced mercury

flame sensor

410	GADSDEN HIGH 	121365	11/4 /2004	2 /2 /2005	I	1	GM	GM	1	$14.32	$0.00	$0.00	$14.32

M70	SCHOOL	NEED PUMP # 2 AT ACADEMIC BLDG REPLACE FOR

BOILER

410	GADSDEN HIGH 	121326	11/3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	ATTENDANCE OFFICE NORTH BLDG. - RM. 232 BY AIR

CONDITIONER; PANELS FALLING

410	GADSDEN HIGH 	124965	2 /15/2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	SW TRANE CONTROLS - ATTN: JOE VALENZUELA

NOT COMMUNICATING WITH SITE.

410	GADSDEN HIGH 	122985	12/20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	NEED TO PAINT NEW DOORS TO WOODSHOP

ENTRANCE

Monday, May 02, 2005	Work Order Report 2	Page 60 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	125520	3 /7 /2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

SCHOOL	Rm 109 Main Build - Dead air not working.

(routed thru Schooldude)

410	GADSDEN HIGH 	125076	2 /17/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	CONCESSION STAND NURSES AREA-BLDG

MECHNANIC NEED TO REPLACE ALL CEILING TILES

WITH NEW ONES.

410	GADSDEN HIGH 	122627	12/8 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	BUS TURN AROUND ENTRANCE & FACULTY PARKING

LOT - WHEELS ON GATE DOORS ARE COMING OFF

410	GADSDEN HIGH 	120783	10/26/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	SCHOOL	WINDOW CONTRACTOR

RM. 581 AUTOSHOP - REPLACE BROKEN WINDOW IN

CLASSROOM NORTH WALL

410	GADSDEN HIGH 	125348	2 /24/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Rm 105 Main Building-Roof leaks.

410	GADSDEN HIGH 	122875	12/15/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	MR. CHAMBERS OFFICE FRONT OFFICE MAIN BLDG. -

ALL THE STAINED CEILING TILES REPLACED AND A

NEW CEILING TILE WHERE IT'S COMPLETLEY

410	GADSDEN HIGH 	120710	10/26/2004	10/26/2004	I	1	GM	GM	0.5	$6.85	$0.00	$0.00	$6.85

M60	SCHOOL	MR. MORENO'S ROOM - NEED TO PAINT DOOR AND

JAM.

410	GADSDEN HIGH 	122878	12/15/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	RM. 659 BUSINESS BLDG. - THERE IS A DESK THAT IS

MISSING A LEG THE LEG CAME OFF THE LEG IS PLACE

ON TOP IF THE DESK NEEDS TO BE REPLACED OR

REPAIRED

410	GADSDEN HIGH 	120709	10/26/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	MR. MORENO'S ROOM - NEED TO INSTALL HVAC TO

ROOM.

Monday, May 02, 2005	Work Order Report 2	Page 61 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	120708	10/26/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	INSTALL CORE TO DOOR.

410	GADSDEN HIGH 	120701	10/26/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	RM. 275C LIBRARY - 1.THERE ARE SEVERAL SETS OF

SHELVES IN THE A/V ROOM WHICH NEED TO BE

ANCHORED TO THE WALL 2. SET OF SHELVES NEED

TO BE FINISHED3.CAPS FOR SOME OF THE SHELVES

410	GADSDEN HIGH 	124759	2 /8 /2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	AZTEC FLOORING

RM 126 AND 127 - NEED COVEBASE FOR THE NEW

WALL THATWAS BUILT.

410	GADSDEN HIGH 	119655	9 /30/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 400 Boys gym - Paint doors to boys all (4) exterior doors.

410	GADSDEN HIGH 	121245	11/2 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	RM. 148 OLD ENGLISH BLDG. - WATER FOUNTAIN

UPSTAIRS OLD ENGLISH DOESN'T WORK

410	GADSDEN HIGH 	118437	9 /1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 608 Business Bld. - Need fernie or mario to disassemble

metal shelves so that electrician can come in to work.

410	GADSDEN HIGH 	124471	2 /1 /2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 104-the side-board of the lavatory table, north west corner,

came off

410	GADSDEN HIGH 	124073	1 /24/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	SCHOOL	BOYS BURNED DRESSING ROOM NEED TO REPAIR

EXHAUST FAN.

410	GADSDEN HIGH 	124089	1 /24/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	NEED A NEW CIRCUIT BOARD FOR ROOM 146 ON

HEATING UNIT

Monday, May 02, 2005	Work Order Report 2	Page 62 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	123590	1 /11/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Room 754 Barracks - Repair broken Teacher's desk

410	GADSDEN HIGH 	118780	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Security Office - Need to change celling tile (3)

410	GADSDEN HIGH 	124523	2 /2 /2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	Rm 551A-need lights fixed in restroom

410	GADSDEN HIGH 	124150	1 /25/2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Room 610 - Seven sewing machines need repair as well as 3

embroidery machines.

410	GADSDEN HIGH 	118728	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	CATHY'S OFFICE FRONT OFFICE MAIN BLDG. - ATTN:

MANNY,LOCKSMITH NEED TO REKEY THE

FOLLOWING KEYS 395T, 018, NO # NEED TO BE RE-

KEYED TO NEW #'S URGENT CONFIDENTIAL INFO

410	GADSDEN HIGH 	124156	1 /25/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	Room 610 - Electrical outlets needed for additional machines.

2nd request

410	GADSDEN HIGH 	118712	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Academic Build. - Faculty restroom's door does not lock.

410	GADSDEN HIGH 	118901	9 /14/2004	I	1	GR	SA	0	$0.00	$0.00	$0.00	$0.00

M45	SCHOOL	Child Care Play Ground - Fix playground equiptment on

remove. Need new sand. Edging needs to be removed.

410	GADSDEN HIGH 	118706	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 551 INDUSTRIAL BLDG. - WE NEED A LOCK ON

OUTSIDE STORAGE BUILDING IT IS CURRENTLY

UNLOCKED AND SOMEONE HAS GOTTEN INTO IT AT

LEAST ONCE ITS UNSAFE 2 KEYS NEEDED

Monday, May 02, 2005	Work Order Report 2	Page 63 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	118786	9 /10/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	RM. 124 MAIN BLDG. - DOOR NEXT TO MAIN

BUILDING ENTRANCE DIFFICULT TO OPEN

410	GADSDEN HIGH 	118436	9 /1 /2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	Rm 608 Business Bld. - Need electrician to install new electral

box to water heater in back store room. ASAP

410	GADSDEN HIGH 	118433	9 /1 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	Rm 608 Business Building - Northwest door - bottom business

bld.  Door latch does not close properly when trying to lock

doors at night.

410	GADSDEN HIGH 	118279	8 /31/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	BOOKKEEPING FRONT OFFICE MAIN BLDG. - WE

NEED TO CHANGE THE COMBINATIONS ON BOTH

VAULTS ASAP

410	GADSDEN HIGH 	118278	8 /31/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN:MANNY LOZOYA, LOCKSMITH - NEED HE1 FOR

PHYSICAL ED ACTIVITIES

410	GADSDEN HIGH 	118169	8 /27/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	SCHOOL	Busines Bldg Elevator - As per Mario elevator got stuck on top

floor with student. Call service company for repairs

410	GADSDEN HIGH 	118162	8 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	North Bldg. Round benches/stools - Repair ceramic tile and

carpet

410	GADSDEN HIGH 	125141	2 /18/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	SWIMMING POOL - SCHEDULE PUMP REPLACEMENT

FOR 2/24/05.

410	GADSDEN HIGH 	124163	1 /25/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SCHOOL	PLEASE CLEAN-UP AND CUT GRASS INSIDE PUMP

STATION NORTH WEST OF BUISSNESS BLDG.

410	GADSDEN HIGH 	125193	2 /22/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Counsleing Center Rm 802-Paint new door and put a door stop.

Monday, May 02, 2005	Work Order Report 2	Page 64 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	124258	1 /27/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M65	SCHOOL	Girls BB lockeroom:  Need to have screen welded next to rr

entrance in basketball lockerroom.

(As per Mike route to Roma)

410	GADSDEN HIGH 	124470	2 /1 /2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Sp Ed Social Worker's Office Upstairs-cover holes in walls.

Mice problem.

410	GADSDEN HIGH 	118710	9 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Boys bathroom (main) - Paint needs and touch up.

410	GADSDEN HIGH 	123939	1 /20/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	Need a new drinking fountain for MAIN EAST hall

410	GADSDEN HIGH 	125255	2 /23/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	THE SECOND SET OF DOOR GOING INTO THE

ACADEMIC BLDG NEED TO-BE FIX DOOR HINGES ARE

LOOSE FRAME DOOR FRAME CK ALL DOOR ENTER

WAY  ASAP

410	GADSDEN HIGH 	124474	2 /1 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SCHOOL	Soccer Field-put a net on goal

410	GADSDEN HIGH 	119283	9 /21/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED TO REMOVE ALL FLOOR OUTLET AT ROOM 660

MS THORNLEY

410	GADSDEN HIGH 	124473	2 /1 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SCHOOL	Tennis Courts-all court doors need latches and locks, green

mesh needs to be secured down. Fence on east side needs to be

secured. Students ditching in courts and destroying the courts.

410	GADSDEN HIGH 	119166	9 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	ATTN: MANNY,LOCKSMITH  - HK IS ALMOST BROKEN

THE NEW CUSTODIAN JUAN IBANEZ STARTS ON

9/20/04 HE WILL NEED A NEW ONE

Monday, May 02, 2005	Work Order Report 2	Page 65 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	123920	1 /20/2005	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	SCHOOL	LESTER HUMPHREY -  NEED PRICE QUOTE

HAVING PROBLEMS WITH MICE IN THE PANTHER

HUT HOME-EC ROOM.

410	GADSDEN HIGH 	124148	1 /25/2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	SCHOOL	R.M 343 Academic Bldg

Faculty restroom door lockdoes not open. Door lock is not

working.

410	GADSDEN HIGH 	125079	2 /17/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	CONCESSION STAND BY NURSES AREA -  BLDG

MECHANIC NEED TO REPAIR CRACKS ON WALLS

INSIDE AND PAINT. ALSO PAINT EXTERIOR WHERE

OVER SPRAY WENT ON TRIM AND OTHER AREAS.

410	GADSDEN HIGH 	123905	1 /19/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	NEED NEW WATER COOLER AT EAST WING OF MAIN

BLDG

410	GADSDEN HIGH 	123940	1 /20/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	Need to upgrade cooling system in BOYS gym

410	GADSDEN HIGH 	125096	2 /17/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	Rm 148-Please get heater turned off, can't open window (plus

no screen) Never need heat anyway.

410	GADSDEN HIGH 	125097	2 /17/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	Rm 148-Fix our water fountain. The only one on this floor. It's

been 4 months.

410	GADSDEN HIGH 	125110	2 /17/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	SCHOOL	Counseling Center Rm 802-Mold may be growing in carpet. A

musty smell occurs when it rains and odor is making some

employees ill in the Counseling Center.

410	GADSDEN HIGH 	119359	9 /23/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	SCHOOL	Rm 611 Business Build - Dry erase board.

Monday, May 02, 2005	Work Order Report 2	Page 66 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410	GADSDEN HIGH 	118964	9 /15/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	SCHOOL	NEED TO REROUTE ALL CONDUIT ON THE OUTSIDE

OF BLDG - ROOM 233

410	GADSDEN HIGH 	123990	1 /21/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	SCHOOL	RM 568 VOC. BLDG - NEED TO REPLACE EXTERIOR

DOOR.

410	GADSDEN HIGH 	125828	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M24	SCHOOL	FIRE EXTINGUISHER INSPECTION

410-	FIELD	125194	2 /22/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	Field-Need Chain link fence work for pitching area.

410-GYM	GYM	120176	10/14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Toni Ness room 156 girl's gym - Door handle has been ripped

out of door, need to replace ASAP, no way to secure office

and computer.

410-GYM	GYM	122657	12/8 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	BOY GYM NEED TO REPIACES E/COOLER & DUCTING

410-	LIBRARY	120577	10/22/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	LIBRARY - WE HAVE SEVERAL SHELVING UNITS

THAT ARE NOT ATTACHED TO THE WALL AS PER MR.

MARTINEZ THIS IS A SAFETY ISSUE WHICH MUST BE

ADDRESSED

410-	LIBRARY	122629	12/8 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M24	RM. 275C LIBRARY - NEW TABLE HAS FOLDING LEG

THAT KEEPS FOLDING WE NEED A WAY TO

STAIGHTEN IT OUT AND KEEP IT STRAIGHT

410-	LIBRARY	117268	8 /12/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	LIBRARY - BROKEN LOCK ON STOREROOM DOOR IN

LIBRARY NEEDS A LOCKSMITH

Monday, May 02, 2005	Work Order Report 2	Page 67 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

410-	VARSITY GYM	116874	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Rm. 331 Academic Building - Closet across from 232 and

closet above it on the varsity gym stage need to be rekeyed to

an HE 122.

410-	VARSITY GYM	118180	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	RM. 238 VARSITY GYM - THE LOCK ON THE MEN'S

BATHROOM DOOR DOES NOT ALLOW THE KEY IN TO

LOCK THE DOOR

410-	VARSITY GYM	117006	8 /10/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	VARSITY GYM - REROUTE GAS LINE

410-	VARSITY GYM	122377	12/2 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M25	VARSITY GYM NORTH BLDG. - PUT UP NEW

CURTAINS ON THE STAGE

410-	VARSITY GYM	121991	11/19/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	VARSITY GYM STAGE - PAINT STAGE AS PER MR.

FOSTER

420	DESERT PRIDE 	124464	2 /1 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	need two plastic name plates both the same -staff restroom

420	DESERT PRIDE 	122384	12/2 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	ACADEMY	heater in classroom #7 (mr. vela) isn't warning up classroom

(blowing very little air out of vents)

420	DESERT PRIDE 	116125	7 /28/2004	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ACADEMY	NEED TO INSTALL NEW SUPPY AIR TO AREAS AS PER

NEW CONSTRUCTION.

420	DESERT PRIDE 	116124	7 /28/2004	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	ACADEMY	NEED TO DEMO EXISTING ELECTRICAL AND INSTALL

NEW NEW ELECTRICAL AS PER CONSTRUCTION SET

UP.

420	DESERT PRIDE 	122343	12/1 /2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ACADEMY	The new carpet in second building in the first classroom is

starting to run and seperate.

Monday, May 02, 2005	Work Order Report 2	Page 68 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

420	DESERT PRIDE 	116560	8 /5 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	I need a key for my desk and a key for my file cabinet.  Main

office  Thanks Mary

420	DESERT PRIDE 	124585	2 /3 /2005	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ACADEMY	boys restroom toilet in second building - having problem with

flushing, try hand snake three different time still having same

problem.  (Having the same problem again) 2/3/05 - mkv

420	DESERT PRIDE 	115787	7 /21/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ACADEMY	PLEASE PROVIDE WATER FOUNTAINS AS PER

ATTACHED PLAN. THANKS

420	DESERT PRIDE 	116115	7 /28/2004	7 /28/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	 need one key for lady restroom door for social worker in

(front office)

420	DESERT PRIDE 	124465	2 /1 /2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ACADEMY	need a opening to the wall between nurses office and sick

room- (second building)

420	DESERT PRIDE 	119465	9 /27/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	need keys(3) for teachers for new classrooms.

420	DESERT PRIDE 	119674	9 /30/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	NEED TO INSTALL DOOR CYLINDER AT DESERT

PRIDE, BARRACK.

420	DESERT PRIDE 	119466	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	ACADEMY	Tables tops for science room #4 need to be replace or

420	DESERT PRIDE 	117514	8 /17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	need one lock to use with chain to secure picnic table

420	DESERT PRIDE 	125599	3 /9 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M11	ACADEMY	EMERGENCY LIGHTING INSPECTON

Monday, May 02, 2005	Work Order Report 2	Page 69 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

420	DESERT PRIDE 	116898	8 /9 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	Need key to door for outside storage (pump house)for

Principal.

420	DESERT PRIDE 	125600	3 /9 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M11	ACADEMY	ROOFS (All Buildings)

420	DESERT PRIDE 	120996	10/28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	ACADEMY	need drain gutter for the middle classroom (second

building)morning dew on roof running down on steps, making it

very wet.

420	DESERT PRIDE 	118724	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	PSYCHOLOGIST OFFICE - NEED KEY FOR DESK IN

OFFICE SO I CAN LOCK CONFIDENTAL MATERIALS.

420	DESERT PRIDE 	121869	11/17/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	ACADEMY	second building- need lock for hallway door to staff restrooms.

420	DESERT PRIDE 	117205	8 /12/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ACADEMY	2ND BLDG- PLEASE ORDER LAY IN LAMPS FPR NEW

ROOMS.

420	DESERT PRIDE 	116897	8 /9 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	ACADEMY	Need larger sink for Biology classroom #4

420	DESERT PRIDE 	117524	8 /17/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	ACADEMY	NEED EXTEND WALL OUTLETS FOR NEW DRYWALL.

430	SANTA TERESA 	125346	2 /24/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	HIGH	NEED FLUE BREAK  HAVE BIRD PROOF BIRDS ARE

DROPPING INTO BOILERS  THANK YOU.

430	SANTA TERESA 	119527	9 /28/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	DOOR LOCK FOR TEACHERS REST ROOM IT DOESN'T

OPEN WE NEED REPLACE OR FIX IT . THANK YOU

MANNY...

Monday, May 02, 2005	Work Order Report 2	Page 70 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	119626	9 /29/2004	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	HIGH	AZTEC FLOORING

PRESSBOX

PLEASE INSTALL TILE. SEE MIKE FOR COLOR SCHEME

430	SANTA TERESA 	119196	9 /20/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	HIGH	NEED A BARRIER WALL BETWEEN ELEC.ROOM AND

ANNEX NEW WALL FOR CHILLER . TO RETAIN

GRAVEL BY PATIO.

430	SANTA TERESA 	119506	9 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	HIGH	PRESSBOX - NEED TO RE-LOCATE ELECTRICAL

OUTLETS ON THE NORTH WALL SO DANNY CAN

BUILD PARTITIONS. PLEASE SEE DANNY MIRANDA.

430	SANTA TERESA 	119634	9 /30/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M45	HIGH	NEED APROX. 5 LOADS OF FILL DIRT TO FILL UP

WASH OUT AT BUS TURN AROUND BEHIND VOC.

BLDG. DUE TO RAIN.

430	SANTA TERESA 	119315	9 /22/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WINDOW GUARD HINDGE AT ROOM #40 IS BROKEN

NEEDS TO BE SPOT WELDED, FOR SECURITY

PURPOSES THANK  YOU...

430	SANTA TERESA 	123772	1 /14/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	HIGH	WE NEED TO RUN RETURN IN EACH INDIVIDUAL

CAUSING A PROBLEMS WITH FIRE STAT. FOR THOSE

HEATING ON BAND ROOM, WELDING SHOP,WOOD

SHOP AND COMPUTER LAB AT V.O.C BUILDING.

430	SANTA TERESA 	119194	9 /20/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED A PAD LOCK WITH MC 26 CYLINDER ON IT TO

LOCK UP PATIO TO ROOM #312.

430	SANTA TERESA 	119193	9 /20/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED A DUPLICATE MAIL BOX # 125 MADE FOR MS.A.

IBARRA, TO HAVE ACESS TO MAIL BOX

Monday, May 02, 2005	Work Order Report 2	Page 71 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	125083	2 /17/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	AROUND MARCH 3RD. WILL NEED TO MOVE NURSE

TO TEMPORARY STATION. CUSTODIAL WILL ASSIST

430	SANTA TERESA 	117228	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	HIGH	DIMAR

FIRE EXTINGUISHER SERVICING.

430	SANTA TERESA 	118961	9 /15/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	HAVE A FILING CABINET THAT NEEDS A LOCK AS

WELL AT CLASS ROOM 301 THANK YOU MANNY...

430	SANTA TERESA 	118914	9 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WE NEED REPLACE DOOR LOCK ON STEEL CABINET

AT CLASS ROOM # 310  THANK YOU . MANNY

430	SANTA TERESA 	124071	1 /24/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	BOYS BURNED DRESSING ROOM - NEED TO REPAIR

ROOFLEAK. CEILING THAT WAS INSTALLED WAS

RUINED AND NEED TO BE REPAIRED AFTER ROOF

LEAK IS REPAIRED.

430	SANTA TERESA 	124075	1 /24/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	SOUTH GYM ENTRANCE NEED TO INSTALL DOOR

CLOSURE FOR SAFTEY REASONS.

430	SANTA TERESA 	118830	9 /13/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED DOOR KNOB IN NEW TEACHERS LOUNGE

CHANGED TO KEY ENTRY ONLY, AND CYLINDER

CHANGED.

430	SANTA TERESA 	118743	9 /9 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WE HAVE PROBLEM WITH DOOR LOCK AT THE NEW

TEACHERS LOUNGE IT DOESNT LOCK WELL.

430	SANTA TERESA 	125861	4 /1 /2005	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	EMERGENCY LIGHTING INSPECTON

Monday, May 02, 2005	Work Order Report 2	Page 72 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	118103	8 /27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED CYLINDERS AT NEW MECH. ROOM .REPLACED

FROM CONTRACTORS CORE TO OUR CORES, SO THAT

WE CAN HAVE ACESS TO CONTROLS.  THANK YOU ....

430	SANTA TERESA 	118023	8 /25/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	URGENTE WE HAVE PROBLEMS WITH WOMANS

DOOR LOCK IT DOESNT LOCK AND WE NEED

REPLACE LOCKERS AT THE NEW GATE AND

CONFESSION STAND. THANK YOU MANNY.

430	SANTA TERESA 	125084	2 /17/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	NURSES ROOM - WHEN NURSE IS MOVED. NEED TO

REPAIR ALL WALLS FOR HOLES AND CRACKS, PRIMER

AND PAINT. WILL NEED TO TAKE OLD PAINT OFF

EXIT DOOR PRIMER AND PAINT. ALSO.

430	SANTA TERESA 	125862	4 /1 /2005	I	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	FIRE EXTINGUISHER INSPECTION

430	SANTA TERESA 	120957	10/27/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WE NEED REPLACE LOCK DOOR AT MAIN OFFICE

ENTRANCE DOOR IT DOESN'T LOCK GOOD. THANK

YOU MANNY...

Monday, May 02, 2005	Work Order Report 2	Page 73 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	116466	8 /4 /2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	 MASTER KEY BROKE FROM ONE OF THE CUSTODIANS

A KEY NEEDS TO BE MADE FOR NESTOR RAMIREZ

THANK YOU.

430	SANTA TERESA 	115650	7 /16/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	ROOM 41-42-ROOF LEAKING IN VARIOUS PLACES.

POTENTIAL DAMAGE TO COMPUTERS AND

UNIFORMS.  HELP!  SOONEST.

430	SANTA TERESA 	116415	8 /3 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	NEED THREE WOOD DOORS REPAIRED , FOR

SECURIETY PURPOSES, (BREAK IN )  EMERGENCY..

THANK YOU.

430	SANTA TERESA 	116983	8 /10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	HIGH	 NEED TWO METEAL LEAF RAKES -N- TWO

ASADONES  THANK YOU.

430	SANTA TERESA 	120666	10/25/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	DOOR FROM WOODSHOP INTO WELDING SHOP,

CAN'T OPEN FROM EITHER CLASSROOM, NEEDS TO BE

CHECKED OUT FOR PROBLEM...  THANK YOU      .

430	SANTA TERESA 	125240	2 /23/2005	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	HIGH	VOC. BLDG - ELIMINATE BACKFLOW PREVENTOR.

430	SANTA TERESA 	120624	10/25/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WE HAVE PROBLEMS WITH DOOR LOCK ON REST

ROOMS AT R.O.T.C AREA THANK YOU  MANNY...

430	SANTA TERESA 	124687	2 /7 /2005	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	WE HAVE PROBLEM WITH DOOR LOCK ON OUTSIDE

DOOR AT LIBRARY. THANK YOU MANNY....

Monday, May 02, 2005	Work Order Report 2	Page 74 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430	SANTA TERESA 	120665	10/25/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	HIGH	ENTRANCE DOORS ON DRESSING ROOMS FROM

FOOTBALL FIELD CAN'T BE OPEN FROM OUTSIDE ,

CAN WE PLEASE HAVE THEM CHECKED OUT

,POSSIBLE  OBJECT IN CYLINDER.   THANK  YOU......

EMERGENCY..

430	SANTA TERESA 	119853	10/5 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	HIGH	PRESS BOX - NEED TO INSTALL COOLING.

430	SANTA TERESA 	124663	2 /4 /2005	I	1	CT	GM	0	$0.00	$0.00	$0.00	$0.00

M25	HIGH	AZTEC FLOORING

NURSES OFFICE - PLEASE RE-CARPET THE ROOM.

430	SANTA TERESA 	124681	2 /4 /2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	HIGH	NURSES OFFICE BLDG - NEED TO PRIMER AND PAINT.

430	SANTA TERESA 	116258	7 /30/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	HIGH	Baseball Field- Install a Land and Water Conservation Fund

acknowledgement sign.

430	SANTA TERESA 	119830	10/4 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	HIGH	WINDOW CONTRACTOR

Main Bldg. Server Rm.-Replace missing wire glass in door

window

430-	CAFETERIA	116878	8 /9 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M26	PLEASE DEMO WALL SO PLGBS CAN REMOVE WATER

HEATER.

430-	CAFETERIA	121959	11/18/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	EMERGENCY LIGHTS IN HALLWAY AND IN FRONT

ARE NOT WORKING.

Monday, May 02, 2005	Work Order Report 2	Page 75 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430-	CAFETERIA	119267	9 /21/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	WATER FAUCETS AT CAF. POT WASH SINKS NEED TO

BE REPLACED LEAKING TO MUCH WATER THROUGH

SPIKET.

11/18 - Olga called requesting status of this work order.  Needs

to be taken care of a/s/a/p. (2nd Request)

430-	FIELD	118021	8 /25/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M160	Football field End Zones- Cut and remove weeds

430-	FIELD	123308	1 /6 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SOFTBALL FIELD - ADD A 6 FOOT FENCE TO RUN THE

WIDTH OF THE BATTING CAGE TO THE EDGE OF THE

UPPER PITCHING AREA TO MAKE AN EXTRA

BACKSTOP/BATTING TEE AREA.

430-	FIELD	118022	8 /25/2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M160	Fence line and Windbreak on south side of Playfields- Cut and

remove weeds

430-	FIELD	123310	1 /6 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SOFTBALL FIELD - LEVEL THE PROPOSED BATTING

TEE AREA.

430-	FIELD	123306	1 /6 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SOFTBALL FIELD - THE PITCHING AND CATCHING

PRACTICE AREAS NEED TO BE LEVELED OFF - THEY

ARE ON A SEVERE SLOPE.

430-	FIELD	119456	9 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	NEED TO PUT IN TWO WALLS AT STHS PRESS BOX

430-	FIELD	123302	1 /6 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SOFTBALL FIELD - SET 4 POLES ON THE WEST SIDE OF

THE EXISTING BATTING CAGE TO ADD ANOTHER

CAGE.

Monday, May 02, 2005	Work Order Report 2	Page 76 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

430-	FIELD	123301	1 /6 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SOFTBALL FIELD - SE CORNER OF THE FIELD (TO THE

RIGHT OF THE FIELD GOAL POSTS) ADD A BACKSTOP

FOR THE "C" TEAM PRACTICE AREA.

430-	FIELD	123303	1 /6 /2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	SOFTBALL FIELD - PUT THE HOOKS BACK IN BOTH

DUGOUTS TO HANG UP OUR STUFF.

430-GYM	GYM	119135	9 /17/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M25	ADDITIONAL WORK AND MATERIAL IS NEEDED ON

THE BLEACHERS. 4 ROLLERS

430-GYM	GYM	115596	7 /15/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	  LOCKS FROM GYM DOORS NEED TO CHANGE BACK

TO MASTER KEY ON FRIDAY 7-16-04 THANK YOU.

430-	LIBRARY	117608	8 /18/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	NEED TO INSTALL CORES ON FIRE EXITING DOORS AT

NEW LIBRARY.

600	GAC (Gadsden 	124915	2 /11/2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	Admin. Complex)	PLEASE ORDER BACK PARTS FOR BOARD ROOM UNIT.

I.E COMPRESSOR, FAN AND CONDENSER MOTOR ETC.

600	GAC (Gadsden 	115601	7 /15/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	GLORIA GONZALEZ W/FEDERAL PROGRAMS LOST

(1)A-31 OFFICE KEY.  NEEDS TO KNOW COST FOR

REPLACEMENT.(COPY MARY GARCIA)

600	GAC (Gadsden 	115602	7 /15/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED 2 KEYS MADE TO OPEN ROOM A31-C WING.

(NOTE: THIS IS THE OFFICE THAT KEYS WERE LOST

BY GLORIA GONZALEZ)

600	GAC (Gadsden 	115580	7 /14/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEEDS A DOOR PLATE WITH NAME/TITLE (WALTER

SITTERS, TRANSPORTATION)

Monday, May 02, 2005	Work Order Report 2	Page 77 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	124554	2 /2 /2005	2 /14/2005	I	1	PL	GM	7	$101.75	$0.00	$0.00	$101.75

M38	Admin. Complex)	SINKS IN A WING NEXT TO CUSTODIAL OFFICES NEED

TO BE UNPLUGGED.(SEE MANNY PROSPERO ON

600	GAC (Gadsden 	115782	7 /21/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	OFFICE DOOR LOCK DOES NOT WORK AGAIN.

600	GAC (Gadsden 	119071	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A KEY MADE ELISA'S OFFICE. (KEY #: A2)

600	GAC (Gadsden 	121983	11/19/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	PROVIDE LIGHTS TO NEW FLAG POLE.

600	GAC (Gadsden 	121982	11/19/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	PROVIDE LIGHTS TO NEW ENTRANCE SIGN.

600	GAC (Gadsden 	121864	11/17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M79	Admin. Complex)	RECEPTION AREA - WALL NEEDS PAINTING. (DUE TO

A LEAK ON THE ROOF)

600	GAC (Gadsden 	116802	8 /6 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED HUMAN RESOURCES FILE ROOM OPENED.

600	GAC (Gadsden 	121247	11/2 /2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M38	Admin. Complex)	THE DRAIN IN THE BOYS BATHROOM BEHIND

CAFETERIA IS PLUGGED UP AND BLACK WATER

COMES OUT OF THERE.

(MANNY STATES A PLUMBER NEEDS TO TAKE CARE

OF THIS)

600	GAC (Gadsden 	115243	7 /6 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	GOING INTO B-WING DOUBLE  DOORS NEED TO

HAVE A PUSH BUTTON INSTALLED ON BOTH SIDES

SO IT CAN AUTOMATICALLY OPEN. (DUE TO SAFETY

& TO BE INCOMPLIANCE TO ADA)

Monday, May 02, 2005	Work Order Report 2	Page 78 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	120584	10/22/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEEDS A KEY MADE (MD2-ROOM FOR JOE ANGELO

AT STHS) TO GIVE TO CALIXTO

600	GAC (Gadsden 	125411	2 /25/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	LIGHTS NEED TO BE REPLACED IN THE KITCHEN

COOKING AREA.

600	GAC (Gadsden 	117435	8 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED 4 MORE AB23-OFFICE KEYS MADE

600	GAC (Gadsden 	122820	12/14/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M79	Admin. Complex)	NEED TO PAINT NEW DOORS @ WINWOW FRAMES

600	GAC (Gadsden 	119070	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A KEY MADE FOR THE COMPUTER LAB. (KEY #:

A30)

600	GAC (Gadsden 	119069	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED VERENICE OFFICE KEY CORE CHANGED AND

HAVE A KEY MAKED FOR THAT OFFICE (KEY #: A40)

600	GAC (Gadsden 	119068	9 /16/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A SUB MASTER KEY FOR C WING (KEY #: A)

600	GAC (Gadsden 	119067	9 /16/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A NAME PLATE MADE TO TEST A BRACKET AT

GAC

600	GAC (Gadsden 	117937	8 /24/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED THE FOLLOWING NAME PLATES (SEE

ATTACHED SHEET)

600	GAC (Gadsden 	118114	8 /27/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	NEED TO INSTALL HANDICAP PUSH BUTTON.

Monday, May 02, 2005	Work Order Report 2	Page 79 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	118059	8 /26/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	JESUS & MICHAEL'S OFFICE DOOR IS HARD TO PUSH

OPEN AND KNOB HARD TO TURN.

600	GAC (Gadsden 	117226	8 /12/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Admin. Complex)	DIMAR

FIRE EXTINGUISHER SERVICING.

600	GAC (Gadsden 	116190	7 /28/2004	I	1	SN	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Admin. Complex)	SELMA NEVAREZ OFFICE-NEED TO REPLACE

DAMAGED SMOKE DETECTOR. #8

600	GAC (Gadsden 	115981	7 /23/2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	FIRE PROOF CABINET LOCKED AND NO ONE HAS A

KEY.

IF A KEY CAN BE MADE AND NEEDS TO BE OPEN.

600	GAC (Gadsden 	123999	1 /21/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	FRONT OFFICE, INSIDE WINDOW NEEDS TO BE

TINTED TO BLOCK THE SUN. (HURTING NANCY'S

600	GAC (Gadsden 	123798	1 /18/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	CORA NEEDS TO HAVE A DOOR INSTALLED IN HER

OFFICE GOING ALONG THE HALLWAY. (SEE CORA

FOR MORE INFO.)

600	GAC (Gadsden 	123797	1 /18/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	CORA NEEDS FOR HALLWAY DOOR GOING INTO

TECHNICIANS OFFICE TO BE TAKEN DOWN AND

MAKE IT PART OF THE WALL THATS THERE. (SEE

CORA FOR MORE INFO.)

600	GAC (Gadsden 	123759	1 /14/2005	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M17	Admin. Complex)	IN FRONT OF THE 30MIN. PARKING LOT, ALL ROCKS

NEED TO BE REMOVED AND ALSO FROM THE ISLAND

THAT ARE NEXT TO PARKING LOT.

600	GAC (Gadsden 	122165	11/29/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	Admin. Complex)	DOOR FROM TECH'S OFFICE NEEDS TO BE REMOVED

AND PLACE IN CALIXTO'S OFFICE.

Monday, May 02, 2005	Work Order Report 2	Page 80 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	116189	7 /28/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Admin. Complex)	FILE ROOM-ONE SPRINKLER HEAD IS TO CLOSE TO

THE OTHER. REPLACE AS OER CODE. # 7

600	GAC (Gadsden 	124331	1 /31/2005	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	THE OUTLET ON THE NORTHERN WALL DOES NOT

WORK IN THE CONFERENCE ROOM BEHIND

RECEPTIONIST.

600	GAC (Gadsden 	116193	7 /28/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Admin. Complex)	BOARD ROOM-ONE UP-RIGHT SPRINKLER IS

PAINTED. PLEASE REPLACE AS PER CODE. # 9

600	GAC (Gadsden 	116195	7 /28/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M79	Admin. Complex)	NEED T0 REPAIR OR REPLACE EXIT SIGNS.

(As per Cali wo completed by Manual - 2/7/05

600	GAC (Gadsden 	116220	7 /29/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED TO HAVE (2)-FILE ROOMS @ FINANCE RE-

KEYED TO MATCH LOCK ON THE DOOR TO THE

VAULT ROOM. (SO THEY CAN ALL BE OPENED WITH

600	GAC (Gadsden 	116270	7 /30/2004	I	1	KY	GM	0	$0.00	$0.00	$0.00	$0.00

M20	Admin. Complex)	NEED A KEY MADE FOR CAROL SIMERMAN, KEY

#L200 & L201

600	GAC (Gadsden 	123113	1 /4 /2005	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	Admin. Complex)	NEEDS A HIGH HEAD PRESSURE CONTROL FOR THE

TECHNOLOGY DATA ROOM (SERVER ROOM). AS PER

JOSE AMBRIZ.

600	GAC (Gadsden 	122974	12/20/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M79	Admin. Complex)	NEED TO PAINT NEW FRAMES @ DOORS

600	GAC (Gadsden 	122961	12/17/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	NEED TO CHANGE THE ELECTRICAL OUTLET IN MY

OFFICE. (SEE MANNY PROSPERO BEFORE HAND.)

Monday, May 02, 2005	Work Order Report 2	Page 81 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

600	GAC (Gadsden 	122846	12/14/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M12	Admin. Complex)	NEEDS AN ELECTRIC OUTLET INSTALLED ON WALL

OUTSIDE CONFERENCE ROOM #2 IN C-WING

600	GAC (Gadsden 	116188	7 /28/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M71	Admin. Complex)	MECHANICAL ROOM-NEED TO RELOCATE SPRINKLER

HEAD THAT IS NEXT TO HOT WATER PIPE. # 3

640	PHYSICAL 	125288	2 /23/2005	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

PLANT DEPT	SW TRANE CONTROLS - ATTN: JOE VALENZUELA

ROVER IS STILL NOT WORKING ON JOSE AMBRIZ

COMPUTER.

640	PHYSICAL 	115341	7 /8 /2004	I	1	LK	GM	0	$0.00	$0.00	$0.00	$0.00

M20	PLANT DEPT	AV SHOP - NEED TO INSTALL A LOCK ON STORAGE

ROOM.

ISSUE KEYS ONLY TO MARY, MARGRET, JULIE AND

ROSIE.

640	PHYSICAL 	121069	11/1 /2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M83	PLANT DEPT	NEED TO INSTALL RAIN GUTTER SYSTEM AT AUTO

SHOP.

640	PHYSICAL 	119117	9 /17/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M63	PLANT DEPT	NEED TO PAINT DOORS AT PHYSICAL PLANT

BARRACKS

640	PHYSICAL 	120379	10/19/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	PLANT DEPT	NEED ELECTRICAL WORK DONE IN AUTO SHOP NEW

CONSRUCTION.

640	PHYSICAL 	120663	10/25/2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M70	PLANT DEPT	AUTO SHOP - NEED TO WORK ON HEATING/COOLING

640	PHYSICAL 	122607	12/7 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M32	PLANT DEPT	NEED CRUSHER FINE ON MAINTENANCE DOOR

ENTRANCES TO BARRACKS.

Monday, May 02, 2005	Work Order Report 2	Page 82 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

640	PHYSICAL 	120725	10/26/2004	I	1	EL	GM	0	$0.00	$0.00	$0.00	$0.00

M47	PLANT DEPT	ENRIQUE WE ARE GETING AN EXTRA WASHER AND

DRYER AT THE CUSTODIAL WAREHOUSE CAN YOU

PLEASE CHECK TO MAKE THE MODIFICATIONS FOR

THE NEW APPLIANCES.

THANK YOU

640	PHYSICAL 	122493	12/3 /2004	I	1	GR	GM	0	$0.00	$0.00	$0.00	$0.00

M32	PLANT DEPT	AUTO SHOP - PLEASE REMOVE DIRT FROM FRONT

ENTRANCE FOR NEW CONCRETE SLAB. BETO IS

AWARE.

640	PHYSICAL 	122610	12/7 /2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	PLANT DEPT	DELGADO

NEED STAIRS FOR MAINTENANCE BARRACKS.

640	PHYSICAL 	122755	12/10/2004	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M44	PLANT DEPT	COULD YOU PLEASE REPLACE MR. HOLGUINS OFFICE

TILES BY HIS DESK.(IF YOU HAVE ANY QUESTIONS

PLEASE SEE GUILLERMO) THANK YOU!!

640	PHYSICAL 	123487	1 /10/2005	1 /10/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M60	PLANT DEPT	NEED TO PAINT NEW DOOR AT WOOD SHOP G.H.S.

640	PHYSICAL 	123500	1 /10/2005	1 /10/2005	I	1	GM	GM	0	$0.00	$0.00	$0.00	$0.00

M49	PLANT DEPT	PLEASE REFLOOR THE BARRACKS.

640	PHYSICAL 	116122	7 /28/2004	7 /28/2004	I	1	GM	0	$0.00	$0.00	$0.00	$0.00

M63	PLANT DEPT	Need to varnish new door in Lowenburg's office.

640	PHYSICAL 	120724	10/26/2004	I	1	PL	GM	0	$0.00	$0.00	$0.00	$0.00

M75	PLANT DEPT	WE NEED TO INSTALL AN EXTRA WASHER AND

DRYER AT THE CUSTODIAL WAREHOUSE, CAN YOU

PLEASE CHECK THE DRAIN SYSTEM AND THE

MODIFICATIONS THAT YOU NEED FOR THE HOOK-UP

OF THE NEW APPLIANCES.

THANK YOU

Monday, May 02, 2005	Work Order Report 2	Page 83 of 84

Incomplete - Work Order Report (Fiscal Year)	GADSDEN INDEPENDENT SCHOOL DISTRICT

MAINTENANCE SERVICES

Dates Received: 	7 /1 /2004	To	4 /30/2005

------------Dates---------	----------------Codes-------	-------------------------Costs------------------

Ref. ID	Path Name	WO ID	Received	Completed	Status	Priority	Trade	Purpose	Budge	Hours	Labor	Material	Travel	Total

Assigned To	Description

710	ALMA DEL 	117948	8 /24/2004	I	1	SC	GM	0	$0.00	$0.00	$0.00	$0.00

M49	VALLE 	WINDOW CONTRACTOR

NEED SUN CITY GLASS ,BROKEN INSULATED UNIT AT

ADV THANX.

720	ANTHONY 	115371	7 /9 /2004	I	1	HV	GM	0	$0.00	$0.00	$0.00	$0.00

M77	CHILD DEV. 	TOO HOT IN CLASSROOM - NEED FANS.

CENTER

720	ANTHONY 	117089	8 /10/2004	I	1	PC	GM	0	$0.00	$0.00	$0.00	$0.00

M43	CHILD DEV. 	LESTER HUMPHREY - NEED PRICE QUOTE

CENTER	DAYCARE NEED PEST CONTROL TO SPRAY FOR

BLACK ANTS A/S/A/P.

# of Work Orders:	748	$311.48	$0.00

Grand Totals:	23.00	$3,103.35	$3,414.83

Monday, May 02, 2005	Work Order Report 2	Page 84 of 84